M/s DEEPAK FERTILISERS ANC PERTROCHEMICALS CORPORATION LTD. (DFPCL/ Company)

Registered office	:	Sai Hira, Survey no. 93, Mundhwa, Pune – 411036, Maharashtra

Plant at	:	Plot No K-1 Taloja MIDC Industrial Estate, Raigad, Maharashtra

Tender For Civil Services to be Carried out at Deepak Fertilisers & Petrochemicals Corporation Limited ( DFPCL/Company) Taloja K1 Plant.

Tender Ref 	          :     DFPCL/CIVIL/01/ 2023-24 Date: 16.10.2023

Technical bids are invited from professionally competent service providers of Civil Works in Sealed Envelope with EMD. The sealed envelope shall be super scribed with Tender Reference Number, Name of Work & content in it and addressed to Mr. Nilesh Deshmukh or Mr. Krishnakant Kulkarni,  Deepak Fertilisers and Petrochemicals Corporation Ltd at Plot K1 MIDC Industrial Area, Taloja, 410 208, Dist.: Raigad.

Stage I Bidding

• Sealed Envelop –I: General Terms and Conditions, Commercial Terms and Conditions Special Conditions and Scope of work (Excluding Price Bid).

- Sealed Envelope- I: Earnest Money Deposit (EMD).

- Sealed Envelope –II: Technical Bid, General Terms and Conditions, Commercial Terms and Conditions, Special Conditions and Scope of work. (Excluding Price Bid)

- The Scope of work for each activity mentioned in annexure of this tender (Excel Sheet -Annexure C)

- You will submit the closed technical bid in hard copy and in 2 envelop system by hand or through courier to DFPCL latest by 26.10.2023.

- The commercial price bid will be invited from technically qualified Tenderers.

Exceptions and deviations, which tendered may desire to stipulate. (Tenderers are advised to submit the Tender strictly on the terms and conditions of the contract and specifications contained in the Tender documents and not to stipulate any deviations. However, if deviations become unavoidable, then it may be stipulated. The Company/ DFPCL reserve the right to reject such deviations or evaluate the Tenderers containing deviations having financial implication, by adding the cost for such deviations as may be determined by the Company/ DFPCL).

Stage II Bidding

Tenderer will submit the price bid online through the platform provided by DFPCL Service Provider for online platform.

Submission & opening of the Bid:  The Bidders shall submit the duly filled in all the bid documents (Stage I) signing on each page along with requisite document as mentioned in pre-qualification criteria and EMD & every component by the authorized signatory in Purchase Department of the Company latest by 26.10.2023 upto 15.00 PM

All the above documents should be handed over to Mr Nilesh S Deshmukh or Mr. Krishnakant Kulkarni Phone: 022-5068 4116 and 022-5068 4162 representative of DFPCL.

The Stage I Bid documents shall be opened within week time from the last date of submission tenders.

During Commercial Price Bid (Technically qualified Tenderers) need to quote for each activity as mentioned in Stage I excel sheet attachment Annexure C. We may reject the tender in case you do not quote for all items. As this is a value contract, the contract will be awarded to two/three/four agencies. DFPCL reserves the right to split contract among many agencies at their sole discretion.

E Auction:

After submission of Stage I bid documents and online close price bid, the E auction will be conducted. The E auction will be governed by the Business Rules for online Auction as per enclosed pages in Stage I bidding. Only Technically acceptable Tenderers against the tender can only participate in further process. DFPCL’s decision on technical evaluation shall be final and no correspondence shall be entertained in this regard. The Tenderers who do not fulfill all or any of the conditions laid down in the tender document are liable to be ignored at the sole discretion of DFPCL. DFPCL also reserves the right to reject any/all the offers without assigning any reason thereof.

In case of any technical queries, you may contact our Job Controller as below

K-1 Plant- Shri. Manish Pandit (Tel. 022-5068 44611, Mob. 9820950194)

For commercial queries you may contact

Mr Nilesh Deshmukh Tel No: - 022 5068 4116 (Mob. 90960 16581) & Mr. Krishnakant Kulkarni    Tel No: - 022-50684162 ( Mob 9594056745)

Thanking you,

For Deepak Fertilisers And Petrochemicals Corporation Limited

Srungavarapu Srinivas Rao

Senior General Manager (Materials)

The following are Pre-qualification criteria to be submitted along with Stage I Tender document.

[a] Annual Turnover of minimum Rs 1 Crores including group companies.

[b] Only professionally competent contractors should participate in the Tender.

[c]The net-worth of the bidder should be positive during the preceding financial year

[d] Compliances of statutory requirement like registration under ESIC Act, PF Act, GST and other statutory compliance to operate/ do business in India.

[e] 5 to10 years of experience in Similar field and details of similar ongoing works including group companies.

[f] List of clients of the Company/Firms.

[g] Details of manpower owned technical, and staff submitted along with the tender.

[h] List of requisite tools & tackles, equipment. (Attested Copy to be enclosed).

[i]The contractor should not have any record of being de-barred or blacklisted by any State / Central

Govt. Dept. / any public / private organization. Compliances with the provisions all the personnel

related statutes (and the corresponding rules framed under these various statutes) as may be

applicable including, but not limited to statutory compliance like registration under ESIC Act, PF

Act,  Contract Labour Regulation and Abolition) Act, 1970, GST and other statutory compliances

to operate / do business in India. The tenderer should carefully go through the Safety related rules

as applicable in DFPCL (Refer Annexure II) and the statutory regulations (refer Annexure

III) to be strictly followed.

[j]Should be able to handle any local matters

[k]The contractor should have a valid MSME registration, if applicable and a copy of the same should be sent along with the tender document.

The tendered have to provide the supporting documents for above mentioned prequalification criteria.

INDEX

| Particulars | Page |
| --- | --- |
| ANNEXURE – I General Terms and Conditions for Tender submission | 5 |
| ANNEXURE – II Special Terms and Conditions | 10 |
| ANNEXURE – III Scope of Works & Contract Conditions for smooth operation: | 24 |
| ANNEXURE – IV Additional Terms & Conditions | 103 |
| ANNEXURE – V Commercial Terms & Conditions | 109 |

ANNEXURE I

GENERAL TERMS AND CONDITIONS

1. Earnest Money Deposit of Rs.1,00,000/- in the form of Bank demand draft (drawn on public sector bank or reputed private bank only) will have to be submitted in favour of Deepak Fertilisers & Petrochemicals Corporation Limited payable at Mumbai along with tender document. Tenders received without EMD will be disqualified.

2. All pages of the tender form and questionnaire must be signed and sealed by Tenderers.

3. Tenderers have to submit details along with documentary evidence for the following:

a] Registration/ incorporation certificate as Proprietary/ Partnership Firm/ Private Ltd or Public Ltd

Company/ LLP.

b] Registration certificate with PF organization for allotment of PF code number.

c] Registration certificate with Goods And Service Tax (GST).

d] Allotment letter under ESIC Act

e] Registration certificate under Maharashtra Labor Welfare Board.

f] Registration certificate for professional Tax.

g] Registration certificate with Income Tax Dept for allotment of permanent income tax code

number.

h] Tenderers are advised to submit their bids strictly on the terms and conditions of the bid

document and not to stipulate any deviation.

i] ISO Certification holder: Name of certification: -----Validity : -----(Attested Copy to be enclosed)

j] Organization Chart: Executive ------------------------, Technical Staff-------- (Attested Copy to be

Enclosed giving the details)

k] List of requisite machinery, tools & tackles, equipment. (Attested Copy to be enclosed)

l] Audited annual Turnover: for last three Financial Years.

m] List of similar jobs carried out in other company.

n] Client List:

Special Note: The contractors/Tenderer’s who are registered with DFPCL need not to submit the documents mentioned above.

4. DFPCL reserves the right to accept or reject any or all tenders at its sole discretion without

assigning any reason.

5. Late tender will not be accepted / received.

6. Canvassing in any connection with the tender in any form is strictly prohibited. Tenders submitted by party who resort to canvassing will be liable for rejection and forfeiture of EMD

7.  In case of any unscheduled holiday falling on the prescribed closing or opening day of the tender, the next working day will be treated as scheduled for opening or closing day of the tender as the case may be. The Final concluding bid shall be valid for 6 months from date of auction and if any new requirement received shall be catered at same auction price.

8. The bidders are advised to read carefully all the terms and conditions of the tender document which will form part of the contract.

9. If the Tenderers give wrong information deliberately to create conditions for acceptance of the tender, the DFPCL reserves the right to reject such tenders without assigning any reason.

10. Not more than one tender will be submitted by one Tenderer for the same work.

1.0 INSTRUCTIONS FOR SUBMISSION OF TENDER:

1)The Tenderers are advised to visit the site of work to acquaint themselves as to the nature and location of the work, access to the site, the general & local conditions, particularly those bearing upon transportation, disposal, handling and storage of materials, availability of labour, water, electric power, physical conditions etc. and shall be included on such account while quoting for the tender.

2)Tenderers shall quote the tender in the prescribed format of the tender document. Tenders should be free from overwriting. All corrections should be duly attested by the Tenderer. Tenders should be signed by person/s that are legally authorized to sign on behalf of the person or firm or company tendering and in case of firm / company tender should bear its seal or stamp.

3)Tender format should contain columns for amount in Rupees (if any),

4)The Tenderers shall not stipulate any additional conditions. Any tender containing such conditions will be summarily rejected. Canvassing in connection with tenders is strictly prohibited. Tenders submitted by the Tenderers, who resort to canvassing, will be rejected outright.

5)The work may be split up between two or more Contractors or accepted in part and not in entirety, if considered expedient at the sole discretion of DFPCL Management.

6)Submission of a tender will be conclusive evidence to the fact that the Tenderer has fully satisfied himself as to the nature and scope of work to be done, procedures for issue or materials, conditions of contract,, local precautions to be ensured, security rules to be followed and all other factors affecting the performance of the contract and the cost thereof.

7)It will be obligatory on the part of Tenderer to sign the documents for all the component part on each and every page.

8)No Bidder is allowed to bid below the current minimum wages applicable.

2.0 AMENDMENT TO NIT (Notice Inviting Tender)

At any time prior to the deadline for submission of bids, DFPCL or its nominee or its consultants may for any reason, whether at its own initiative or otherwise or in response to any clarification requested by a prospective Bidder, modify the NIT by amendment. The amendment will be notified in writing to all prospective Bidders who have received the NIT and the amendment will be binding on them. In order to afford prospective Bidders reasonable time to take the amendment into account in preparing their tenders, extension of time as may be reasonable, will be given for submission of tenders

3.0 SUBMISSION OF TENDERS:

The Bidder shall bear all costs associated with the preparation and submission of Bid and neither the company nor its nominee nor its consultants will be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process. Any clarification required by prospective bidder shall be furnished in writing soon after its receipt so as to ensure submission of bid on or before bid closing date. Metric measurement system shall be applied, wherever it is applicable.

4.0 EARNEST MONEY DEPOSIT (EMD)

The amount of earnest Money shall be deposited in the form of bank demand draft drawn on reputed public sector bank or reputed private bank only). The EMD should be in the name of M/s. Deepak Fertilisers & Petrochemicals Corporation Ltd. payable at Panvel/ Mumbai. The EMD will be forfeited in the event of the Contractor/Tenderer failing to commence the work within 30 days period. The Earnest money deposited [E.M.D.] by the successful Tenderer’s shall be Returned to the bidder after the commencement of the work and on receipt of bank guarantee towards security deposit (if applicable). The tenders without E.M.D. shall be liable for rejection. If for any reason the bidder withdraws his bid at any time prior to expiry of the validity period or refuses to execute the work after issue of the letter of intent/Work Order, the amount of Earnest Money is liable to be forfeited. Earnest Money Deposit will not carry interest. E.M.D. of the unsuccessful participated bidders will be refunded with-in one month

5.0 RIGHT OF ACCEPTANCE & REJECTION OF TENDER:

DFPCL reserves the right to accept at their sole discretion any tender in whole or part or split the work among two or more Contractor/Tenderers or reject any or all Bids without assigning any reason thereof. No claim for compensation etc. whatsoever will be entertained by DFPCL. If a Contractor/Tenderer whose past performance has not been found satisfactory in the opinion of DFPCL, then DFPCL reserves the right to refuse the tender documents or reject the tender while opening or evaluating the tenders. The decision of DFPCL regarding performance evaluation shall be final & binding on the Contractor/Tenderers. DFPCL shall not have any liability to Tenderers for any interruption or delay in access to the site irrespective of the cause.

6.0 VALIDITY OF BIDS:

Bids shall be valid for at least 90 days after the date of price bid opening prescribed by the DFPCL. A bid valid for a shorter period may be rejected at the discretion of DFPCL. In exceptional circumstances, DFPCL may solicit the bidder’s consent to an extension of the period of validity. The request and responses thereto shall be made in writing. The bids shall be suitably extended where it is necessary at the request of DFPCL. Where bidder is unwillingly to extend the validity period, his bid shall be deemed to be invalid and the EMD would be returned to the bidder. No bidder shall be permitted to modify his bid, after commercial bids have been opened unless asked by DFPCL due to change in specifications / scope or otherwise. The Final concluding bid shall be valid for 6 months from date of auction and if any new requirement received shall be catered at same auction price.

DFPCL’s decision for award of contract shall be final and binding on all the tenderers.

7.0 PROCEDURE FOR AUCTIONING

7.1 [a] Auction: DFPCL will declare its Opening Price (OP), which shall be displayed to all Tenderers during the start of the Auction. The Tenderer will be required to start bidding after announcement of Opening Price and decrement amount. Opening Price displayed on screen is evaluated price to DFPCL for all the items mentioned in price bid. The first online bid and the subsequent bids, received in the system during the event shall be less than the Auction's opening bid price by one decrement or multiples of decrement.

[b] Auction shall be for a period of 30 minutes or as per DFPCL requirement. If a Tenderer places a bid in the last 2 minutes of closing of the Auction and if that bid gets accepted, then the auction’s duration shall get extended automatically for another 2 minutes, for the entire auction (i.e. for all the items in the auction), from the time that bid comes in. The auto-extension will take place only if a bid is received & accepted in those last 2 minutes. If the bid does not get accepted, the auto-extension will not take place. In case, there is no bid in the last 2 minutes of closing of Auction, the auction shall get closed automatically without any extension. However, Tenderers are advised not to wait till the last minute or last few seconds to enter their bid during the auto-extension period to avoid complications related with internet connectivity, network problems, system crash down, power failure, etc.

[c] After the completion of Auction, the Closing / Final Price (CP) shall be available on auction screen.

7.2. During Auction, if no bid is received within the specified time, DFPCL, at its sole discretion, may decide to reschedule / scrap the Auction process / proceed with conventional mode of tendering / or finalize the tender based on Prices Bid submitted in the envelope

7.3. Placement of order on the conclusion of Auction shall be at the discretion of DFPCL. Bids once made by Tenderer, cannot be cancelled or withdrawn. If bidder withdraws the bid then the EMD of the bidder will be forfeited.

7.4. It shall be the prerogative of DFPCL to offer the Final / Closing Price of Auction to the other bidders for matching in case DFPCL decides to have more than one supplier.

7.5. The Tenderer shall be assigned a Unique User Name & Password by DFPCL’s . The Tenderer are advised to change the Password and edit the information in the Registration Page after the receipt of initial Password from DFPCL. To ensure confidentiality. All bids made from the Login ID given to Tenderer will be deemed to have been made by them.

7.6. The Tenderer will be able to view the following on screen along with the necessary fields in the Reverse Auction:

_ Leading Bid in the Auction (Current Lowest Rate)

_ Opening Price & Decrement Value.

7.7. DFPCL decision for award of Contract shall be final and binding on all the Tenderers.

7.8. DFPCL shall not have any liability to Tenderers for any interruption or delay in access to the site irrespective of the cause.

8.0.  	SUBMISSION OF TENDERS:

The Bidder shall bear all costs associated with the preparation and submission of Bid and neither the company nor its nominee nor its consultants will be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process. Any clarification required by prospective bidder shall be furnished in writing soon after its receipt so as to ensure submission of bid on or before bid closing date. Metric measurement system shall be applied, wherever it is applicable

ANNEXURE II

Special Terms and Conditions:

SAFETY ASPECTS:

  - Tenderer/ Contractor to provide safety appliances like dust masks, ear plugs, Full body harness, ladder, safety shoes, helmet, hand gloves, safety goggles, PPE, rain gears, Boiler suit/overall made up from cotton cloths etc. to their personnel working inside the Complex at his cost and should adhere to safety codes as given in General Conditions of the contract.

ISI mark yellow helmet to be provided of Udyogi or any standard company

ISI marked safety shoes to be provided of Bata make or any standard Company

ISI marked antifog goggles to be provided of any standard company

If any deviation noticed, then the company will provide the helmet and safety shoes and will deduct the landing cost at actual incurred by company. After repetitive incidents of violation of safety PPES by Tenderer, serious penalty amount will be deducted from Tenderer’s invoice as per safety requirement.

a) Penalty for violation of Safety norms: Rs 500 for first instance per person, in multiple for next similar violations.

b) The manpower shall be confirmed physically fit by Factory Medical Officer to carry out assigned job at DFPCL work site. Tenderer/ Contractor has to report with manpower to factory medical officer on very first day of his contract or his worker’s first day of duty.

c) No young and Minor Child labour shall be allowed to enter and work at site of DFPCL.

d) The Tenderer/ Contractor shall ensure the safety training of their workman prior to start of the assignment/ job with the help of DFPCL Supervisor and Safety Officer.

e) Electrical hand tools, welding machines deployed for the job shall be confirmed for the provision of ELCB proper earthing. The same shall be inspected by DFPCL Safety Officer and Electrical department.

f) Tenderer/ Contractor shall deploy Safety Supervisor for the manpower condition more than of 20 CL & 30 CL

g) Tenderer/ Contractor shall prepare Job Safety Analysis for daily activities and will get endorsed from DFPCL Maintenance In charge. Hazard Identification and Risk assessment shall be done for each activity and accordingly Risk control measures shall be taken to control every risk. Every contract workman at site will be using Safety Helmet, Boiler suit and safety shoes compulsorily. Ear, Eye, Nose and Hand as well as body protection equipment will be used time to time to protect body from each activity.

h) Safety Work Permit system to be followed while performing any job. will be issued by Tenderer/ Contract Safety Officer, will perform inspections/checks that all jobs for safety procedures to be followed..

i) Safety Training, First Aid Training, shall be imparted to all workers on first day and for five minutes every day at the start of the day.

j) No person shall work under the control of liquor, Chewing of Tobacco or smoking is strictly prohibited on site.

k) Housekeeping at site is essence of the contract. Site will be cleaned at start and end of the work every day by the Contractor/Tenderer.

l)Every electrical supply shall be taken through closed socket and ELCB, every electrical hand tool will be having proper earthing arrangement.

m) All workers shall be provided with written and understandable Information about their employment conditions in respect to safety & wages before they enter employment and about the particulars of their wages for the pay period concerned each time that they are paid and deduction of fines for non-compliance of safety standards if any.

n) There should be no discrimination in hiring, training, compensation, access to training, promotion, termination or retirement based on race, caste, national origin, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

1.02. Safety Training

1) Tenderer/ Contractor has to deploy experienced trained and skilled manpower for the job assigned.

2) Safety training will be given by DFPCL Safety officer to all manpower reported on duty. Tenderer/ Contractor’s Safety Supervisor shall prepare job safety analysis with the help of the Maintenance Officer for the job to be carried out and the procedure which is going to be used for the job. On the basis of agreed procedure safety training will be given and adequacy of safety PPE’s will be checked by Safety Officer.

3) Safety training certificate will be issued to all Tenderer’s/ Contractors’ workers. Every Contractor/Tenderer’s workers will maintain safety certificate copy with him for the period of work inside the factory/ work site of DFPCL. The certificate will be valid for a period of six months from date of issue. After the validity, Tenderer/ Contractor and contract worker has to revalidate the certificate by acquiring additional certificate training from the Company.

4) Worker shall be aware of First Aid and using First Aid equipment and emergency procedures and assembly point at site.

5) Falsification or tampering of records, including safety certificates, attendance records, academic credentials, etc., will be considered as default and may invite penalty upon the Contractor.

1.03. Accidental Reporting

1) Safety of the worker/s is essence of the contract.

2) Any unsafe condition noticed by the Tenderer/ Contractor/Contract worker shall be notified to the DFPCL Supervisor and Safety Officer on duty.

3) Any near miss, minor injury, First Aid or major injury shall be reported to OHC & Safety Officer in writing by the Tenderer/ Contractor within 4 hours, with cause of the incident.

4) First Aid treatment shall be made available at OHC. Any more treatment advised by OHC /Factory medical officer shall be made available by Tenderer/ Contractor at ESIC recognized hospital/specialized hospital. It is sole responsibility of Tenderer/ Contractor to make available in time the best treatment to its worker at his cost/insurance. DFPCL shall not be responsible for the same.

1.04 Safety Performance

1)  Every contract shall be vetted for safety performance of previous contract and experience

2) Safety training to workers, proactive performance, availability of safety appliances, Attitude towards safety implementation, rewards to the worker/s will be evaluation parameters.

2. Labor law and Safety codes:

All the matters concerned with labour management shall be as per the prevailing  Labor laws. Tenderer/ Contractor will obtain labour license/s on arrival at site before commencement of the job. The first RA bill shall be released only on submission of the copy of labour license duly attested by DFPCL Administration in the prescribed format. If labour license is not applicable, the Tenderer/ Contractor shall obtain a confirmation to this effect from DFPCL Administration.

Tenderer/ Contractor will comply with all labour and other statutory laws applicable from time to time. All labour laws, such as Contract Labour (Regulation and Abolition) Act 1970 with Maharashtra and Central Rules, Employees State Insurance Act with Rules & Regulations, The Maharashtra Workmen’s Minimum House Rent Allowance Act, 1983 with Rules 1990, The Payment of Bonus Act, 1965 with Rules 1975, Factories Act with Mah. Rules, The Employees Provident Funds and Miscellaneous Provisions Act, 1952, Minimum Wages Act 1948, Payment of Wages Act 1936, Maharashtra Labor Welfare Act, etc. and such other acts which are in force or which may come in force during the subsisting of the contract, should be adhered to by the Tenderer/ Contactor and such other rules/ regulations/ laws made applicable from time to time.

The Tenderer/ Contractor shall be solely responsible for its employees. And always keep the DFPCL Indemnified from all losses, actions, penalties etc arising out of this Tender/ Contract.

The Tenderer/ Contractor shall be responsible for all acts of its personnel and representatives, directly or  indirectly rendering services in relation to or connected with job entrusted and to comply with all  applicable labor laws.

2.01 Deployment of Medically Fit Manpower:

For the due execution of this Contract, the Tenderer/ Contractor shall deploy workers/supervisors who are at all times physically and mentally fit and are not disabled/handicapped and do not suffer from any chronic or contagious disease. It shall be the responsibility of the Tenderer/ Contractor to ensure that its Workers/Supervisors employed are medically fit. The Tenderer/ Contractor shall give a written declaration as regards the fitness of the Workers/Supervisors employed at the time of applying for the Gate Pass. If any employee employed by the Tenderer/ Contractor becomes or is declared medically unfit after the issuance of the Gate Pass, the DFPCL shall revoke the Gate Pass.

Failure to comply with this stipulation shall entail penalty as may be decided by the management apart from refusing entry to such Workers/Supervisors of the contractor. The decision of the DFPCL’s Medical Officer in this regard shall be final.

2.02 MEDICAL EXAMINATION:

Tenderer/ Contractor should ensure that all its Workers/Supervisors deployed at DFPCL sites undergo pre employment fitness examination. The form No.33 (Prescribed under Rule 68T & 102) should be filled up for all its Workers/Supervisors deployed and should be submitted by Him/her to user department.

Contract Workers/Supervisors completing 12 months shall undergo annual medical examination. Such examination must include the following tests:-

1) Complete Physical Examination.

2) X-Ray chest PA view (Once in Pre-employment then once every three years)

3) Complete haemogram (T&D, Hb at minimum)

4) One urine examination using Multistix.

All entries pertaining to the periodical examination must be made and maintained in form 32 (Bounded register) prescribed under Rule 68 T & 102.

Form No.32 must be maintained in bounded register & should be submitted to the OCCUPATIONAL HEALTH CENTER for records annually.

Each Personnel should use required Personal Protective Equipment’s (PPE)as per Job (Minimum: Safety Shoes, Canvas Gloves, Welding Face shield attached with helmet safety goggles) For a work at height each person should use individual safety helmets with two lifelines ( in good conditions).

Failure or negligence on part of Contractor in following these health and safety rules shall invite penalty as may be decided by the management and/or as described herein below.

2.03 Safety Organization of Tenderer:

The Contractor/Tenderer shall be fully responsible for supervision of its personnel to ensure that they strictly adhere to all applicable safety fire requirements.

The Contractor/Tenderer shall appoint one of its personnel on the work site as a Safety officer with the approval from the plant. Contractor/Tenderer shall employ skilled, experienced, trained and dedicated safety personnel as per below details:

Safety officer deployment as per term of contract – 01 against 20 CL

If 101 and more employees – Additional safety officers/100 employees

Ensuring barricading in the area while work is in progress by Contractor/Tenderer

Proper segregation of the insulation waste/material and timely disposal

If Space/shed provided to Contractor/Tenderer – Prime responsibility and accountability of Contractor/Tenderer to ensure it neat and tidy and no unsafe conditions at any time.

Quality PPEs provision – ISI - marked safety Shoes, ISI - marked Yellow Safety Helmets, EN166 marked Safety Goggles, ISI marked dust masks, ISI marked Safety harness with double lifeline and with shock absorber, Coveralls.

BIS certified – Yellow color safety helmets with Test certificate worn by Contractor/Tenderers /contract workmen.

Contract safety officer shall conduct training for all contract employees as per guideline given by DFPCL safety dept. The Contractor/Tenderer's owner / line manager in charge on site shall be responsible for formation of the organization and coordination the Contractor/Tenderer's Safety activities. This organization shall take the responsibility of all safety related activities with respect to their jobs.

2.04 Recruitment, Training of Contractor/Tenderer's Personnel:-

The Contractor/Tenderer shall at his own expense ensure that all its personnel and sub-contractor's personnel have been given the necessary safety, job-related training required by DFPCL regulations and will provide proof to the effect. The Contractor/Tenderer's personnel shall participate in any additional training, which may be provided by DFPCL. Access to work site by the Contractor/Tenderer's personnel shall be denied if not complying with the rules and regulations at site.

2.05 Minimum Entry qualification for contract Personnel:

Contractor/Tenderer shall employ only those personnel who are trained in their trade or otherwise having sufficient working experience to ensure their and others safety while on the work.

Contractor/Tenderer shall employ only those personnel who at least can speak & read Marathi, Hindi or English. Contractor/Tenderer shall maintain up to date record of qualification and experience of his personnel and produce it to concerned DFPCL authorities in advance.

2.06 Safety Meetings: -

The Contractor/Tenderer shall be responsible for maintaining and enhancing the Safety awareness of the workmen working under him, including sub-contractor. The Contractor/Tenderer will inform the DFPCL safety manager of the time and place of safety meetings arranged by him. Copies of minutes / records of Contractor/Tenderer's safety committee meetings shall be sent to the DFPCL Safety Department. The Contractor/Tenderer and sub-contractor's personnel are to be encouraged to contribute actively to safety meetings and to identify S.H.E. topics for inclusion in the agenda for a safety meeting. Toolbox talk should be conducted before conducting of any maintenance activity. Safety committee meetings conducted by DFPCL should be attended   by nominated representative of the Contractor/Tenderer and he shall ensure the communication of same for his employees. This scheme is applicable to all Contractor/Tenderers working in the complex.

2.07 First Aid and Industrial Injuries: -

Tenderer shall maintain first aid facilities for his employees. All industrial injuries (minor & major) shall be reported promptly to Engineer-In-Charge, and a copy of Tenderers report covering each personnel injury requiring the attention of a physician shall be furnished to Company.

2.08 Health

It is the responsibility of the Tenderer to provide hospitalization expenses, to carry the injured or sick personnel on duty to the designated hospital and to pay salary as per statutory requirements in case of absence from duty after suffering from occupational injury and to take post-hospitalization care with salary paid till the injured joins back duty / resigns / retires.

To provide documented proof for providing medical care / hospitalization, bearing hospital expenses, salary paid during and post hospitalization till complete recovery / not recovery - to Occupational Health Center

To provide Fitness certificate from the hospital at the time of joining duty after suffering from occupational injury while on duty - to Occupational Health Center

To provide Unfit certificate from the Hospital as the case may be – to Occupational Health Center

The Tenderer should provide following details to Occupational Health Centre on the first day of beginning of contractual period.

Name with phone number/s of the manpower

Name of the close relative/s of the manpower with phone number/s

Residential address of the manpower

Name of the Registered / Tie-up Hospital with phone number and Doctor’s name/s – wherein the manpower provided needs to be hospitalised if required.

2.09 Schedule of penalties for safety violations

Use of PPE is mandatory, and non-compliance shall be viewed seriously. Punitive actions including financial penalty may be imposed for safety violations.

2.10 UNIFORM:

The Contractor/Tenderer staff shall wear uniform, Boiler suite, Rainy wear (During monsoon) while working inside plant premises. They shall also wear badge/name plate while they are working at site. All labour laws/ regulations shall be strictly followed by Contractor/Tenderer as per central/state govt. directives. Before executing the contract agreement, Contractor/Tenderer will ensure with DFPCL P&A dept. that they are maintaining necessary records as required under labour laws.

Penalty for violation for Not wearing uniform/Boiler suit/Rainy Wear : Rs 500 for first instance per person, in multiple for next similar violations.

2.11 STATUTORY COMPLIANCE: -

Contractor/Tenderer will comply with all statutory regulations like payment as per minimum wages, bonus, labour welfare fund, leave wages, PF, ESIC, maintaining requisite record. Viz. various registers and submitting the same to P&A department whenever asked for by DFPCL. In case of failure of comply with the regulations, appropriate deductions will be made from your bill, in addition to penalty deductions as agreed.

(A) Documents Required at the time of Issuance of Gate Passes:

Whenever the Contractor/Tenderer applies for gate passes to his worker/s to enter into DFPCL premises, they have to apply on its letter head (Format with HR Department) along-with following documents. The application should be recommended by authorised User Dept.

Copy of Work Order/LOI issued by DFPCL.

Copy of Temporary or Regular ESIC Card of each worker (under ESIC Act) or Employees

Compensation Policy (If contract worker drawing wages more than Rs.21000/-, required authentic proof i.e. appointment letter or last month payslip) or Group Personal Accident Policy along-with list of employees who is covered under the said GPA.

In case more than 49 persons are to be engaged, Contractor/Tenderer has to apply and obtain Labour License under Contract Labour (R&A) Act from the State Labour authorities.

Copy of Allotment letter under ESIC Act

Copy of Registration certificate with PF organization for allotment of PF code number along with PF annual return submitted with the concern PF Commissioner.

Copy of Registration certificate under Maharashtra Labor Welfare Board.

Copy of Registration certificate for professional Tax.

Copy of Register of workmen employed by Contractor/Tenderer (Form XIII) – Rule 74

Copy of Employment Card (Form XIV) - Rule 76

Copy of Application for employment, appointment letter issued by Contractor/Tenderer to his workers.

Copy of Insurance coverage covering DFPCL, as work place, and for the number of persons to be deployed. The nature of work in the policy should be the same as per the work order issued by DFPCL.

Medical Examination and fitness reports in respect of all the contract labours from the designated/specified medical officers.

If the job is subcontracted then no objection certificate from Contract Cell, DFPCL regarding subcontracting the work, work order issued to subcontractor by the main Contractor/Tenderer and all the documents mentioned at Sr. No.1 to 12 are also required in respect of the subcontractor. However the same will be with prior written consent of the DFPCL only.

UAN Number is mandatory for making gate pass.

(B) Procedure to be followed by the Contractor/Tenderers during the work period.

Documents / Registers / Challans to be maintaining & photo copies of the same should be submitted to HR Department for verification on monthly basis on or before 28th of every month.

1) Wage disbursement: Minimum wages as notified by State Govt. from time to time are required to be paid to the workers.

2) Monthly wage to all contract labours as per their actual attendance to be paid on or before 7th Day of every month in presence of authorized person from DFPCL. Wage slip will be issued to all Contract Labours while disbursement of wages.

3) PF is required to be deducted in respect of all the contract labors and deposited with PF authorities by 21st Day of the month and receipt of the same to be submitted with DFPCL.

4) ESIC is required to be deducted in respect of all the contract labours and deposited with concern authorities by 21st day of the month and receipt of the same to be submitted with DFPCL.

5) Labour Welfare Fund is required to be deducted in respect of all the contract labours and deposited with concern authorities for the wages of June & December of every year within stipulated time and receipt of the same to be submitted with DFPCL.

6) Professional Tax is required to be deducted in respect of all the contract labours and deposited with concern authorities as per act and receipt of the same to be submitted with DFPCL.

7) Following records under Contract Labour (R&A) Act & other acts will also be verified by Contract Labour Cell:

1. Wage Register in form XVII. (Under the C.L Act)

2. Muster Roll in Form XVI (under the C.L Act)

3. Register of deductions (under the C.L Act)

4. Register of Overtime (under the C.L Act)

5. Register of Fines (under the C.L Act)

6. Register of advances (under the C.L Act)

7. Bonus Register in Form C (under the Payment of Bonus Act)

8.  Leave register in Form 20 (under the Factories Act)

8) Copy of all the work orders (first two pages only -applicable only if not submitted earlier) for which clearance certificate is sought for.

9) Copy of Monthly Wage Register.

10) Copy of monthly PF challan along with receipted copy of monthly PF returns i.e. Form 12A, Form 5 and Form 10.

11) Site wise breakup of PF: If Contractor/Tenderer is working for various other companies then the site wise breakup of Monthly PF challan/returns.

12) Copy of Labour License (if not submitted earlier).

13) In case work period is February/March, then the receipted copy of Annual PF return for that year is required.

14) Inspection report of PF and Labour authority.

Tenderer/ Contractor should ensure that, he has complied all statutory compliances as per above said acts for that particular Month before raising wage bill. DFPCL has right to hold the bill for any particular month if the Tenderer/ Contractor has not complied with the mandatory statutory compliances. The Tenderer/ Contractor shall always keep DFPCL indemnified from any risk/ liability/ penalty/ cases arising from non-compliance of the same.

15) All workers shall be provided with written and understandable Information about their employment conditions in respect to safety & wages before they enter employment and about the particulars of their wages for the pay period concerned each time that they are paid and deduction of fines for non-compliance of safety standards if any.

16) There should be no discrimination in hiring, training, compensation, access to training, promotion, termination or retirement based on race, caste, national origin, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

(C) HOUSEKEEPING:

Tenderer/ Contractor shall do housekeeping and shall remove all unwanted materials from the work site immediately after completion of work. Housekeeping shall also be done in between the work to keep the work area clean & tidy. 25% of bill value will be deducted if housekeeping is not done properly.

(D) ASSIGNMENT OR SUB-LETTING OF CONTRACT:

The Tenderer/ Contractor shall not assign or sub-let the Contract or any part thereof or allow any person to become interested therein in any manner whatsoever without the previous consent in writing of DFPCL. Any breach of this condition shall entitle DFPCL to take such steps as may be necessary and also terminate Contract. Such termination shall also render the Tenderer/ Contractor liable for payment to DFPCL in respect of any loss or damage arising or ensuing from such cancellation. The permitted subletting or work by the Tenderer/ Contractor shall not establish any contractual relationship between the sub-contractor and DFPCL and shall not release the Tenderer/ Contractor of any responsibility under the Contract.

(E) CONTRACTOR/TENDERER TO BE LIABLE FOR ALL THE TAXES ETC:

The Tenderer/ Contractor shall be liable to pay all the taxes payable as per the prevailing laws made applicable or might come  in force from time to time by the concerned authority. DFPCL shall not be responsible for the same.

(F) INDEMNITY:

Without prejudice to any other provisions in these conditions, the Tenderer/ Contractor shall be bound to keep DFPCL, Its Directors or any representative employee agents, fully indemnified against any action, claim or proceedings under the provisions of any rules, regulations, bye-laws, notifications, directions or order having the force of law.

The Tenderer/ Contractor in contravention of such provisions etc., for the infringement or violation thereof in the course of the execution or completion of the work under the Contract and if, as a result of any such action, claim or proceedings, the Tenderer/ Contractor or such representative of the Tenderer/ Contractor, as the case may be, adjudged to be liable to any penalties or to pay any penalties or to pay any compensation, such liability, the Tenderer/ Contractor and if, DFPCL has to take-over the liability, DFPCL shall deduct all amounts arising out of such liabilities from the Security Deposit or from the running account of the Tenderer/ Contractor or from any other amount due and payable by DFPCL to the Tenderer/ Contractor under this Contract or any other Contract and without prejudice to any other legal remedy available to DFPCL

(G) TENDERER/ CONTRACTOR TO COMPLY WITH ALL LAWS ETC:

The Contractor/Tenderer shall be responsible to ensure compliance with all Central and State Laws as well as the Rules, Regulations, Bye-laws and Orders of the Local Authorities and Statutory Bodies as may be in force from time to time.  The Tenderer/ Tenderer shall  give to the statutory bodies, local authorities, police and other relevant authorities all such notices etc. as may be required by law and obtain all requisite Licenses and pay all fees, Duties, Taxes, charges etc. in connection therewith as may be livable on account of his operations involved under this Contract.

The Contractor/ Tenderer shall make good at his own cost any damage to the property of the Company or any other body, persons, local authorities etc due to or arising from operations involved under this Contract and the Company shall have the right to recover the cost of damage from dues payable from the Bank Guarantee or Security Deposit of the Tenderer/ Tenderer.

If Company’s job-controller observes non-compliance by the Contractor/Tenderer in complying with provisions of labour statutes and specific Acts relevant to the Tender/ Contract, Company shall retain double the value of the non-compliance amount taking into consideration interest, penalty and dues. In case the Company is forced to pay the dues, along with interest and penalty, due to failure of the Contractor/Tenderer, the Company shall be at liberty to recover such amount or any part thereof by deducting it from the Security Deposit or from any sum due by the Company to the Contractor/Tenderer whether under this Contract or otherwise.

(H) CONFIDENTIALITY:

Both the parties during the continuance of this Agreement and 2 (Two) years after termination of this Agreement, Tenderer and/or his employees/ personnel shall keep all information, such as specifications, technical information, business data and other confidential information under this Agreement strictly confidential and shall not. Disclose it to any third party or Use it for other purpose than to perform its obligations under this Agreement. Tenderer/ Tenderer and/or personnel may disclose the information to an employee of Tenderer, or a government agency or other regulating authority

But only insofar as this is necessary either to carry out its duties under this Agreement or comply with any existing law, and under intimation to “Company”. Where sub clause (b) applies Tenderer and/or personnel shall ensure that the person who receives the information keeps it confidential and does not use it for any unauthorized purpose. If any unpublished price sensitive information is disclosed by the Company the Contractor/Tenderer and its representatives, agents, shall comply with the provisions of the Insider Trading regulation applicable and made applicable from time to time.

Unauthorized disclosure of business “secrets” or confidential information is considered as gross indiscipline and liable for penalty.

Personal Data Privacy:

Both parties undertake to process personal data provided by the other party in a manner consistent with applicable laws, in particular with the provisions of the Digital Personal Data Protection Act, 2023 and rules made thereunder including the implementation and use of technical and organizational measures to ensure an appropriate level of their security.

(I) RELATIONSHIP:

Each party understands that they are independent entities and this Agreement does not make it, its/ his employees, associates or agents, the legal representatives of the other party for any purpose whatsoever.  Either party has express or implied right or authority to assume or to undertake any obligation in respect of and on behalf of or in the name of the other party or to bind the other party in any manner in respect of any transaction, except the present agreement.

(J) WAIVER:

The failure of either party to enforce at any time any of the provisions of this agreement shall not be considered to be a waiver of the right of such a party thereafter to enforce each and every provision.

(K) ENTIRE AGREEMENT:

This Agreement supersedes all oral and written representations and agreements between the parties, including, but not limited to any earlier agreement relating to the subject matter thereof and/or any other agreement between the parties in relation to the subject matter thereof.

(L) AMENDMENT :

The parties to this Agreement may add, delete, amend or alter all or any of the terms & conditions of this Agreement as mutually agreed from time to time and such modifications and changes shall not be effective until the same are in writing and duly signed by the authorized representatives of both the parties.

(M) Declaration of Tenderers/ Contractors Relation with DFPCL Employee(s):

Should a Tenderers/ Contractors have a relation or in the case of a firm, one or more of its partners a relation or relations employed in DFPCL or in case of company any of its official or relations employed in DFPCL, the authority inviting tenders shall be informed in writing of the fact at the time of submission of the tender. If so, the name, designation, department and Employee Number of such employees be indicated failing which DFPCL may in its sole discretion reject the tender or rescind the contract. If any ex- employee(s) of DFPCL is/ are employed, with the Tenderers/ Contractors, name, designation, department and employee number of such employee(s) be indicated and if any ex-employee(s) of DFPCL is/are employed after acceptance of tender, the said particulars shall also be intimated immediately in writing to DFPCL from time to time. If the Tenderer/ Supplier fails to inform the same, DFPCL shall at sole discretion may reject the tender.

(N) The Tenderer/ Contractor shall not be entitled to any claim including any cost, charges, TA/DA expenses or incidentals for the preparation and submission of this tender even if the Management may decide to withdraw the “NITT”.

(O) Dispute not to hold up works:

The successful Tenderer(s) shall not stop the work in case of any dispute(s) unless further progress of work has been rendered impossible due to non-fulfillment of any reciprocal promise. Unilateral stoppage of work by the Tenderer shall be considered as a breach of contract and DFPCL reserves the right to take such action as it may deem fit keeping its interest as paramount.

ANNEXURE III

Scope of Works & Contract Conditions for smooth operation:

Before submitting the rates in excel sheet, the bidders should be clear about the scope of works.

For any doubts, bidder should get it cleared from the job co-ordinator Mr Manish Pandit   - manish.pandit@DFPCL.com/ 022 50684461

- The time allowed for carrying out the work as entered in tender / specified by Job Coordinator shall be strictly conserved by the contractor and shall be reckoned from the date on which the order to commence the work or completion of work is given to the contractor.

- If the progress of any portion of the work is unsatisfactory the DFPCL shall not be withstanding that the general progress of the work is satisfactory, the Contractor will have no claim for compensation, for any loss sustained by him owing to such action.

- The contractor or contractors will be responsible for the loss of their material as well as the material issued by DFPCL due to pilferage/theft. Hence, they shall have to ensure security & safety of the material at their own expenses.

- DFPCL shall have power to make any alterations in, or additions to the original specification drawings, designs and instructions that may appear to be necessary or advisable during the progress of the work and the Contractor shall be bound to carry out the work in accordance with any instructions in this connection

- All quarry fees, royalties, octroi dues and ground rent for stacking materials, outside local issue if any will be settled/paid by the Contractor.

- Female coolies / workers / employees shall not work between 18.00 hrs. to 07.00 hrs.

- Contractor should make his own arrangement for 5 KL of water tank, temporary flood light, diesel pumps for execution of his work at site.

- Extra items / claims / or extra quantity more than the PO awarded will not be paid to contractor.

- IF Any Quantity like to be increased the contractor must take Prior approval before job execution.

- Contractor should appoint a Main Civil Engineer as In-charge of minimum 10year experience for each site.

- Under the main Civil In-charge, Contractor must deploy the civil engineers having minimum 5 years’ experience of relevant work.

- Minimum 3 Civil Engineers per site with 5 to 6 Supervisors should be deployed for each site by the contractor.

- Contractor must make enough temporary provisions of mobile toilets facility for his workers/employees at the work site

- Contractor must visit the site before he quotes the tender.

- All the QA/QP must maintain the contractor for all the items of execution at his own cost.

- Daily Progress report must be submitted by contractor to job coordinator.

- All the RCC work to be carried out as per IS 456-2000.

- Contractor must make his own power distribution board system with required ELCB, MCB,50m Cable etc. (Refer. Electrical checklist is attached)

- Contractor must submit the Reconcilement state on monthly basis to Clint. With allowable standard specified wastage. (for reinforcement 2.0% and for structural steel 2% only.)

- Quality Assurance & Quantity Verification through TPI Agency

- Falsification or tampering of records, including safety certificates, attendance records, academic credentials, etc., will be considered as default and may invite penalty upon the Contractor.

CONTRACTORS SCOPE OF SUPPLY---

All construction materials, cement OPC Skilled and unskilled labor, manpower, machinery, tools tackles etc.to complete job in all respect. Material should be as per Technical specification laid down by DFPCL/UHDE or approval consultants

Lifting and shifting machineries like Backhoe (JCB), Poclain, Forklift, boomlift, manlifter, Hydra, Farana, cranes all should be healthy for operation with skilled operator and complied by all statutory documents, will be in your scope

Item wise details description as per attached sheet.

A separate excel sheet containing the service line items is given in each of the scope of works document in sealed envelope.

GST will be extra as applicable.

Contractor’s liability for all taxes as per Govt. Notification.

The Contractor shall be liable to pay all the taxes payable as per the statue made applicable from time to time by the concerned authority. DFPCL shall not be responsible for the same.

PRICE BID FORMAT

You will submit the quote considering with material (Material in your scope) and without material (Material provided by DFPCL)

Please note that this is only the unit rate chart. The monthly bill will be approved for payment only on completed actual quantum of such listed services, as completed by the Contractor and certified by Job Co-ordinator.

Approximate Tender value per year will be Rs 75 Lacs

Any increase in the quantity which exceeds the value of the order, should be considered at the same listed unit rate agreed by the contractor. The ARC rate will be applicable for throughout the contractual period & for similar works conducted by the contractor in the Plant premises of K1, K7 and K8 Plant.

Similarly, if by end of the contract period the value in the said contract remains un-utilized then the validity of the said order will be extended. However, such decision remains at the sole discretion of the DFPCL/DFPCL Management.

The unit rates quoted by the suppliers shall remain firm till the completion of contract period and during extended period if any. No unit rate escalation on any other ground shall be allowed.

| Detailed Scope of work |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr. No. | Item Code | Description | Qty | Unit | Detailed Description |
| (A) Earthwork |  |  |  |  |  |
| 1 | 4000270 | Exc. In all Soils depth upto 2.0 M | 1 | M3 | Excavation for foundation, trenches & for attending underground pipelines, etc in all types of soils, sand,gravel, soft & hard murum, soil mixed with boulders,etc including removing the excavated material upto a distance of 50 Mtrs. beyond the building area and with all lift stacking and spreading as directed, dewatering including pumping, if necessary, shoring and structting, preparing the bed for foundation etC. |
| 2 | 4000271 | Exc.in all soils depth above 2M upto 3M | 1 | M3 | Excavation for foundation, trenches & for attending underground pipelines, etc in all types of soils, sand,gravel, soft & hard murum, soil mixed with boulders,etc including removing the excavated material upto a distance of 50 Mtrs. beyond the building area and with all lift stacking and spreading as directed, dewatering including pumping, if necessary, shoring and structting, preparing the bed for foundation etc |
| 3 | 4000273 | Exc.in hard rock depth 2M to 3M | 1 | M3 | Excavation for foundation, trenches & for attending underground pipelines, etc in in hard rock by using chisel & big pneumatic hammer (measurement with 30% deduction for voids shall be paid & to be stacked properly for measurement) including removing the excavated material upto a distance of 50 Mtrs. Beyond the building area and with all lift stacking and spreading as directed, dewatering including pumping, if necessary, shoring and structting, preparing the bed for foundation etc. |
| 4 | 4000274 | Breakof PCC, IPS, WBM/Bitumen layer | 1 | M3 | Breaking of PCC, IPS, MBM/Bitumen layer, removal of rubble soling, breaking brick bat coba etc. at any height using chisel and hammer, removal of debris etc disposal outside the factory premises. |
| 5 | 4000275 | Dismantling RCC | 1 | M3 | Dismantling RCC work using pneumatic hammer/chisel, cutting and removal of reinforcement etc. to be collected and kept separately for handing over to stores and disposal of debris of concrete outside the plant premises. |
| 6 | 4000276 | Dressing area upto depth 150 mm | 1 | M2 | Dressing over area upto average depth of 150mm and removing excess material out side the plant premises as directed. |
| 7 | 4000277 | Rem excavated spoil/debris outside | 1 | M3 | Removing excavated spoil/dismantled debris to outside the premises. |
| 8 | 4000278 | Rem excavated spoil/debris inside | 1 | M3 | Removing excavated spoil/dismantled within the land premises at low area to be dressed and leveled as directed by the Engineer Incharge |
| 9 | 4000279 | Filling available earth in plinth | 1 | M3 | Filling available Earth in plinth and floors with approved excavated materials in 15cm to 20cm layers including watering and compacting comleting as specified and directed. |
| 10 | 4000281 | Prov. & laying 230mm rubble soling | 1 | M2 | Providing and laying 230 mm thick dry rubble packing under floor including laying in regular lines and level filling in the interstices with long chips, spalls and sand well rammed, watered and consolidated etc. as specified and directed. |
| 11 | 4000282 | Prov.& lay 150mm thk dry rubble soling | 1 | M2 | Providing and laying 150 mm thick dry rubble soling under floor including laying in regular lines and level filling in the interstices with long chips, spalls and sand well rammed, watered and consolidated etc. as specified and directed. |
| 12 | 4000286 | Prov. 230mm dry rubble stone pitching | 1 | M2 | Providing 230mm thick dry rubble stone pitching laid on sides and bottom whereever required including one header 30 cm long @ 1 per 2.5m2 including pointing the joints with cement mortar 1:4, curing etc complete as specified and directed. |
| 13 | 4000287 | Prov. & filling sand in 15cm to 20cm | 1 | M3 | Providing and filling sand in 15cm to 20 cm layers well compacted and watered as directed. |
| 14 | 4000596 | SURF DRESSING-UPTO 100MM DEPTH | 1 | M2 | Scope of work: Dressing over area upto average depth of 100mm and removing excess material as directed by EIC. |
| 15 | 4000072 | Rolling with 10-12 tons road rollers | 1 | M2 | Rolling formation level with 10-12 tons road rollers |
| 16 | 4000073 | Supply & filling murrum in layers | 1 | M3 | Supplying and filling approved quality murrum in layers 250-300mm thick, watering, rolling with 10-12 ton road rolle, consolidating complete as directed. |
| (B) Concrete Items |  |  |  |  |  |
| 17 | 4000001 | Prov. mixng & lay plain concrete M-100 | 1 | M3 | Providing, mixing & laying plain concrete of any thickness below footing, plinth beams, drains, flooring, paving, pedestrals, etc. using graded stone aggregate including consolidation, finishing etc. complete and curing. (Rate applicable for depth below GL, not exceeding 3 mtr and height not exceeding 1st floor) 1 st Floor Height may be considered as 6 m. Shuttering will br paid separately. |
| 18 | 4000002 | Prov. mixng & lay. plain concrete M-150 | 1 | M3 | Providing, mixing & laying plain concrete of any thickness below footing, plinth beams, drains, flooring, paving, pedestrals, etc. using graded stone aggregate including consolidation, finishing etc. complete and curing. (Rate applicable for depth below GL, not exceeding 3 mtr and height not exceeding 1st floor) 1 st Floor Height may be considered as 6 m. Shuttering will be paid separately. |
| 19 | 4000004 | P&L RCC M-150 for foundation,beam,col | 1 | M3 | Providing, mixing, laying cast in situ RCC concrete, mechanically mixed, vibrated and finished in line and level curing etc. with mix 20mm size graded aggregate in foundation, equipment foundation, plinth beams, beams, columns, RCC walls, vertical / circular lintel beams, beams excluding sunshades, roof slabs, staircase, waist slamb / steps, louves etc. Rate applicable for depth below GL not exceeding 3m & height not exceeding 1st floor .Shuttering/ centering and reinforcement steel shall be paid seperately. |
| 20 | 4000005 | P&L RCC M-200 for foundation,beam,col | 1 | M3 | Providing, mixing, laying cast in situ RCC concrete, mechanically mixed, vibrated and finished in line and level curing etc. with mix 20mm size graded aggregate in foundation, equipment foundation, plinth beams, beams, columns, RCC walls, vertical / circular lintel beams, beams excluding sunshades, roof slabs, staircase, waist slamb / steps, louves etc. Rates applicable for depth below GL not exceeding 3m & height not exceeding 1st floor . First floor height may be considered as 6 M. Above 6 m, for every 5m additional height, payments will be done separately for additional lifts. Shuttering/ centering and reinforcement steel shall be paid seperately. |
| 21 | 4000006 | P&L RCC M-250 for foundation,beam,col | 1 | M3 | Providing, mixing, laying cast in situ RCC concrete, mechanically mixed, vibrated and finished in line and level curing etc. with mix 20mm size graded aggregate in foundation, equipment foundation, plinth beams, beams, columns, RCC walls, vertical / circular lintel beams, beams excluding sunshades, roof slabs, staircase, waist slamb / steps, louves etc. Rate applicable for depth below GL not exceeding 3m & height not exceeding 1st floor. Shuttering/ centering and reinforcement steel shall be paid seperately. |
| 22 | 4000007 | P&L RCC in foundation etc for addl floor | 1 | M3 | Providing, mixing, laying cast in situ RCC concrete, mechanically mixed, vibrated and finished in line and level curing etc. with mix 20mm size graded aggregate in foundation, equipment foundation, plinth beams, beams, columns, RCC walls, vertical / circular lintel beams, beams excluding sunshades, roof slabs, staircase, waist slamb / steps, louves etc. Rate applicable for depth below GL not exceeding 3m & height not exceeding 1st floor. Shuttering/ centering and reinforcement steel shall be paid seperately. (1st floor for every additional floor.) This item is to be executed over and above Item no. 4000005 and 4000006, i.e for every additional ift of 5 m, as floor height varies for different buildings.) This item is excluding shuttering. |
| 23 | 4000008 | P&L RCC M-150 for roof slab,canopy etc | 1 | M3 | Providing, mixing, laying RCC concrete mechanically mixed, vibrated and finished in line and level, curing etc. for RCC roof slabs, canopy, sunshades, louvers, fins, staircases, for all thickness upto first floor including shuttering. |
| 24 | 4000009 | P&L RCC M-200 for roof slab,canopy etc | 1 | M3 | Providing, mixing, laying RCC concrete mechanically mixed, vibrated and finished in line and level, curing etc. for RCC roof slabs, canopy, sunshades, louvers, fins, staircases, for all thickness upto first floor including shuttering. |
| 25 | 4000010 | P&L RCC in roofslab etc for addl floors | 1 | M3 | Providing, mixing, laying RCC concrete mechanically mixed, vibrated and finished in line and level, curing etc. for RCC roof slabs, canopy, sunshades, louvers, fins, staircases, for all thickness upto first floor. ( for additional floors). First floor height may be considered as 6 m. This item is applicable over and above Item no.4000009, for additional floors) |
| 26 | 4000011 | Providing precast slabs (RCC) M - 150 | 1 | M3 | Providing precast slabs (RCC) M - 150 as per detailed drawing & the design including shuttering,mechanically mixed concrete,curing etc. including hoisting, fixing, complete of any thickness 50mm to 200mm (reinforcement shall be paid separately). |
| 27 | 4000012 | Prov. M-150 RCC concrete for RCC road | 1 | M3 | Providing M-150 RCC concrete for RCC rod, paving as per drawing and details in panels including form work, curing etc. complete. Concrete shall be mechanically mixed and vibrated and finished in line & level as per specification and directed by Engineer-Incharge. Reinforcement shall be paid seperately. |
| 28 | 4000234 | P/L PCC M10 READY MIX CONCRETE | 1 | M3 | Contractor's Scope : 1. Providing, mixing & laying plain concrete of any thickness below footing, plinth beams, drains, flooring, paving, pedestrals, etc. 2. Using graded stone aggregate including form work consolidation ,finishing etc. complete and curing. (Rate applicable for depth below GL, not exceeding 3 mtr and height not exceeding 1st floor) 3. Centering complete reinforcement steel shall be paid seperately. DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 29 | 4001122 | P/L RCC M20 READY MIX CONCRETE | 1 | M3 | Contractor's Scope :1) PROV.& LAYING M20 READY MIX CONCRETE INCLUDING COMPACTING CURING ETC COMPLETED 2) The tools and tackles along with work force will be completely in vendor's scope.3) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises.2) Issuing the permit after complete preparation by Contractor. Providing, mixing, placing in position Reinforced Cement Concrete of grade M20 by RMC using 20 mm down coarse aggregate as per IS:456 in foundations,beams, plinth beams, columns, portals, slabs, walls, curved walls, retaining walls, pedestals etc, including compaction, vibration, curing and finishing all as per Section 2 but excluding form work and reinforcement. All from foundation level to top of plinth level and upto max height of 500mm above ground level for pedestal. This item is applicable below Ground level as well as upto First floor slab i.e upto 6 m Level.) |
| 30 | 4000712 | P/L RCC M25 READY MIX CONCRETE | 1 | M3 | Contractor's Scope :1) PROV.& LAYING M25 READY MIX CONCRETE INCLUDING COMPACTING CURING ETC COMPLETED 2) The tools and tackles along with work force will be completely in vendor's scope.3) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises.2) Issuing the permit after complete preparation by Contractor. Providing, mixing, placing in position Reinforced Cement Concrete of grade M25 by RMC using 20 mm down coarse aggregate as per IS:456 in foundations,beams, plinth beams, columns, portals, slabs, walls, curved walls, retaining walls, pedestals etc, including compaction, vibration, curing and finishing all as per Section 2 but excluding form work and reinforcement. All from foundation level to top of plinth level and upto max height of 500mm above ground level for pedestal. This item is applicable below Ground level as well as upto First floor slab i.e upto 6 m Level.) |
| 31 | 4000247 | Prov. & Lay.RMC (Batching plant), M30 | 1 | M3 | Contractor's Scope : 1) Providing and laying M-30 grade RCC of trap metal in position inclusive of all material 2) Finishing and compacting by vibrator. 3) Curing of concrete by hessian cloth / ponding. 4) 20mm size graded aggregate in foundation, equipment foundation, plinth beams, beams, columns, RCC walls, vertical / circular lintel, beams, beams excluding sunshades, roof slabs, staircase, waist slamb / steps, louves etc. 5) Rate applicable for depth below GL not exceeding 3m height not exceeding 1st floor. Shuttering/ Centering and reinforcement steel shall be paid seperately. DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 32 | 4000541 | P/A site mixed polymer modified c.m | 1 | M2 | Contractor's Scope : 1) providing and applying polymer modified cement mortar in layer 2) Each layer not exceeding 20 mm thick up to 40 mm thick including toweling with wooden tools etc as specified applied while bond coat is still track 3) Item is measured on the basis of consumption of prepared mortar DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 33 | 4000014 | Leaving pocket upto depth 300mm | 1 | EA | Leaving pocket not exceeding 0.1 m2 in concrete structures inclusive of fixing, shuttering and removal, in proper location, size and level while concrete and grouting the same after fixing the bolts etc. complete as specified and directed. |
| 34 | 4000015 | Leaving pocket depth 300-800mm | 1 | EA | Leaving pocket not exceeding 0.1 m2 in concrete structures inclusive of fixing, shuttering and removal, in proper location, size and level while concrete and grouting the same after fixing the bolts etc. complete as specified and directed. |
| 35 | 4000616 | P&L RCC M30 UPTO FGL using boom placer (RMC) | 1 | M3 | Scope of work: Providing and laying Reinforced cement concrete Design mix M-30 Grade as per IS 456 with 20 mm and downsize aggregate in all types of structures such as foundations,beams, columns etc in any pattern&shapes including vibrating, tamping, including placing of concrete in position by using concrete pump, boom placer etc and curing,complete in any shape as per the drawing and specification; but, excluding the cost of Reinforcement & shuttering. All tools / Materials/Machinaries is in contractor scope.Electrical supply given by Client at one point. |
| 36 | 4000016 | 25mm grouting with OP cement | 1 | M2 | 25mm grouting below base plates and frames with cement mortar 1:3 including necessary form work compacting, curing etc. complete as specified and directed. |
| 37 | 4000018 | 25mm grouting using GP2 or equivalent | 1 | M2 | 25mm grouting below base plates and frames with cement mortar 1:3 including necessary form work compacting, curing etc. complete as specified and directed. |
| 38 | 4000019 | Prov & mixng water proofing compound | 1 | KG | Providing and mixing Cico/Inperno/other approved quality water proofing compound in concrete and in plaster at 3 1/4 by weight of cement or as per manufacturers instruction for work wherever specified. |
| 39 | 4000023 | Pressure grouting | 1 | M2 | Pressure grouting : Water proofing of RCC structures like roof slabs, water tanks underground structures etc. by pressure grouting with non-shrink water proof grouting compound as per specification including fixing of nozzles, supply of all materials, labour complete in all respect and as per direction of the engineer. |
| 40 | 4000192 | Pro.fix precast M20 Gr.conc.cvr 75mm thk | 1 | M2 | Providing and fixing precast M20 grade concrete cover including concreting curing reinforcement with necessary provision for lifting formwork, transporting etc. complete as per specificaiton drawings and as directed by owner/consultant (reinforcement to be paid separately). |
| 41 | 4000547 | Prov. & Laying Non Shrink grout GP2 or e | 1 | M3 | Contractor's Scope : 1) Providing& Laying Non Shrinking Conbextra Grout GP2 of fosroc make under base Plate of foundation/pockets,etc. 2) The grout to be laid as per specifications in drawing & also manufactuer's specifications to be followed. DFPCL Scope : 1) Electric supply & Water will be provided free of cost for works within company premises. SAFETY PRECAUTIONS The contractor shall follow safety rules & regulations, safety procedures as per the safety standards and comply with the safety requirements. The contractor is required to deploy persons for specific jobs who are trained and skilled in particular trade and well familiar with hazards and safety precautions. The site staff and workers of the contractors are required to undergo safety orientation before they are assigned work at site. No person shall be allowed at work site without safety orientation. The contractor shall ensure that any time during the performance of the work his personnel are fit to execute the tasks assigned and are not under the influence of any alcoholic liquor, drug or other intoxicating substances. The contractor shall provide personal protective equipment as specified to it's staff and workmen such as, safety helmets, sWORKINGHOURS NorDFPCL working time shall be same as the general shift timing of the required resources and completion of the job including dismantling, etc. as per EIC instructions. |
| 42 | 4001132 | P/L Microconcrete for grouting and repai | 1 | M3 | PROV.& LAYING MICROCONCRET FOR FOUNDATION REPAISAND GROUTING. INCLUDING ALL OLD SURFACE CLEANING,HACKING,REMOVING LOOSE CONCRETE ETC. INCLUDING BONDING AGENT COMPACTION,CURING,FINISHING AND CUBE TEST IN LAB WITH REPORT SUBMISSION. WITH ALL MATERIAL,LABOUR,TOOLS TACKLES ETC. make-focroc,pedilite,sika,or approved brand |
| 43 | 4000196 | Prov. Filling asphalt in groove | 1 | RM | Providing and filling Asphalt (bitumen mix with sand) in groove including levelling etc. complete. |
| 44 | 4000482 | Pressure grouting by special grouting | 1 | M2 | Pressure grouting by special grouting material/ fosrock/bouchmine/BASF Contractor's Scope : 1. Pressure grouting/injection of low viscosity of approved quality like fosrock or equilant material 2. Construction Chemicals or equivalent for grouting into concrete beams walls, cols, floors etc. as per requirement which includes providing nozzels of pvc into the concrete and pressure grouting with pressure grout pumps. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL |
| 45 | 4000633 | P/F Nozzle grouting with cement | 1 | EA | Contractor's Scope:Nozzle Fixing,Drilling 12-16 mm dia holes at honeycomb portions/voids/construction joints cracks etc. spaced at specified spacing and placing 8-12 mm dia. nozzle length 75 mm suitable for grouting into a 150 mm deep hole using polymer mortar incl cutting of nozzle after the grouting and finishing with polymer mortar etc. complete DFPCL Scope : Electricity,water will be provided free of Cost for work inside DFPCL,Issuing the permit |
| 46 | 4000020 | Prov. & fixng 150 mm PVC water stopper | 1 | RM | Providing and fixing in position 150 mm wide caliplast 102 or approved quality PVC water stops for const. |
| (C)Reinforcement Steel |  |  |  |  |  |
| 47 | 4000289 | Fab. & Fix. reinforce deformed bars | 1 | MT | Fabrication and fixing of reinforcing bars of any dia from 6mm to 32mm including cutting, bending and placing in position and tying with binding wires of 18 SQG as per detail design and drawing specifications for various diameters of bar for all RCC works at any level including de-rusting and strengthening bars supply. The cover to the reinforcement must cover the reinforcement, must be strictly adhered to by means of cement blocks, spacers, or chairs etc. will be measured for payment. Steel shall be issued from DFPCL Stores. Necessary carting etc. by the contractor. Contractor to submit reconciliation of issue material & balance steel to be returned to stores. (Free issue material : Reinforcement Steel ) |
| (D) Masonry & Plaster works |  |  |  |  |  |
| 48 | 4000024 | Brick masonry in cement mortar (1:5) | 1 | M3 | Providing first class burnt brick masonry in foundation & upto first f level in storm water drains, trenches etc. and plinth including dewatering, racking out joints on exposed faces and watering etc. & inclusive of scaffolidng complete as specified & directed in cement |
| 49 | 4000026 | Prov. 115mm thk 1st class burnt bricks | 1 | M2 | Providing 115 mm thick first class burnt bricks or cement masonry with conventional IS standard bricks in cement mortar 1:4 including scaffolding, racking out joints and watering etc. complete as specified & directed including providing of RCC runner as specified in technical specifications upto first floor. |
| 50 | 4000027 | Prov.115mm 1st class burnt brick adl.Fl. | 1 | M2 | Providing 115 mm thick first class burnt bricks or cement masonry with conventional IS standard bricks in cement mortar 1:4 including scaffolding, racking out joints and watering etc. complete as specified & directed including providing of RCC runner as specified in technical specifications upto first floor. (This item is over and above Item No. 4000026, for additional floors above Ist floor, which should be considered as 6 m) |
| 51 | 4000251 | Extra over bk msnry.for addl.floor5-10m | 1 | M3 | Contractor's Scope : Providing first class burnt brick masonry in foundation & upto first floor level in storm water drains, trenches etc. and plinth including dewatering, racking out joints on exposed faces and watering etc. & inclusive of scaffolidng complete as specified & directed in cement Rates. This item should be considered as extra over item for Prov. & Laying Brick masonry upto Ist floor) applicable for additional floor vertical level 5 m to 10 M level DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 52 | 4000252 | Extra over bk msnry.for addl.floor10-15m | 1 | M3 | Contractor's Scope : Providing first class burnt brick masonry in foundation & upto first f level in storm water drains, trenches etc. and plinth including dewatering, racking out joints on exposed faces and watering etc. & inclusive of scaffolidng complete as specified & directed in cement This item should be considered as extra over item for Prov. & Laying Brick masonry upto Ist floor) applicable for additional floor vertical level 10 m to 15 M level DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 53 | 4000253 | Extra over bk msnry.for addl.floor15-20m | 1 | M3 | Contractor's Scope : Providing first class burnt brick masonry in foundation & upto first f level in storm water drains, trenches etc. and plinth including dewatering, racking out joints on exposed faces and watering etc. & inclusive of scaffolidng complete as specified & directed in cement This item should be considered as extra over item for Prov. & Laying Brick masonry upto Ist floor) applicable for additional floor vertical level 15 m to 20 M level DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 54 | 4000254 | Extra over bk msnry.for addl.floor20-25m | 1 | M3 | Contractor's Scope : Providing first class burnt brick masonry in foundation & upto first f level in storm water drains, trenches etc. and plinth including dewatering, racking out joints on exposed faces and watering etc. & inclusive of scaffolidng complete as specified & directed in cement This item should be considered as extra over item for Prov. & Laying Brick masonry upto Ist floor) applicable for additional floor vertical level 20 m to 250 M level DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 55 | 4000033 | Providing 100mm round vatta in cement | 1 | RM | Providing 100mm round vatta in cement mortar 1:4 with smooth cement finish complete as directed. (area covered by vatta to be deducted from plaster). |
| 56 | 4000028 | Providing random rubble masonry | 1 | M3 | Providing random rubble (best locally available stone) in cement mortar 1:5 in foundation, compound wall, culvert, barriers and plinth including de-watering and racking out joints on exposed faces and providing headers @ one in every 2.5 m2 of masonry with corner stones as required with masonry brought to courses at every 1.5 mtr height, curing etc. complete as directed. |
| 57 | 4000029 | Making holes in 230mm brick wall | 1 | EA | Making holes of reqd size in 230mm brick wall for exhaust fan and making good the same in CM 1:4. |
| 58 | 4000290 | Providing cement plaster in 15mm thk | 1 | M2 | Providing cement plaster in a single coat in cement mortar 1:4 with neeru finish to concrete bricks or stone masonry surfaces in all position and upto Ist floor level, including scaffolding curing, chicken wire mesh etc as specified and directed at any level. (This item is to be considered as upto First floor level i.e 6 m Level) |
| 59 | 4000291 | 12mm thk ordinary cement plaster 1 coat | 1 | M2 | Providing cement plaster in a single coat in cement mortar 1:4 with neeru finish to concrete bricks or stone masonry surfaces in all position and upto Ist floor level including scaffolding curing, chicken wire mesh as specified and directed. |
| 60 | 4000292 | Cement plaster in 15mm thk addl. Fr. | 1 | M2 | Providing cement plaster in a single coat in cement mortar 1:4 with neeru finish to concrete bricks or stone masonry surfaces in all position and in all lifts including scaffolding and curing as specified and directed at any level. (for every additional floor) This item is to be considered over and above Item No. 4000290, for every additional floors above Ist floor i.e above 6 m Level) |
| 61 | 4000293 | Cement plaster in 12mm thk addl. Fr. | 1 | M2 | Providing cement plaster in a single coat in cement mortar 1:4 with neeru finish to concrete bricks or stone masonry surfaces in all position and in all lifts including scaffolding and curing as specified and directed at any level. (for every additional floor)This item is to be considered over and above Item No. 4000291, for every additional floors above Ist floor i.e above 6 m Level) |
| 62 | 4000295 | Prov. sand faced plaster in 20mm thk | 1 | M2 | Providing sand faced plaster in 2 coats (cement mortar for base coat 1:4 and finish coat 1:3) including scaffolding, keeping the surface of the base coat rough to receive the sand faced treatment, finishing the surface by exposing to sand grains by sponging and curing it including grooves, drip moulding, chicken wire mesh etc . complete as specified and directed. This item should be considered as upto Ist floor slab level, i.e upto 6 m level.) |
| 63 | 4000296 | Prov. sand faced plaster for addl. Fl. | 1 | M2 | Providing sand faced plaster in 2 coats (cement mortar for base coat 1:4 and finish coat 1:3) including scaffolding, keeping the surface of the base coat rough to receive the sand faced treatment, finishing the surface by exposing to sand grains by sponging and curing it including grooves, drip moulding etc. complete as specified and directed. (For additional Floor) This item is to be executed extra over item no.4000295 for every additional floors from Ist floor slab which is at 6m) |
| 64 | 4000294 | Cement plaster 15mm with smooth finish in single coat | 1 | M2 | Providing cement plaster in a single coat in cement mortar 1:4 with neeru finish to concrete bricks or stone masonry surfaces in all position and in all lifts including scaffolding and curing as specified and directed at any level. (but for rendering smooth finish, neat cement/cement punning finish.) |
| 65 | 4000414 | 20mm thk smoothNeeru cement plaster | 1 | M2 | Providing and laying 20mm thick smooth cement plaster in C.M. 1:4 to all heights, including scaffolding , racking out of joints with neeru finish on all RCC or masonry works, including moulding and providing grooves in plaster 12 mm wide and 12 mm deep where 2 different materials are in line (e.g. RCC and brickwork, etc) including curing etc. complete as per specificaitons, drawings & as directed by owner/ consultant. |
| 66 | 4000415 | 20mm thk smooth finish plaster | 1 | M2 | Providing and laying 20mm thick smooth cement plaster in C.M. 1:4 to all heights, including scaffolding , racking out of joints with neeru finish on all RCC or masonry works, including moulding and providing grooves in plaster 12 mm wide and 12 mm deep where 2 different materials are in line (e.g. RCC and brickwork, etc) including curing etc. complete as per specificaitons, drawings & as directed by owner/ consultant. But 20mm thk smooth finish plastering work complete. |
| 67 | 4000297 | Cement pointing flush on brick masonry | 1 | M2 | Cement pointing flush, raised or sunk in CM 1:3 watering, scaffolding all complete as per specification and instruction of Engineer in Charge |
| 68 | 4000298 | Cement pointing flush on rubble masonry | 1 | M2 | Cement pointing flush, raised or sunk in CM 1:3 watering, scaffolding all complete as per specification and instruction of Engineer in Charge |
| 69 | 4000299 | Removal of damage plastering of any thk. | 1 | M2 | Removal of damage plastering of any thickness in proper shape upto surface of the brick work / concrete and cleaning thoroughly the existing brick / concrete surface with wire brush etc. including scaffolding, removal of debris and disposal outside the plant premises. |
| 70 | 4000030 | Prov. & laying Indian Patent Stone 40mm | 1 | M2 | Providing and laying Indian Patent Stone in 1:2:3 cement concrete using 12 mm and below grit and sand mixed aggregate to the average thickness specified and laid in alternate panels of 6 Sq.M. The top to be trowelled smooth and cured for a period of atleast 7 days and completed as per specifications at all levels and directions of our Engineer. |
| 71 | 4000420 | Pro.const.sanitary900mmx600mm brck msnry | 1 | EA | Providing and constructing brick masonry inspection chamber with 900mm x600mm internal dimensions depth not exceeding 1:2m including excavation, re-filling and the following: 1:3:6 PCC, 150 thick and 75mm offset in foundation. 230mm thick masonry in cement mortar 1:6 M15 PCC benching and channeling including formation of channels slopes and finishing with 20 mm thk cment plaster in 1:4 cement mortar finished smooth with rendering coat of neat cement water proofing compound on inside 75mm thick 1000mm x 700mm RCC precast cover slab (M20) including reinforcement 2 nos. lifting holes/hols all joints well sealed etc. complete as per specifications, drawings and as directed by owner/consultant. |
| 72 | 4000421 | Const.brick msnry manhole dpth upto 2.0m | 1 | EA | Construction brick masonry manholes 1200mm x 900mm internal dimentions including excavation, 150mm thick 1:3:6 PCC in formation with 150mm offsets, 230mm thick brick masonry upto 1.2m depth from top & brick masonry 350mm thick for masnory below 1.2 m depth below with cement plaster finished smooth with neat cement 1:2:4 PCC in benching and channeling of surface finished smooth and channel formed to size and levels, including providing and fixing M.S. rung patterns one as per reinforcement 2 nos. Lifting holes/hoks all joints well selaed and curb angle at manhole cover opening to IS 5455 & covered with precast cover slab of 75mm thick x 1000x1300 mm long having 2 lifting hooks. for depth upto 2.0m. |
| ( E) Inserts / Bolts / C.I. Rain water pipes |  |  |  |  |  |
| 73 | 4000034 | Fixing insert plates, bolts, pipes | 1 | KG | Fixing insert plates, bolts, pipes etc. in position as required and grouting the same in the conrete as directed. |
| 74 | 4000439 | Sply fab,fix M.S.bolts 10mm to 24mm dia | 1 | KG | Supply, fabrication, casting, installing and fixing in position M.S. holding down threaded bolts nuts washers, anchor plates pipes sleeves etc. for equipment tanks, vessels, structural steel columns etc. including supplying, fabricating and installing necessary templates, providing auxillary dummy structures, if any, necessary tying and welding to reinforcement adjustment of shuttering greasing exposed metal surfaces and covering with juts cloth etc. complete and as per drawings and specifications and as directed by the owner/consultant. Note:- fo templetes and auxilary dummy supports reinforcement rods/structural steel will be supplied free of cost of contractor & will be paid for under steel structurals. Bolts from 10mm and upto 24mm dia. |
| (F)Tiling for flooring & Dado |  |  |  |  |  |
| 75 | 4000038 | Prov.& fix. spartek or eq.Ceramic tiles | 1 | M2 | Providing and fixing spartek or equivalent ceramic floor and dado tiles, bedding materials in CM 1:4 as per specifications including filling the joints with joint filler of matching colour (contractor shall also quote basic price of tiles and make). |
| 76 | 4000040 | P & L 30mm thk kota stone for flooring. | 1 | M2 | Providing and laying polished 30mm thk kota stone for flooring on 1:2 line mortar including cement float, filling the joints with cement slurry, curing polishing, rubbing, cleaning etc. complete. |
| 77 | 4000041 | P & L 30mm thk kota stone for skirting. | 1 | RM | Providing and laying polished 30mm thk kota stone for 150mm high skirting on 1:4 cement mortar backing with cement float, filling joints with cement slurry, curing, polishing, rubbing and cleaning etc. complete. |
| 78 | 4000042 | Polishing existing kota stone fl. | 1 | M2 | Polishing, rubbing and cleaning the existing kota stone flooring with necessary grinding machine, tools etc complete. |
| 79 | 4000043 | Polishing, rubbing and cleaning skirtin | 1 | RM | Polishing, rubbing and cleaning the existing 150mm high skirting with necessary tools etc. complete. |
| 80 | 4000044 | Providng and fixing polished kadappa | 1 | M2 | Providing and fixing both sides polished black kadappa 25, 240mm thk in line and level in cement mortar as per design and specification and as directed. |
| 81 | 4000045 | Providing and spreading gravel. | 1 | M2 | Providing and spreading gravel / metal over areas including dressing in line and level 75-100mm thick as directed. |
| 82 | 4000046 | Providing Kaddapa partition for urinal | 1 | M2 | Providing partition for urinal of 30mm thick machine cut and machine polished on both sides and edges kadappa stone of approved shape, quality including cutting holes of reqd. sizes in the appropriate places to receive pipes etc. fixing in cement mortar 1:3 curing and cleaning complete. |
| 83 | 4000047 | Providing Marble partition for urinal | 1 | M2 | Providing partition for urinal of 20mm thick machine cut & machine polished on both sides and edges marble slab of approved shape, quality including cutting holes of reqd. sizes in the appropriate places to receive pipes etc. fixing in cement mortar 1:3 curing and cleaning complete. |
| 84 | 4000714 | P/f granite for partition,sill,platform | 1 | M2 | Providing and fixing granite for partitions, sills, platforms etc, complete with all respect including proper line and level, moulding etc complete.(Black Granite of basic rate Rs 2200/Sqm) |
| 85 | 4000233 | P/F VETRIFIED FLOOR AND WALL TILE | 1 | M2 | Contractor's Scope : 1. Prov/fixing approved quality ,pattern,coloued verified floor,wall tiles in cm 1:3 including cutting,filling joints with cement or filler material,keping spacer with maintaining line,,levell,pattern etc. 2. Including all material,tools,tackles. 3.Tile make-Kajarali / Johnson. DFPCL Scope : 1. Electricity, water will be provided free of Cost for work inside DFPCL premises. 2. CEMENT FREE OF COST. |
| 86 | 4000048 | Providing water proofing to terrace slab | 1 | M2 | Providing water proofing to terrace slab with averge 100mm thick concrete of broken bricks bats and cement mortar 1:5 in the proportion of 2 parts of brick bat and 1 part of mortar, laid to prepare slope of mortar, well rammed, watered and consolidated with vatta 15 cm at junctions of walls and IPS flooring 1:2:3 (12.5 mm chips) 40mm thk with an admixture of approved water proofing compound CICO / Inperno or of any approved quality as per manufacturer's specification laid after grouting the surface of brick bat coba with neat cement slurry in alternate suitable squares to reqd slope as direct including filling in joints with bitumen & clearing the slab top of all dust and loose material tamping, finishing and curing complete as directed and specified (horizontal measurement clear between walls and will be paid for) |
| 87 | 4000037 | P&F white gl tiles in floors and dado | 1 | M2 | Providing and fixing in floors and dado first quality 6mm thk white glazed tiles of approved make of H.R Johnson or equivalent laid over 20mm thk bed of 1:4 cement mortar including neat cement float filled joints with neat cement slurry & cleaning all complete. Size of the tile shall be as per reqmt or as directed by the engineer incharge (contractor shall also quote basic price of the tiles and make). |
| (G) Anchor Fasteners |  |  |  |  |  |
| 88 | 4000364 | Supply & fixing anchor fasteners 12mm d | 1 | EA | Anchor Fasteners : supplying and fixing anchor fasteners to the RCC columns, beams, slabs a masonary walls at any elevation including necessary scaffolding and drilling tools etc. |
| 89 | 4000365 | Supply & fixing anchor fasteners 16mm d | 1 | EA | Anchor Fasteners : supplying and fixing anchor fasteners to the RCC columns, beams, slabs a masonary walls at any elevation including necessary scaffolding and drilling tools etc. |
| 90 | 4000366 | Supply & fixing anchor fasteners 20mm d | 1 | EA | Anchor Fasteners : supplying and fixing anchor fasteners to the RCC columns, beams, slabs a masonary walls at any elevation including necessary scaffolding and drilling tools etc. |
| 91 | 4000367 | Supply & fixing anchor fasteners 25mm d | 1 | EA | Anchor Fasteners : supplying and fixing anchor fasteners to the RCC columns, beams, slabs a masonary walls at any elevation including necessary scaffolding and drilling tools etc. |
| (H) Hume Pipes |  |  |  |  |  |
| 92 | 4000079 | P&L R.C hume pipe NP2-150mm d | 1 | RM | Providing and laying R.C hume pipe HP 2 class with collar, jointing, filling with cement mortar 1:1 complete as directed. |
| 93 | 4000080 | P&L R.C hume pipe NP2-250mm d | 1 | RM | Providing and laying R.C hume pipe HP 2 class with collar, jointing, filling with cement mortar 1:1 complete as directed. |
| 94 | 4000081 | P&L R.C hume pipe NP2-350mm d | 1 | RM | Providing and laying R.C hume pipe HP 2 class with collar, jointing, filling with cement mortar 1:1 complete as directed. |
| 95 | 4000082 | P&L R.C hume pipe NP2-450mm d | 1 | RM | Providing and laying R.C hume pipe HP 2 class with collar, jointing, filling with cement mortar 1:1 complete as directed. |
| 96 | 4000083 | P&L R.C hume pipe NP2-600mm d | 1 | RM | Providing and laying R.C hume pipe HP 2 class with collar, jointing, filling with cement mortar 1:1 complete as directed. |
| (I)Manpower Supply |  |  |  |  |  |
| 97 | 4000104 | Mason | 1 | DAY | Supply of Mason |
| 98 | 4000105 | Carpenter (furniture) | 1 | DAY | Supply of Carpenter (furniture) |
| 99 | 4000106 | Carpenter (shuttering) | 1 | DAY | Supply of Carpenter (shuttering) |
| 100 | 4000110 | DFPCLe labourer | 1 | DAY | Supply of DFPCLe labourer |
| 101 | 4000255 | Supply of sewage cleaner (bhangi) | 1 | DAY | Contractor's Scope : 1) Supply of sewage cleaner for chember cleaning 2) All safety PPE 'S supply by contractor DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 102 | 4000109 | Helpers | 1 | DAY | Supply of Helpers for Mason, Carpentor (furniture), Carpentor (Shuttering), Plumber, Painter |
| 103 | 4000107 | Plumber | 1 | DAY | Supply of Plumber |
| (J) Supply of tractor / equipment |  |  |  |  |  |
| 104 | 4000536 | Supply of tractor | 1 | DAY | Contractor's Scope : 1. HIRING OFJ TRACTOR VENDOR TO PROVIDE TRACTOR WITH A QUALIFIED OPERATOR WITH ALL STATUTORY DOCUMENTS 2.VENDOR SHOULD PROVIDE ALONG WITH PUC DRIVER LICENSE / CERTIFICATE. DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 105 | 4000535 | Supply OF JCB | 1 | H | Contractor's Scope : 1. HIRING OFJ JCB. VEDOR TO PROVIDE JCB MECHINE WITH A QUALIFIED OPERATOR WITH ALL STATUTORY DOCUMENTS 2. VEDOR ALSO ALONG WITH PUC DRIVER LICENSE / CERTIFICATE DFPCL Scope : 1) Electricity, water, Safety permit will be provided free of Cost for work inside DFPCL premises. |
| 106 | 4000665 | Supply of Hydra | 1 | HR | Supply of Hydra including all tools and tackles |
| (K) Shuttering works |  |  |  |  |  |
| 107 | 4000710 | Prov. & shuttering below G.L. | 1 | M2 | Contractor's Scope : 1) PROVIDING AND FIXING OF SHUTTERING OF M.S.PLATE / PLYWOOD COMLPETE WITH ALL RESPECT. 2) SCAFFOLDINGS, SUPPORTS, WALKWAYS ETC UPTO THE SATISFACTION OF THE ENGINEER IN CHARGE. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. Item is for Providing Shuttering below G.Level) |
| 108 | 4000711 | Prov. & shuttering above G.L. | 1 | M2 | Contractor's Scope : 1) PROVIDING AND FIXING OF SHUTTERING OF M.S.PLATE / PLYWOOD COMLPETE WITH ALL RESPECT. 2) SCAFFOLDINGS, SUPPORTS, WALKWAYS ETC UPTO THE SATISFACTION OF THE ENGINEER IN CHARGE. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. Item is for Providing Shuttering above G.l. at all levels.) |
| 109 | 4000195 | Prov.Mix shuttering by using ply wood | 1 | M2 | Providing and fixing shuttering by using ply wood/ steel plate including proper support etc. complete. |
| (L)Supply of De-watering Pumps |  |  |  |  |  |
| 110 | 4000492 | P/S of dewatering 5 HP diesel pump | 1 | DAY | VENDOR SCOPE- 1)PROVIDING 5 HP TO 10 HP DIESEL OPERATED PUMPS ON 24 HOURS " AS WHEN REQUIRED" OPERATION BASIS. 2)ALL CONSULMABLES FUEL OIL AND NECESSARY MAINTENANCE INCLUDING OPERATION AS PER THE INSTRUCTIONS OF OUR JOB CO- ORDINATOR WITH SUCTION HOSE OF 5 METERS LONG AND DELIVERY HOSE OF 15 METERS LONG 3) ALL TOOLS, TACKLES, EQUIPMENTS, CONSUMABLES ETC. 4COMPETENT MANPOWER. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 111 | 4000493 | Prov. & supply pump operator | 1 | DAY | Contractor's Scope : 1) SUPPLIED OF SKIILED PUMP OPRATOR FOR DEWATERING 2) REQUIRED TOOLS AND TRACKLES IN CONTRACTOR SCOPE DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 112 | 4000494 | Dewatering using 3 HP ELE. Pumps | 1 | DAY | Contractor's Scope : 1)PROVIDING 5 HP ELE. OPERATED PUMPS ON 24 HOURS " AS & WHEN REQUIRED" OPERATION BASIS. 2)ALL CONSULMABLES NECESSARY MAINTENANCE INCLUDING OPERATION AS PER THE INSTRUCTIONS OF OUR JOB CO- ORDINATOR WITH SUCTION HOSE OF 5 METERS LONG AND DELIVERY HOSE OF 15 METERS LONG 3) ALL TOOLS, TACKLES, EQUIPMENTS, CONSUMABLES ETC. 4COMPETENT MANPOWER. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| (M) Core Cutting |  |  |  |  |  |
| 113 | 4000517 | Providing core cutting 100 mm dia. | 1 | EA | Contractor's Scope : 1) PROVIDING AND DIMOND CORE CUTTING 100MM DIA X 200 MM DEPTH 2) DEPLOYED SKILL LABOUR FOR THIS JOB 3) REQUIRED TOOLS AND TRACKLES IN CONTRACTOR SCOPE DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 114 | 4000518 | Providing core cutting 150 mm dia. | 1 | EA | Contractor's Scope : 1) PROVIDING AND DIMOND CORE CUTTING 150MM DIA X 200 MM DEPTH 1) SUPPLIED OF SKIILED PUMP OPRATOR FOR DEWATERING 2) REQUIRED TOOLS AND TRACKLES IN CONTRACTOR SCOPE DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 115 | 4000519 | Providing core cutting 200 mm dia. | 1 | EA | Contractor's Scope : 1) PROVIDING AND DIMOND CORE CUTTING 200 MM DIA X 400 MM DEPTH 1) SUPPLIED OF SKIILED PUMP OPRATOR FOR DEWATERING 2) REQUIRED TOOLS AND TRACKLES IN CONTRACTOR SCOPE DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| (N) Door & Windows |  |  |  |  |  |
| 116 | 4000314 | P&F MS doors single and double leaf | 1 | M2 | Providing and fixing MS doors single and double leaf of approved make with all necessary fixtures and fastenings including MS 50x50x6 angle frame and 40x40x6 shutter frame with 2mm thick MS plate fixed oneside including all fittings and fixtures as specified & directed, painting with 2 coats of approved paint over a coat of primer etc. complete as specified and directed. |
| 117 | 4000344 | Providing and fixing aluminium door | 1 | M2 | Providing and fixing aluminium door of approved manufacturers using 5.5mm thick sheet glass and including all accessories with lock, handrail etc. complete. Minimum thickness of aluminium members shall not be less than 2mm and using 100x50 mm aluminium section for outer frame. All aluminium sections shall be anodised. |
| 118 | 4000595 | Rem/fix & Repairing Al Door & Window | 1 | M2 | Scope of work: Repairing of existing Alluminium doors / windows including removal and refixing of doors / windows. |
| 119 | 4000626 | P&F-HYDRUALIC DOOR CLOSER | 1 | EA | Scope of work: P&F in position heavy duty hydraulic door closer Everite,Enox,Godrej or Equilent make gold,bronze finish with adjusting spanner and screws incl all fixtures and all tools and tackles in wood or aluminium door etc comp as Directed by EIC. (Basic price of Rs 1200) |
| 120 | 4000634 | P&F ALUM DOOR HANDLE | 1 | EA | Scope of work: Providing & fixing accessories for aluminium doors and windows such as handles, tower bolts etc. of aluminium, iron oxidized ,brass make for wooden/steel/Aluminium doors (Standard make of Rs 1000 / No.) |
| 121 | 4000300 | Prov.& fixing teak wood frames | 1 | M2 | Providing & fixing best quality indian teak wood frames 125 x 65 mm size including 6 Nos. hold fast 25x3x200mm long, erection of frame, painting of back of frames with 2 coats of wood preservative paint, as per specifications including 2 coats of approved synthetic enamel paint over a coat of primer, complete as per specification, details as directed including plaste groove if required. |
| 122 | 4000301 | Teak wood panelled shutters | 1 | M2 | Indian teak wood panelled shutters as per drawing and detailed including anodised brass fittings and fixtures of approved quality as required and directed including two coats of synthetic enamel paint of approved paint and shade over a coat of wood primer. |
| 123 | 4000302 | T/W panelled shutters with sheet glass | 1 | M2 | Indian teak wood panelled shutters as per drawing and detailed including anodised brass fittings & fixtures of approved quality as required & directed including two coats of synthetic enamel paint of approved paint and shade over a coat of wood primer, but partly glaced and partly panelled shutter including 4mm sheet glass and teak wood beading etc. |
| 124 | 4000303 | Solid core flush door shutter 32mm thk | 1 | M2 | Standard proprietory commercial ply solid core flush door shutters of approved quality (commercial finish on both faces) including teak wood lipping all around and inclusive of all anodised brass fittings and fixtures of approved quality and as directed including 2 coats of approved synthetic enamel paint of approved shade over a coat of primer. |
| 125 | 4000304 | Solid core flush door shutter 38mm thk | 1 | M2 | Standard proprietory commercial ply solid core flush door shutters of approved quality (commercial finish on both faces) including teak wood lipping all around and inclusive of all anodised brass fittings and fixtures of approved quality and as directed including 2 coats of approved synthetic enamel paint of approved shade over a coat of primer. |
| 126 | 4000305 | Prov. & fixing panelled shutters 37 mm | 1 | M2 | Providing & fixing panelled shutters 37mm thk all as shown in drawing including all heavy brass oxidised fittings as per schedule and 3 coats of enamel paint over a coat of primer of approved brand and shade as directed. Styles - 125mm x 37 mm side rail, 200mm x 37 mm bottom rail, 200mm x 37 mm middle lock rail, 100mm x 37 mm top rail sqn. |
| 127 | 4000306 | Fixing of Al. sheet in door shutters | 1 | M2 | Fixing in door shutters 32 G thk aluminium sheet upto lock rail. |
| 128 | 4000316 | Taking down Door/ Window/ Ventilator | 1 | M2 | Taking down carefully existing wooden/steel/aluminium door/window/ ventilator from walls without taking off joinery from frame and returning to Stores, as directed. |
| 129 | 4000322 | Replacing 4 mm thick plain glass | 1 | M2 | Replacing following broken glass for MS / aluminium door / windows / ventillator for all levels including necessary scaffolding, gasket, putty, quarter pins as directed. |
| 130 | 4000323 | Replacing 4 mm thick louvers | 1 | M2 | Replacing following broken glass for MS / aluminium door / windows / ventillator for all levels including necessary scaffolding, gasket, putty, quarter pins as directed. |
| 131 | 4000324 | Replacing 4 mm thick frosted glass | 1 | M2 | Replacing following broken glass for MS / aluminium door / windows / ventillator for all levels including necessary scaffolding, gasket, putty, quarter pins as directed. |
| 132 | 4000325 | Replacing 6 mm thick wired glass | 1 | M2 | Replacing following broken glass for MS / aluminium door / windows / ventillator for all levels including necessary scaffolding, gasket, putty, quarter pins as directed. |
| 133 | 4000326 | Replacing 5.5 thick plain glass | 1 | M2 | Replacing following broken glass for MS / aluminium door / windows / ventillator for all levels including necessary scaffolding, gasket, putty, quarter pins as directed. |
| 134 | 4000327 | Replacing 5.5 thick toughened glass | 1 | M2 | Replacing following broken glass for MS / aluminium door / windows / ventillator for all levels including necessary scaffolding, gasket, putty, quarter pins as directed. |
| 135 | 4000328 | P/F 3mm thick acrylic sheet | 1 | M2 | Providing & fixing 3mm thick acrylic sheet of approved quality |
| 136 | 4000329 | P/F 5mm thick acrylic sheet | 1 | M2 | Providing & fixing 5mm thick acrylic sheet of approved quality |
| 137 | 4000330 | Repl.of floor spring for Al.door | 1 | EA | Replacing of floor spring for aluminium door, Everite make heavy duty (right or left as required). |
| 138 | 4000331 | Repairing door spring & fixing the same. | 1 | EA | Repairing existing door spring and fixing the same. |
| 139 | 4000333 | P&F 2mm Al. sheet for door/window | 1 | M2 | Providing & fixing aluminium sheet 2mm thk. for doors / windows as directed. |
| 140 | 4000334 | P & F brass rubber door stoppers | 1 | EA | Providing & fixing brass rubber door stoppers of approved qualtiy as directed. |
| 141 | 4000346 | Prov. new Al.shutter 2mm thk Al.sheet | 1 | M2 | Providing new aluminium shutter with existing aluminium outer frame including all accesssories with lock etc. complete. |
| 142 | 4000347 | Providing openable type window | 1 | M2 | Providing openable type window as per design including 4mm thk sheet glass PVC water stopper, handles and locking arrangements etc. complete. Aluminium sections shall be anodised and shall be of approved manufacturers such as Aluminite / Ajit India etc. |
| 143 | 4000348 | Prov window shutter with exist. Al.Frame | 1 | M2 | Providing window shutter with existing aluminium outer frame including all accessories etc. complete. |
| 144 | 4000349 | Prov. sliding type aluminium window | 1 | M2 | Providing sliding type aluminium window as per design including 4mm thk sheet glass, PVC water stopper, handles and locking arrangements etc. complete. Aluminium sections shall be anodised and shall be of approved manufacturers such as Aluminite / Ajit India etc. |
| 145 | 4000355 | Dismtg old & fixing new Al.doors | 1 | M2 | Removing and dismantling of existing aluminium doors and fabricating with new 1 1/2" x 10g joining angles having 3/8" dia MS tie rods for top and bottom in which existing glass panels will be fixed with U rubber and refixing the doors with existing floor springs or supplied by company and refixing the pivots on top with 6mm aluminium plate including "T" PVC for vertical members and hard waves etc. complete as directed. |
| 146 | 4000356 | Rep of Al.triangular glazing clips | 1 | RM | Replacement of aluminium triangular glazing clips of existing doors. |
| 147 | 4000358 | Prov. & fixing accessories for Al.doors | 1 | EA | Providing & fixing accessories for aluminium doors and windows such as handles, tower bolts etc. |
| 148 | 4000144 | Repairing of Table | 1 | EA | Repairing of Table as per requirement as shown and confirmed by our Job Co-ordinator. |
| 149 | 4000145 | Removal of existing Table Top | 1 | SFT | Removal of existing table top by scrubbing with sand paper |
| 150 | 4000146 | Polishing Table with melamine finish | 1 | SFT | Painting the table with melamine paint and polishing with machine obtain the required finsh as per our Job Co-ordinator. |
| 151 | 4000147 | P/F new vinear sheet with polishing | 1 | SFT | Repairing of table and by providing and fixing new venear sheet of required size and polishing to obtain the required finsh as per our Job Co-ordinator. |
| 152 | 4000149 | Pro. & fixing vinyl flooring (Tal) | 1 | SFT | Providing & fixing Vinyl flooring in the cabin/room/hall at our Taloja works. |
| 153 | 4000156 | Pro.& Fix laminate on shutter 1mm thk | 1 | SFT | Providing and fixing laminate on shutter and drawers 1.00mm thk to working table with changing of handles. |
| 154 | 4000157 | Pro. Fix laminate 1mm thk on wooden rack | 1 | SFT | Providing and fixing laminate 1.00mm thick on fume cap boards wooden rack to the working table at Taloja works. |
| 155 | 4000382 | Apply. 2 coats of french polish | 1 | M2 | Scrapping and cleaning with sand papers the wooden surface and filling cracks with wax, primer putty sand papering and applying two coats of french polish in required shade as specified. |
| 156 | 4000210 | Prov.& lay false floor fram 600mmx600mm | 1 | M2 | Providing and laying of false flooring understructure system shall be grid framing of 600mm x 600mm having the following compounds. Pedestals : for height 700mm pedestals shall be 22.3 mm diameter,3 mm thick seamless MS stud pipe, projection welded on a 100mmx100mmx100mmx1.6 mm thick MS base plate. The base plate shall be die formed and electroplated to prevent rust and corrosion. The base plate shall have factory made holes at four corners for anchoring to the floor by means of dash fastners. The base plate may be embosed for additional strength. Jack heads:- Jack heads shall be die formed out of 4mm thick galvanised, MS plate out of 90mm x 90mm electroplated with die cut notches to hold stringers snap on and treaded holes, stud for housing into the pedestal. Jacks heads shall be provided with levelling nut and locking nut. Stringers:- Stringers shall be GI grid type minimum 30mm x 20mm rest on the jack heads notches and shall be fixed by means of screws. The stringers shall be spray painted with conductive paint or galvanised to prevent rust and corrosion. Floor Panels:- Panels shall be 600mm x 600mm in size 32 mm thick and constructed in steel with conductive epoxy coating. The panel shall consist of 1.2 mm thick botom profiled tray die formed with 1.5 mm thick top sheet as per manufacturers standard drawing. The botom tray and top sheet shall be resistance welded at all the touch points. The voids in the tile between the bottom tray and top shtte shall be filled with chemical modified light concrete mix to add strength to the panel and improve its therDFPCL insulation and non flamable property. Surface finish: Antistatic panel The top surface of the panel shall be finished with 0.8mm to 1.2mm thick antistatic high pressure laminate of approved make and colour bonded to the panel top with specially formulated epoxy based conductive adhesive. |
| 157 | 4000455 | Aluminum Glaze partition | 1 | M2 | Aluminium Glazed partition:- The total frame work of Al. section of size 50x50mm by making panel of 1.00 x 1.00 m size as per the size of room of equally shared. Al. plates (panel) shall be minimum 2 mm thk. Above 1.00 the panel will of glazed of 5.00 mm thk glass (plain glass) with complete tiles, rail members incl. Holdfast for anchoring the frame. Contractor will submit drawing for DFPCL approval all AL. member shall be anodised and thk of Al. section will minimum 2mm thk. |
| 158 | 4000237 | PROVISION & FIXING O FULLY TEMPERED GLAS | 1 | M2 | PROVISION & FIXING O FULLY TEMPERED GLAS |
| 159 | 4000243 | Making of wooden boxes | 1 | M3 | False ceiling: supply and fixing false ceiling with special strips type/equivalent type using 84 R type powder coated panle of aluminium carriers top covers, panel couplers GI wire rods, spring slips ceiling cleats wall moulds etc. complete with necessary scaffolding etc. complete in control room as per manufacturers specificaitons. |
| 160 | 4000256 | Supply & fixing 4' x 8' 12mm W/F ply. | 1 | SFT | False ceiling: supply and fixing false ceiling with special strips type/equivalent type using 84 R type powder coated panle of aluminium carriers top covers, panel couplers GI wire rods, spring slips ceiling cleats wall moulds etc. complete with necessary scaffolding etc. complete in control room as per manufacturers specificaitons. |
| 161 | 4000257 | Supply & fixing 4' x 8' 6mm W/F ply. | 1 | SFT | False ceiling: supply and fixing false ceiling with special strips type/equivalent type using 84 R type powder coated panle of aluminium carriers top covers, panel couplers GI wire rods, spring slips ceiling cleats wall moulds etc. complete with necessary scaffolding etc. complete in control room as per manufacturers specificaitons. |
| 162 | 4000940 | Providing & fixing double glass window | 1 | M2 | Providing & fixing of double glass V panel windows outer frame 50x19x1.6mm thick anodised 20 micron aluminum section. Inside section silica gel to be fill up and covering with 3mm thick ACP sheet on 4 side wall. Providing and fixing 6mm thick clear glass on both side incl. 3mm double sided tape with fixing & outer age clear 789 silicon sealant filled Garware make Sunfilm for UV and sunlight protection DFPCL Scope : Water, elctricity, and work permit Contractor scope of work included all material, labour, tools tackles, consumables, travelling etc.. with required PPE's |
| 163 | 4000805 | Make Plywood Partition bothside laminate | 1 | SFT | on front side and intenally white laminate as per design approved by Engineer in charge Incl. all consumable / fixtures as decided / as per drawings. The contractor shall provide personal protective equipment as specified like safety shoes, safety goggles, ear plugs, hand gloves, and with skilled supervisor and along with all statutory compliances completed |
| 164 | 4001331 | Repairing of cavity flooring | 1 | SFT | Repairing / Alignment of exisitng cavity / false flooring |
| 165 | 4001332 | Replacement of cavity floor tiles | 1 | SFT | Prov. & Fix. Damaged false floor tiles as per existing 2'X2'and 40mm thks. Tiles with laminate |
| (O) Sanitary and Plumbing |  |  |  |  |  |
| 166 | 4000423 | Pro.fix clred glaze vitrus china wash bs | 1 | EA | Providing and fixing in position coloured glazed vitreous china wash basin 630 x 450 mm of Hindustan make or approved equivalent make including C.I. Brackets fixed on walls and also including chromium plated tap with brass unions and waster pipe connected to underfloor waste water pipe complete and put into proper working order as per the specifications drawings & as directed by owner/consultant.(Hindustan make, ivory colour Basic price 4500) |
| 167 | 4000425 | Prov. Lay Jt.`C' class G.I.Pipe 1 " diameter | 1 | RM | Providing, laying and jointing `C' class G.I. Pipe for water supply including all fittings, such as bends, couplings, test, reducerss, stop ends etc. including necessary M.S. clamps combined with a rubber coupling, complete as per the specificaitons and drawings, rate to include excavation to any width and depth, backfilling chasing in brick or concrete surface and making them good etc. complete and as directed by owner/ consultant. (G.I. Pipe of Jindal / Tata / Zenith, basic price Rs 225 /m) |
| 168 | 4000623 | P&L PVC PIPES-75MM DIA,6KG/cm2 Pr. | 1 | RM | SCope of work: Supply,laying /jointing PVC pipes of 6KG Pressure as per IS:4985 inc bends,branches and all other necessary fittings, M.S holder bats/clamps,cutting and making good the walls and floors, jointing, testing etc all complete for following. Inc all material ,scaffolding and tools tackels.Electrical supply given by Client at one point. |
| 169 | 4000694 | Prov/Fix of Brass Float Valve 25mm | 1 | EA | Providing and Fixing of Brass Float Valve (Ball Cock) 25mm for Sintex Tank (Satyam make of basic price Rs 1000 ) |
| 170 | 4000470 | Prov. & Fix. 1/2 inch GI Pipe | 1 | M | Contractor's Scope : 1) Prov. & Fixing I/2 inch C-Class GI Pipe at all heights conforming to IS 1239 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Pipe of Jindal / Tata / Zenith) |
| 171 | 4000471 | Prov. & Fix. 1/2 inch GI Coupling | 1 | EA | Contractor's Scope : 1) Prov. & Fixing I/2 inch GI C Class Coupling conforming to IS 1239 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Coupling of Jindal / Tata / Zenith ) |
| 172 | 4000472 | Prov. & Fix. 1/2 inch GI Elbow | 1 | EA | Contractor's Scope : 1) Prov. & Fixing I/2 inch GI C Class Elbow conforming to IS 1239 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Material of Jindal / Tata / Zenith ) |
| 173 | 4000473 | Prov. & Fix. 1/2 inch Gate Valve | 1 | EA | Contractor's Scope : 1) Prov. & Fixing Brass Gate Valve Size 1/2 " X 150 mm Long 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 174 | 4000474 | Prov. & Fix. Waste Coupling | 1 | EA | Contractor's Scope : 1) Prov. & Fixing I/2 inch Waste Coupling,1-1/4IN,WASTE PLASTIC MAKE 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 175 | 4000475 | Prov. & Fix. GI 1/2 " GI Tee | 1 | EA | Contractor's Scope : 1) Prov. & Fixing I/2 inch GI C Class Equal TEE conforming to IS 1239 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor.(G.I. Material of Jindal / Tata / Zenith ) |
| 176 | 4000476 | Prov. & Fix. 1/2 inch Angle Stop Cock | 1 | EA | Contractor's Scope : 1) Prov. & Fix. 1/2 inch Angle Stop Cock 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Material of Siko make, basic price Rs 500 to 550) |
| 177 | 4000477 | Prov. & Fix. 1/2 inch Pillar Cock | 1 | EA | Contractor's Scope : 1) Prov. & Fix. 1/2 inch Pillar Cock 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Material of Seiko make of basic price Rs 600 ) |
| 178 | 4000478 | Prov. & Fix. 1/2 inch PVC Connector Pipe | 1 | EA | Contractor's Scope : 1) Prov. & Fix. 1/2 inch PVC Connector Pipe (1/2 " Dia & 24 Long) |
| 179 | 4000483 | Prov. & Fixing PVC Nahani trap | 1 | EA | Prov. & Fixing PVC Nahani trap 100 mm dia 3 ways with s.s fitting Contractor's Scope : 1) Prov. And fixing 100 mm pvc nhani trap with s.s jali IS 1239 2) Necessary permits to be taken <(>&<)> safety rules <(>&<)> regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 180 | 4000484 | Prov. & Fixing G.I. Pipe 1 1/2 C Class | 1 | RM | Prov. & Fixing G.I. Pipe 1 1/2 " 'C' Class with all fitting Contractor's Scope : 1) Prov. & Fixing 1- I/2 inch C-Class GI Pipe at all heights conforming to IS 1239 2) Necessary permits to be taken safety rules regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor.(G.I. Material of Jindal / Tata / Zenith ) |
| 181 | 4000485 | Prov. & Fixing G.I. Pipe 1 " 'C' Class | 1 | RM | Prov. & Fixing G.I. Pipe 1 " 'C' Class with all fitting Contractor's Scope : 1) Prov. & Fixing 1 inch C-Class GI Pipe at all heights conforming to IS 1239 2) Necessary permits to be taken safety rules regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor.(G.I. Material of Jindal / Tata / Zenith ) |
| 182 | 4000426 | Pro.fix.12mm di.mtr SEIKO brnd stop cock | 1 | EA | Providing and fixing in position SEIKO brand stop cocks or equivalent make including caulking of threaded joints and union couplings complete as per specification and as directed by owner/consultant. |
| 183 | 4000427 | Pro.fix 12mm dimtr SEIKO brnd Bib cock | 1 | EA | Providing and fixing in position SEIKO brand Bib cock of following sizes of approved make on G.I.water line complete as per specifications and as directed by owner/consultant |
| 184 | 4000428 | Prov.fix C.I.Nahani Trap chromium plated | 1 | EA | Providing and fixing C.I. Nahani Traps with chromium plated brass jalli etc. complete for 100mm dia connection including 100mm C.I. Bend bitumen painted breaking & making the floor wherever required as per the specifications drawings & as directed by owner/consultant. |
| 185 | 4000429 | Prov. Lay glazed S.W. Gully traps | 1 | EA | Providing and laying in position glazed S.W. Gully traps of approved manufacturer as directed including 230mm thick brick masonry chamber of size300x 225 mm built in 1:0 C.M. and plastered inside & outside with 20mm thick C.M. 1:6 Rate shall include providing and fixing of mosquito proof 300mm x225mm C.I. Standard hinged frame and cover of approved make and quality including excavation, PCC foundation etc. complete as per specifications, drawing & as directed by owner/consultant. |
| 186 | 4000422 | Pro fix Orissa pan type water closet | 1 | EA | Providing and fixing in position coloured glazed 580 x440 mm back inlet Orissa pan type water closet of Hindustan make or approved equivalent with P or S traps having antisyphonage opening 32mm dia and with 10 ltres C.I. High level flushing cistern with ball cock mosquito prof cover and 12mm stop cock G.I. Overflow pipe with mosquito proof grating at the end, all pipes shall be encased in walls in chasses finished smooth and put in to proper order as per specifications and drawingss. Rate shall include for adequate water proofing complete as per drawings, specifications and as directed by owner/consultant. (Hindware, Catalogue No. 20042, Basic Rate - Rs 2000) |
| 187 | 4000495 | P/F 12mm dia SEIKO make long bib cock | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING 1/2" SEIKO MAKE LONG BIB COCK 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 188 | 4000496 | P/F 12mm dia SEIKO make push cock | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING 1/2" SEIKO MAKE PUSH COCK 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 189 | 4000497 | P/F wash basin hindware/parryware make | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING WASH BASIN STANDARD SIZE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor.(Hindware,Cat.no10051.basic rate Rs 1800/-). |
| 190 | 4000498 | P/F urinal ( sDFPCLl ) with all ffitting | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING URINAL ( SDFPCLL SIZE) OF STANDARD MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Hindware,Cat.no.60001 basic rate Rs.1200/)- |
| 191 | 4000499 | P/F urinal (large) flat black with all f | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING URINAL ( LARGE ) FLAT BLACK WITH FITTING 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Hindware,Cat.no.60002 Basic rateRs. 4000/-) |
| 192 | 4000500 | p/f urinal flush valve with all fitting | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING URINAL FLUSH VALVE OF STANDARD MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Seiko or equivalent make) |
| 193 | 4000501 | P/F EWC flush valve 1 1/2" with all fitt | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING EWC FLUSH VALVE OF STANDARD MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Jaquar make, basic price Rs 3000) |
| 194 | 4000502 | P/F flush tank of stadard make | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING FLUSH TANK OF STANDARD MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Parryware flush tank, basic price Rs 1800 / No.) |
| 195 | 4000503 | P/F JAGUAR make jet spray with all fitti | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING JET SPRAY OF JAGUAR MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Basic price Rs 2000) |
| 196 | 4000504 | P/F JET spray of seiko make | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING JET SPRAY OF SEIKO MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (SEIKO make or equivalent ,basic rateRs.800) |
| 197 | 4000505 | p/f 1/2'' bath shower of seiko make | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING BATH SHOWER OF SEIKO MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (SEIKO Make,basic price.Rs600/-) |
| 198 | 4000506 | P/F EWC hindware/parryware make | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING EWC HINWARE /PARRY MAKE WITH ALL FITTING 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Hindware Cat No 20086(p-18)) |
| 199 | 4000507 | P/F EWC seat cover with all fitting | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING EWC SEAT COVER WITH ALL FITTING 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 200 | 4000508 | P/F 1" brass ball cock with all fitting | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING 1" BRASS BALL COCK WITH ALL FITTING 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Ball cock of Satyam make) |
| 201 | 4000509 | p/f 1/2" brass ball cock with all fittin | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING 1/2" BRASS BALL COCK WITH ALL FITTING 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Satyam make) |
| 202 | 4000510 | p/f JAGUAR make push cock | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING JAGUAR MAKE PUSH COCK 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Cera Urinal push cock full set,basic rate Rs.2000/-) |
| 203 | 4000511 | P/F s.s soap dispenser of standard make | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING s.s soap dispenser of standard make 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (Standard make, basic price Rs 1000) |
| 200 | 4000512 | P/F G I reducer 1 " x 1/2 | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING 1'1/2' GI REDUCER OF STANDARD MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Material of Jindal / Tata / Zenith make) |
| 205 | 4000513 | P/F OF G I reducer 1 1/2 " x 1" | 1 | EA | Contractor's Scope : 1) PROVIDING AND FIXING 1'1/2' GI REDUCER OF STANDARD MAKE 2) REQUIRED SKILL MAN POWER , TOOLS AND TRACKLES. 3) REMOVING OF DAMAGED FIXTRURE.WITH EXISTING LINE 4) All the joints to be water tight. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. (G.I. Material of Jindal / Tata / Zenith make) |
| 206 | 4001329 | Providing and commissioning Sintex water Tank of capacity 1000 ltr | 1 | EA | Providing and commissioning Sintex water Tank of capacity 1000 ltr |
| 207 | 4001340 | Providing and commissioning Sintex water Tank of capacity 2000 ltr | 1 | EA | Providing and commissioning Sintex water Tank of capacity 2000 ltr |
| 208 | 4001300 | Providing and commissioning Sintex water Tank of capacity 5000 ltr | 1 | EA | Providing and commissioning Sintex water Tank of capacity 5000 ltr |
| 209 | 4000707 | Prov. & Fix. Stainless Steel Sink of Nirali make of size 24" x 18" | 1 | EA | Provide and fixing Standard Stainless Steel Sink of Nirali make of size 24" x 18 "), with all fittings and fixtures, complete including commissioning and satisfaction of the Engineer in Charge) (Nirali make, basic price upto 5000 / No.) |
| 210 | 4000091 | P&F galvanised chain link 12 G. | 1 | M2 | Providing & fixing galvanised chain link fencing made out of following gauge wire diamond square of 50mm thk on MS angles 65x65x6 with the help of flats of 25mm x 3mm chain link fencing shall be held tight by means of 3 horizontal wires of 4mm thk. MS angles, concrete for pedestals etc.shall be paid seperately as per structural steel rate and concrete rate. Steel shall be supplied free of cost. |
| 211 | 4000724 | Removal & fixing 550mm GI concertinacoil | 1 | RM | Removal carefully old damaged coil and shifting to scrap yard for disposal.Provide and fixing new hot deep galvanised Concertina coil 550mm dia. And 10 to 12 runs per mt.Thickness: 0.6 ± 0.05; Wire diameter: 2.5 ± 0.1.; Barb length: 65 ± 2.; Barb width: 21 ± 1. |
| 212 | 4000093 | Supplying and fixing barbed wire fencing | 1 | RM | Supplying and fixing barbed wire fencing to the existing structural post of compound walls and concrete post including tighteneing with turn buckles, removal of damaged barbed wire and returning to Stores/scrapyard in proper bundles as directe |
| 213 | 4000489 | p/f 100 mm pvc rain water pipe with fitt | 1 | M | Contractor's Scope : 1) providing and fixing pvc rain water pipe 100mm dia. 2) item is including all fitting like hook . Clamp 3) item is including scaffolding and necessary arrangenent like safety net 4) item is applicable for all height DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 214 | 4000490 | p/f 150 mm pvc rain water pipe with fitt | 1 | M | Contractor's Scope : 1) providing and fixing pvc rain water pipe 150mm dia. 2) item is including all fitting like hook . Clamp 3) item is including scaffolding and necessary arrangenent like safety net 4) item is applicable for all height DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 215 | 4000775 | P/Fixing 50mm UPVC pipe external works | 1 | M | Providing & laying in proper position below/above ground 50mm UPVC pipes of Prince / Finolex ,astral make ASTM D1785 of specified schedule / pressure rating with necessary UPVC/PVC fittings, for water line, sewer line and drain pipes clamping with necessary clamps .The threading and jointing to be done as per IS specifications and PTFE tape to be used on threads or using approved make of solvent cement as per IS 7634-Part III.The work is to be carried out as per the specifications and as directed by Engineer-in-charge |
| 216 | 4000851 | P/F 200 mm dia PVC - 6 Kg/ Cm2 | 1 | M | P/F 200 mm dia PVC - 6 Kg/ Cm2 |
| (P) False Ceiling |  |  |  |  |  |
| 217 | 4000221 | Prov. false ceiling armstrong make | 1 | M2 | Contractor's Scope : Providing and Fixing 6mm thick fibre optics panel of armstrong false ceiling board plain/perforated tiles(600x600mm) or of equivalent make in plan or elevation with aluminium grid, metal suspension system, anchor fastener adjustable hangers etc. including two or more coats of acrylic emulsion paint of approved colour to give an even shade with smooth finish all complete as per architectural design and detail.metal suspension system as per ASTM C-635 shall be hot dipped M.S.galvanized (grade 180 as per is :277) nominal size of T-section shall be 24 x 38mm or 24 x25mm cross runners. 24mm wide exposed flange surface shall be permanently color coated.suspension system shall be as per manufaturer's specification supported over movment platform.The work to be complete as per specifications, drawings and direction of engineer. (Materials for structural platform grid for movement made up of MS Channels/ Beams / Angles shall be and shall be paid under ST No 2301)1) Work at all heights including scaffolding which will be non payable. Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 218 | 4000222 | Removal of Old False Ceiling any make | 1 | M2 | Contractor's Scope : 1)Removal of False Ceiling ( Any Make ) 2) Shifting the debris out side DFPCL premises. 3) Work at all heights including scaffolding which will be non payable. 4) Shifting the scrap to scrap yard after taking SGM. 5) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 219 | 4000354 | Prov. false ceiling using plaster of par | 1 | M2 | Providing false ceiling using aluminum frame tees, including all suspending arrangements of approved manufacturers by using plaster of paris (POP). Contractor's Scope : Providing and Plaster of Paris false ceiling board (600x600mm) in plan or elevation with aluminium grid, metal suspension system, anchor fastener adjustable hangers etc. including two or more coats of acrylic emulsion paint of approved colour to give an even shade with smooth finish all complete as per architectural design and detail.metal suspension system as per ASTM C-635 shall be hot dipped M.S.galvanized (grade 180 as per is :277) nominal size of T-section shall be 24 x 38mm or 24 x25mm cross runners. 24mm wide exposed flange surface shall be permanently color coated.suspension system shall be as per manufaturer's specification supported over movment platform.The work to be complete as per specifications, drawings and direction of engineer. (Materials for structural platform grid for movement made up of MS Channels/ Beams / Angles shall be and shall be paid under ST No 2301)1) Work at all heights including scaffolding which will be non payable. Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 220 | 4000246 | P/F Metalic sheet false with framing | 1 | M2 | False ceiling: supply and fixing false ceiling with special strips type/equivalent type using 84 R type powder coated panle of aluminium carriers top covers, panel couplers GI wire rods, spring slips ceiling cleats wall moulds etc. complete with necessary scaffolding etc. complete in control room as per manufacturers specificaitons. |
| (Q) Bitumen Road & Paver Blocks |  |  |  |  |  |
| 221 | 4001319 | Supply & laying metalling 150 mm thk | 1 | M2 | Prov.& Spreading metal on road surface from 75 mm thk standard size and spreading evenly to required camber and gradient including compaction by roller with all lead . |
| 222 | 4001318 | prov&laying BBM 100 mm thk. | 1 | M2 | Providing and laying bituminous bond Macadam 100 mm thk using 60 / 70 grade asphalt including all materials, heating bitumen, including all materials, heating bitumen, transporting, laying and compacting with smooth wheeled vibratory roller, including initial cleaning of surface, tack coat using 80 / 100 grade asphalt or bituminous emulsion etc. Complete. drums). (Asphalt to be used at 4.35% by weight |
| 223 | 4001320 | Prov.& lay. Asphalt Macadam 50 mm t | 1 | M2 | Providing and laying hot mix hot laid Dense Bituminous Mcadam as per job mix formula having 50 mm compacted thickness with minimum bitumen content of 4.5% of the weight of the total mix of 30/40 grade on prepared surface the total mix of 30/40 grade on prepared surface base/binding course including loading of aggregates with front end loader, heating of binder, aggregates and filler in hot mix plant, binder, aggregates and filler in hot mix plant, transportation the mix material by tippers and laying the mixed material with sensor pavers finisher to the required level and grade, rolling by vibratory roller to achieve the desired density including all material, labour, machinery with all maintenance of diversion if necessary etc. maintenance of diversion if necessary etc. complte. (including cost of bitumen emulsion tack coat by using 80 / 100 grade asphalt at 5 kg/10m2 or emulsion grade. |
| 224 | 4001321 | P&L 25 mm thk asphalt concrete as seal | 1.00 | M2 | Providing and laying hot mixed hot laid seal coat of Asphalt concrete 25 mm thick using 60/70 grade asphalt / With 6% of asphalt by total weight of mix including supplying of all materials, heating and mixing bitumen and chips, laying semi dense bituminous concrete by hydrostatic paver with sensor control including tack coat by using 80 / 100 grade asphalt at 5 kg/10m2 or emulsion grade bitumen, conforming IS: 8887 finishing, compaction with smooth wheeled bitumen, tandem vibratory roller with all labour and materials etc. Complete |
| 225 | 4001253 | Road Lane Marking by Thermoplastic Paint | 1 | M | Prov. & Applying 100 mm wide Thermoplastic paint for Road lane marking |
| 226 | 4001322 | Pv. & App.Primer+2coat Enamel paint,Kerb | 1 | M2 | Prov. & Applying Primer + 2 coats of Enamel paint to Kerb stones |
| 227 | 4001323 | Prov. & Fix.Kerb Stones (0.5x 0.15x0.40) | 1 | EA | Providing and Fixing Kerb stones of standard size of 0.50 x 0.150 x 0.40 m |
| 228 | 4000076 | P&F position with road kerbstone | 1 | RM | Providing & fixing position in line and level alongwith road Kerb stones of 1:3:6 concrete mix with 6mm dia nominal reinforcement as per design drawing including curing complete as directed. |
| 229 | 4000992 | Prov. and Fix. 80mm Precast Paver block | 1 | M2 | Providing min. M25 Grade or specified Paverblocks with thickness 80mm (design/pattern will be as per site requirement) Base : Interlocking paver block to be fixed on the bed 50 mm or specified otherwise thick of crush sand of approved specification and filling the joints with the sand of approved type and quality or as specified and as directed by Engineer-in-charge. Interlocking Paver Block:Factory made precast paver block of M25 grade to be used. Paver blocks to be of approved brand and manufacturer and of approved quality. |
| (R) Temporary Sheds for Rain protection |  |  |  |  |  |
| 230 | 4000548 | M.S PIPE SCAFO & TARPOULENE FOR ROOF | 1 | SFT | Contractor's Scope : 1. PROVIDING ERRECTING FULLY WATER PROOF TEMP.MONSOON SHED IN DOUBLE LAYER TOP COVERING AT ANY HEIGHT AS PER REQUIREMENT AND MAINTAINING UP TO MONSOON SEASONS REMOVING THE SAME AFTER GIVEN C LEARANCE 2. REQUIRED TOOLS AND TACKLES SUPPLEIED BY CONTRACTOR 3. AFTER COMLPETION OF JOB HOUSE KEEPING WORK IN CONTRACTOR SCOPE. 4) ONLY M.S PIPE WILL BE USED FOR ERRECTING SHED DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. Hook will be provided by DFPCL 2) Issuing the permit after complete preparation by Contractor. SAFETY PRECAUTIONS The contractor shall follow safety rules & regulations, safety procedures as per the safety standards and comply with the safety requirements. The contractor is required to deploy persons for specific jobs who are trained and skilled in particular trade and well familiar with hazards and safety precautions. The site staff and workers of the contractors are required to undergo safety orientation before they are assigned work at site. No person shall be allowed at work site without safety orientation. The contractor shall ensure that any time during the performance of the work his personnel are fit to execute the tasks assigned and are not under the influence of any alcoholic liquor, drug or other intoxicating substances. The contractor shall provide personal protective equipment as specified |
| 231 | 4000549 | M.S PIPE SCAFO & TARPOULENE SIDE CLADING | 1 | SFT | Contractor's Scope : 1. PROVIDING ERRECTING FULLY WATER PROOF TEMP.MONSOON SHED IN DOUBLE LAYER WITH SIDE COVERING AT ANY HEIGHT AS PER REQUIREMENT AND MAINTAINING UP TO MONSOON SEASONS REMOVING THE SAME AFTER GIVEN CLEARANCE 2. REQUIRED TOOLS AND TACKLES SUPPLEIED BY CONTRACTOR 3. AFTER COMLPETION OF JOB HOUSE KEEPING WORK IN CONTRACTOR SCOPE. 4) ONLY M.S PIPE WILL BE USED FOR ERRECTING SHED DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. Hook will be provided by DFPCL 2) Issuing the permit after complete preparation by Contractor. SAFETY PRECAUTIONS The contractor shall follow safety rules & regulations, safety procedures as per the safety standards and comply with the safety requirements. The contractor is required to deploy persons for specific jobs who are trained and skilled in particular trade and well familiar with hazards and safety precautions. The site staff and workers of the contractors are required to undergo safety orientation before they are assigned work at site. No person shall be allowed at work site without safety orientation. The contractor shall ensure that any time during the performance of the work his personnel are fit to execute the tasks assigned and are not under the influence of any alcoholic liquor, drug or other intoxicating substances. The contractor shall provide personal protective equipment as specified |
| 232 | 4001025 | Providing & Fixing tarpaulin at plant | 1 | M2 | Contractor's Scope :1) Providing & Fixing tarpaulin at terrace /belt area etc. 2) The tools and tackles along with work force will be completely in vendor's scope. 3) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| (S) Building Painting |  |  |  |  |  |
| 233 | 4000376 | Synthetic oil painting for steel | 1 | M2 | Scrapping and cleaning thoroughly the steel surface and applying one coat of red oxide and two coats of synthetic enamel paint Asian Apcolite of approved shade as specified and directed. |
| 234 | 4000381 | Oil bound distemper painting | 1 | M2 | Sweeping, scrapping down, peeled of surface of walls, ceiling etc. including cleaning of surface and rendering the cracks and levelling un even surface by using "Wall ready" of M/s. Surfa Coats Ltd. as per manufacturers specifications then applying two coats of applying Oil Bond destemper Tractor Acrylic washable distemper by Asian paint or equivalent of approved shade. |
| 235 | 4000377 | Synthetic oil painting for wood | 1 | M2 | Scrapping and cleaning through the wooden surface and applying one coat of wooden primer and two coat of synthetic enamel paint Asian Apcolite or equivalent of approved shade as specified with necessary putty. |
| 236 | 4000379 | Acrylic (plastic) emulsion painting | 1 | M2 | Sweeping, scrapping down the peeled of surface of walls, ceiling etc. including cleaning surface rendering the cracks and levelling of un even surface by using "Wall ready" of M/s. Surfa Coats Ltd. as per manufacturers specifications. then applying two coats of Asian Apcolite super acrylic emelsion of approved shade. |
| 237 | 4001000 | Providing & Doing Floor Marking 2" wide | 1 | M | Providing and doing 2" wide marking with Epoxy paint ( COLOUR SHADE AS PER INSTRUCTIONS) SCOPE OF WORK : CLEANING OF AREA TO BE PAINTED WITH WIRE BRUSH/EMERY CLOTH PAPER / CLOTH. 1. PROVIDING AND APPLYING EPOXY BASED PAINT WITH 2 COATS FOR FLOOR / WALL MARKING AT VARIOUS LOCATIONS FL0OR MARKING WILL BE OF 2 INCH WIDTH. DFPCL'S SCOPE OF SUPPLY :- ELECTRIC POWER & WATER – FREE OF CHARGE. MARKING DETAILS WILL BE PROVIDED BY DFPCL. REQUIRED PERMITS TO CARRYOUT THE JOBS. CONTRACTOR'S SCOPE OF SUPPLY :- 1.SUPPLY/ APPLY OF PAINT OF VARIOUS SHADES AS MENTIONED. 2.ALL TOOLS, TACKLES,CONSUMABLES ETC. 3. COMPETENT MANPOWER FOR CARRYING OUT THE JOB. 4. TO & FRO TRANSPORTATION OF MANPOWER AND MATERIALS. 5. ALL PERSONS WORKING INSIDE THE PREMISES STRICTLY ADHERE TO ALL SAFETY RULES AND REGULATIONS ADOPTED AT DFPCL. TIME SCHEDULE :- JOB IS TO BE STARTED IMMEDIATELY IN CONSULATION WITH OUR JOB CO-ORDINATOR . INVOICING:- ONLY ONE INVOICE TO BE SUBMITTED TO OUR JOB CO-ORDINATOR FOR HIS CERTIFICATION AND FURTHER PROCESSING. |
| (T) RCC Structural repairs |  |  |  |  |  |
| 238 | 4000784 | Providing & erecting steel props | 1 | EA | Contractor's Scope : 1) Providing & erecting steel props (including staging upto floor height ) to support the structure provisionally during repair and jacketing etc. and maintaining them inposition till required as directed by job coordinator.2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 239 | 4000785 | Providing & erecting safety net | 1 | M2 | Contractor's Scope :1) Providing & erecting safety net of opening 75 mm X 75 mm X 12 mm size in addition to study GI corrugated arrester tray at first floor level to prevent the debris falling on ground during progress of work and keeping the same during the period of work as directed by job coordinator. 2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 240 | 4000786 | Removing & cleaning of Existing Concrete | 1 | M2 | Contractor's Scope :1) Removing & Cleaning of Existing concrete carefully by low impact high frequency hammer or by manual chipping without damagingthe existing concrete or control sand blasting including cleaning the surfaces by air jet etc. coplete as directed by job coordinator.2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 241 | 4000789 | Anchoring Reinforcement Bar | 1 | EA | Contractor's Scope :Anchoring reinforcement /bar in Existing RCC menber in holes of minimum 10d depth for 8 to 12 mm dia. Bars. Grouting in position with locfix ( fosroc) including drilling of holes, cleaning etc. complete as directed by job coordinator.2) Issuing the permit after complete preparation by Contractor.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 242 | 4000800 | Apply two Coat rust conver primer | 1 | M2 | Contractor's Scope :1)Clean the existing reinforcement with wire/rotary wire brush, making the surfaces free from loose material , dirt, etc. complete. Applying two coats of alkaline rust converting primer-FEOVERT of krishna Conchem confirming to ASTM-B-117, on the rebars , including cleaning the reinforcement, wire brushing to remove the loose rust spalls, with time interval of 1 hour between the coats as directed by job coordinator. 2) Issuing the permit after complete preparation by Contractor.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 243 | 4000801 | Anticorrosive treatment to reinforcement | 1 | M2 | Contractor's Scope :1) Application of two coats of IPNET RB (CBRI know How ) on exposed reinforcement in two coats of with time interval of minimum 4 hours between each coat. The application shall be by brush as directed by job coordinator.2) Issuing the permit after complete preparation by Contractor.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 244 | 4000802 | Anticarbon Treatment on Concrete surface | 1 | M2 | Contractor's Scope :1) Applications of three coat of Interpenetrating polymer network of krishna conchem on exposed reinforcement in three coats with time interval of minimum 4 hours between each coat. The application shall be by brush as directed by job coordinator.2) Issuing the permit after complete preparation by Contractor.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 245 | 4000803 | Prov/apply migratory corrosion inhibitor | 1 | M2 | Contractor's Scope :1) Providing & Applying of Migratory Corrosion Inhibitor on entire deteriorated structure of KP-100 of Krishnea Conchem prior to building up of section with any type ofmortar or coating as per manufacturer's specifications & as directed by the job coordinator.2) Issuing the permit after complete preparation by Contractor.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 246 | 4000804 | Prov/apply 3 coat monopol456 prot.coatng | 1 | M2 | Contractor's Scope :1) Providing & Applying 3 coatof Monopol -456 protective coating of Krishna Conchem on external plastered /RCC structure of plant building as per manufacturer's specifications & as directed by Job Coordinator.2) Issuing the permit after complete preparation by Contractor.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 247 | 4000839 | Prov. & injec. low viscous grout MONOPOL | 1 | KG | Contractor's Scope :1) Providing & Injecting low viscous grout Monopol of Krishna Conchem having excellent adhesion to Concretethrough Pre-Fixed Nozzles usingcement grouting euipment at pressure of 3-5 Kg/sq.cm. Removing the nozzle and sealing it with non shrink epoxy putty EPCO 1010. Grout shall have Antiwash properties etc. complete as directed by as per the manufacturer's specifications or as directed by job coordinator.2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 248 | 4000840 | Prov/appl Str Gr. epoxy latex bond coat | 1 | M2 | Contractor's Scope :1) Prov. & appl. Str. Grade epoxy latex bond coat of ELMONOBOND of KRISHNA CONCHEM prior to building up of sectionwith any type of mortar/concrete to ensure bond between old concrete and new concrete by brush application as per the manufacturer's specifications or as directed by job coordinator.2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 249 | 4000841 | Prov. & Pouring Micro Concrete MOLIH-TTC | 1 | KG | Contractor's Scope :1) For replacing the carbonated part of concrete and repairing the damaged surface of concrete, fix the form work across the profile of damaged structural element. Pour the free flow micro-concrete Molith-TTCI of Krishna Conchem mix in the form work. Makeup concrete is based on type of structural element and its location as directed by job coordinator.2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 250 | 4000842 | Raking the joints of seperation cracks | 1 | RM | Contractor's Scope :1) Opening the seperation cracks at the junction of RCC & Masonry surface as directed into V groove mechanically or with chiesel & hammer, raking the joints, cleaning the groove with wire brush & air/ wet jetting. Providing and Applying cement sand mortar 1:3 over a bond coat of polymer latex & cement in ratio 1:1 , embedding sDFPCLl stone chips( metal No. 1 ) ovet the prepared groove surface including necessary labour, tools, tackles, materials, curing, cartingaway the debris from time to time etc. complete as directed by engineer in charge.2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 251 | 4000843 | Insertion POWERTHROW of Krishna Conchem | 1 | EA | Contractor's Scope :1) Insertion of Powerthrow of Krishna Concem sustained release corrosion inhibiting caplets which protect both anodic & cathodic sites and reduces corrosion potential Ecorr by Minimum 80mV in conductive medium, by drilling 20 mm holes into the concrete at a depth of 25 mm and insertsto be filled by EPCO-PC-Putty etc. complete as directed by Engineer in Charge.2) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 252 | 4000844 | P & App. Poly. Modified Mortar of Molith | 1 | M2 | Contractor's Scope :1) Providing & Applying Polymer Modified Mortar [ PMM ( Redimix ) ]of Molith -PMMFCI of Krishna Conchemfor internal & external RCC members I.e columns , slabs , beams, chajjas, etc. complete as directed by engineer in charge. 2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 253 | 4000845 | Int/Ext Patch Plaster-Redimix Plaster | 1 | M2 | Contractor's Scope :1) Internal & External Plaster ( Patch Work ): Providing & Laying sand face redimix plaster of ACC/ Wallplast on external walls in two coats etc. complete as directed by engineer in charge. 2) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 254 | 4000241 | Breaking old tiles and taking outside | 1 | M2 | Contractor's Scope : 1. Dismantling old brick work using pneumatic hammer/chisel, cutting and removal of debise etc. to be collected and kept separately for handing over to stores and disposal of debris outside premises. SCOPE. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL |
| 255 | 4000687 | P/L Pre cast 100mm Thk. | 1 | EA | Providing and Supplying Pre cast 100mm Thk. |
| 256 | 4000713 | Grass cutting & deposing out side preimi | 1 | M2 | Grass cutting,cuttengs shrubs,bushesh,plants ,uprooting,and cleaning area and disposal of all material out side the plot,including all labour,tools ,tackles,transportation etc completed. |
| 257 | 4001343 | Prov. & Apply external wall water proofing using Sunanda chemicals | 1 | M2 | Providing and applying one coat of anti algii treatment with Microbial Wall Wash and Anti-rooting Solution - Sunantifungal SP as approved by Engineer in charge to entire surface of external wall. At the junction of chajja and wall and also on the parapet wall top, give a coat of anti algii treatment - Sunantifungal SP. Cracks, if any, shall be filled with acrylic polymeric non-shrink crack filler putty Polyfill AR as approved by Engineer in charge, before giving waterproofing treatment to the external surfaces. This is followed by two coats of Acrylic Polymeric Waterproofing Coating - Polyalk WP as approved by Engineer in charge, having a non-toxic acrylic polymer liquid and white cement mix in proportion 1:0.5 by weight with coat interval as 24 hours. Air curing shall be done for 24 hours. Before giving this treatment the entire surface of wall shall be thoroughly clean to remove existing paint, dust, dirt, oil etc. After the waterproofing treatment is cured, provide and apply two coats of 100% acrylic waterproof heat insulating breathable decorative acrylic emulsion external coating - Sunext 8 or equivalent as approved by Engineer in charge in the desired shade. The inter-coat gap to be 24 hours. The rate shall include complete treatment mentioned above. 100% Acrylic, Decorative, Waterproofing, Heat Insulating, Exterior Coating, Anti-carbonation Coating should have following minimum properties: 1. Specific Gravity: 1.3 ± 0.1 at 25°C,2. pH: 7.0 to 10.00, 3. Viscosity: 18 to 30 sec. at 25°C by Ford Cup No. B-4 (Dilute 2 parts of product with 1 part of water) It shall be applied as per manufacturers specification. (Item is inclusive of scaffolding and upto height of 15 m .) If height exceeds 15 m, then scaffolding will be paid separately.) |
| 258 | 4001342 | Prov. & Laying HDPE 750 Micron thk geomembrane | 1 | Sqm | Prividing and Laying HDPE 750 micron thick geomembrane including water tight joints, laying to required size, shape, slope etc with minimum warranty of 2 years. (Make : Terex). Payment will be done per Sqm of Area coverage. Item is inclusive of all the overlaps, joints etc. No separate payment shall be made for overlaps / joints etc. This item is to be provided at sDFPCLl / big size Ponds to be constructed for water storage. 100 % water tightness is to be fulfilled for minimum 2 years. Within this period, if any complaint is received, contractor has to do the repairs free of cost. They should repair it within a week's time. During repairs the dewatering / any other arrangement is to be done, it should be arranged and borne by contractor only. |
| 259 | 4001904 | Prov / Fix PVC Coated chain link fencing | 1 | M2 | Contractor's Scope :1) Providing & fixing PVC Coated galvanised chain link fencing made out of 12 gauge wire diamond square of 50mm thk .2) MS angles 65x65x6 and flats of 25mm x 3mm to be used.3) Chain link fencing shall be held tight by means of 3 horizontal wires of 4mm thk.4) MS angles, concrete for pedestals etc.shall be paid seperately as per structural steel rate and concrete rate. Steel shall be supplied free of cost.5) All labour, material, tools and tackles in Contractor's scope.6) Use of all PPE's relevant to the job as per Complany policy.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises.2) Issuing the permit after complete preparation by Contractor. |
| 260 | 4001282 | Prov. & Fix. Hilti Bolts 20 dia, 400 long, SS Nut washer | 1 | Each | Contractor's Scope :1) Providing and Fixing Hilty Bolts 20 mm dia upto 400 mm long with SS nut and Washer .2) The bolts should be placed as per requirement and vendor should make arrangement of template etc on his own .3) Necessary permits to be taken & safety rules & regulations must be followed.DFPCL Scope :1) Electricity, water will be provided free of Cost for work inside DFPCL premises.2) Issuing the permit after complete preparation by Contractor. |
| 261 | 4001283 | Prov. & Fix. Hilti Bolts 24 dia, 500 long, SS Nut washer | 1 | Each | Contractor's Scope :1) Providing and Fixing Hilty Bolts 24 mm dia upto 500 mm long with SS nut and Washer . 2) The bolts should be placed as per requirement and vendor should make arrangement of template etc on his own . 3) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 262 | 4001284 | Prov. & Fixing Drill Bits for removal of Bolts | 1 | Each | Contractor's Scope : 1) Provision of Drill Bits for removal of Concrete core . 2) The dia of drill bit should be maximum 40 mm. 3) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 263 | 4001285 | Prov. & Grouting RE 500 Chemical - packet | 1 | Packet | Contractor's Scope : 1) Provision of grouting material RE500 chemical within the expiry date . 2) The vendor should also grout the required bolt with his labour and under his skilled manpower. 3) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 264 | 1003200 | Prov. & Laying Metal Scaffolding ( 0-15m ) | 1 | M3 | Scaffolding erection from 15 mtr ht to 30 mtr ht. Detailed scope of work: Area of allocation : All DFPCL plants located in TALOJA Providing and erection of scaffolding from 15 mtr ht to 30 mtr ht. Using 1-1/2 inch NB steel tubular heavy class pipes of grade YSt 22 with suitable clamping arrangement. 2. Provision of steel gratings, ladders and platforms with handrails, toe guards and base plates at the required locations. 3.Removal of the steel gratings, scaffolding pipes and all other scaffolding materials on completion of the job. 4. The job includes provision of all required tools and tackles ,lifting arrangements like chain pulley blocks, all consumables. 5.Qualified, experienced and trained supervision and labour, 6. Mobilizing and demobilizing scaffolding material and all necessary required accessories, tools and tackles from contractor's scope. SPCIFICATIONS, CODES AND STANDARDS: The entire scope of services shall confirm to the following referred specifications, codes and standards and instructions of the EIC. IS 2750 : Steel scaffolds IS 1161 : Specification for steel tubes for structural purposes IS 1570 (Part I): Schedule of wrought steel for general engineering purposes IS 4014 : Steel tubular scaffolds IS 3696 : Scaffolding safety codes In addition to the above, specific HSE and service execution specifications and standards may be advised to the contractors by the EIC.Site specific procedure is listed below Contractor supplied materials: The following materials shall be supplied by the contractor All scaffolding material ,All accessories for scaffolding. All tools and tackles required for the performance of the services All equipment and accessories required for material handling / shifting / storing. All PPE required for the contractor workmen and staff like dust masks,safety body harness, safety belt, ladder, safety shoes, helmet, hand gloves, safety goggles, any other PPE, rain gears, overalls, etc. |
| 265 | 1003202 | Prov. & Laying Metal Scaffolding ( 15-30m ) | 1 | M3 | Scaffolding erection from 15 mtr ht to 30 mtr ht. Detailed scope of work: Area of allocation : All DFPCL plants located in TALOJA Providing and erection of scaffolding from 15 mtr ht to 30 mtr ht. Using 1-1/2 inch NB steel tubular heavy class pipes of grade YSt 22 with suitable clamping arrangement. 2. Provision of steel gratings, ladders and platforms with handrails, toe guards and base plates at the required locations. 3.Removal of the steel gratings, scaffolding pipes and all other scaffolding materials on completion of the job. 4. The job includes provision of all required tools and tackles ,lifting arrangements like chain pulley blocks, all consumables. 5.Qualified, experienced and trained supervision and labour, 6. Mobilizing and demobilizing scaffolding material and all necessary required accessories, tools and tackles from contractor's scope. SPCIFICATIONS, CODES AND STANDARDS: The entire scope of services shall confirm to the following referred specifications, codes and standards and instructions of the EIC. IS 2750 : Steel scaffolds IS 1161 : Specification for steel tubes for structural purposes IS 1570 (Part I): Schedule of wrought steel for general engineering purposes IS 4014 : Steel tubular scaffolds IS 3696 : Scaffolding safety codes In addition to the above, specific HSE and service execution specifications and standards may be advised to the contractors by the EIC.Site specific procedure is listed below Contractor supplied materials: The following materials shall be supplied by the contractor All scaffolding material ,All accessories for scaffolding. All tools and tackles required for the performance of the services All equipment and accessories required for material handling / shifting / storing. All PPE required for the contractor workmen and staff like dust masks,safety body harness, safety belt, ladder, safety shoes, helmet, hand gloves, safety goggles, any other PPE, rain gears, overalls, etc. |
| 266 | 4000258 | Prov. & Fixing Reflective markers | 1 | Each | Contractor's Scope : 1) Provision & fixing of Reflective Pavement Markers (RPM). 2) The RPM should be anchored to the road/concrete surface. 3)The material of RPM shall be of Plastic which is moulded from Acrylic Styrine Acrylonitrite 4) The RPM should support the load of 13635 Kg when tested 5) The reflective panels of RPM shall consist of no. of lenses containing single or dual prismatic cubes for providing total internal reflection of the light entering the lens face. 6) The colour of RPM should be as approved by user. 7) The size of the RPM should not be less than 115 mm X 90 mm X 17.5 mm 8) The weight of RPM should be minimum 110 gm per piece. Company's Scope : 1) Providing necessary permits for carrying out the job. 2) Electricity will be provided free of cost. |
| 267 | 4000910 | Prov. & Supply 3 HP to 5 HP Pumps on Rent | 1 | Month | Contractor's Scope : 1) Supply of dewatering pump 3 Hp to 5 HP ele. Pump with all nesessary fitting like starter, Min. 10mt. delivary pipe & 5mt suction pipe. DFPCL Scope : 1) Electricity will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 268 | 4001029 | Prov. & Fixing Canvas Delivery pipe | 1 | M | 1) providing and fixing canvas delivery pipe with clamp 2) The tools and tackles along with work force will be completely in vendor's scope. 3) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 269 | 4001150 | Prov. & Fix. Repairs of Geo-memnbrane 750 Micron | 1 | M2 | providing fixing repairs of geomembrane 750microns thk to arrest leakage points in pond. Including cutting old membrane making surface treatment.. Including heating by special blower,adhesive,skilled operators,arrangemnt of rope ladder etc. with all labour,jointer,transportation,etc. |
| 270 | 4001687 | Hiring of 10 HP Electric Dewatering Pump | 1 | Month | Contractor's Scope : 1) Hiring of dewatering pump 10 HP ele. Pump with all nesessary fitting like starter, Min. 30 mt. standred cable & 50 mt suction pipe. DFPCL Scope : 1) Electricity will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 271 | 4001028 | P/s OF Dewatering 5 HP Diesel Pump | 1 | Month | Contractor's Scope : 1) Providing & supply 5HP diesel pump 2) The tools and tackles along with work force will be completely in vendor's scope. 3) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 272 | 4000238 | Prov. & Fix. Bamboo scaffolding and Tarpaulin ( Roof) | 1 | SFT | Contractor's Scope : 1. PROVIDING ERRECTING FULLY WATER PROOF TEMP.MONSOON SHED in DOUBLE LAYERED TARPOLINE TOP WITH SIDE COVERING AS PER REQUIREMENT AND REMOVING THE SAME AFTER GIVEN CLEARANCE 2. REQUIRED TOOLS AND TACKLES SUPPLEIED BY CONTRACTOR 3. AFTER COMLPETION OF JOB HOUSE KEEPING WORK IN CONTRACTOR SCOPE. DFPCL Scope : 1. Electricity, water will be provided free of Cost for work inside DFPCL |
| 273 | 4000239 | Prov. & Fix. Bamboo scaffolding and Tarpaulin ( Cladding)) | 1 | SFT | Contractor's Scope : 1. PROVIDING ERRECTING FULLY WATER PROOF TEMP.MONSOON SHED in DOUBLE LAYERED TARPOLINE TOP WITH SIDE COVERING AS PER REQUIREMENT AND REMOVING THE SAME AFTER GIVEN CLEARANCE 2. REQUIRED MATERIAL TOOLS TACKLES SUPPLEIED BY CONREACTOR 3. safety pps will be given by concractos DFPCL Scope : 1. Electricity, water will be provided free of Cost for work inside DFPCL |
| 274 | 4001873 | Prov. & Fix. Counter for WHB in Granite ( PRJ) | 1 | M | including kadappa slab at bottam basic rate of lapato granait is 2200/sqm including 65 mm facia patti,molding,champering,edge polish,as per dwg.and design. kadappa to be embeded in wall with proper grove,finishing ,curing etc. DFPCL/DFPCL scope: Provision of related drawings. |
| 275 | 4001874 | Prov. & Fix. Granite Door frame ( PRJ) | 1 | M | prepolish twin granite door frame including ,all joinery araldite,cement oaste, molding,champering,edge polish,bull nose and mirror polished, with 6 mm grooved made in wall at the junction of stone and finished surface.as per dwg.and design. basic rate of lapato granite2200/sqm,mode of measurement to be taken as single frame only with material,labours etc. DFPCL/DFPCL scope: Provision of related drawings. |
| 276 | 4001876 | Prov. & Fix. Jaquar make Mixer ( PRJ) | 1 | No | Providing and fixing Jaguar make hot and cold water mixer with all labour and material basic rate Rs5000/no DFPCL/DFPCL scope: Provision of related drawings. |
| 277 | 4001881 | Prov. & Fix. Mirror ( PRJ) | 1 | M2 | providing and fixing nirror of required size and shape moulding and beveling,approved make ,on hard wood board 6 mm thk. Modi make. DFPCL/DFPCL scope: Provision of related drawings. |
| 278 | 4001889 | Prov. & Fix. Exhaust Fans ( PRJ) | 1 | Each | providing and fitting of exhaust fan of approved make ,size and specification by EIC.DFPCL/DFPCL scope: Provision of related drawings. |
| 279 | 4001984 | Prov. Aluminium Partition with 150 x 50 mm thk section | 1 | M2 | Scope of work & Contractor's scope - Scope of Work - Providing and Fixing Heavy Duty Aluminum Door. Contractor's Scope of Work - The door to be provided should have Heavy Duty Aluminum Frame of size 150X50mm. Al so, glass of 5.5mm thickness to be used. All accessories with lock, handrail etc. complete. Minimum thickness of aluminu m members shall not be less than 2mm. All aluminum sections to be anodized. All tools, tackles, manpower is in scope of vendor. DFTP/DDFPCL/PCL Detail Scope - Provide the electric supply for the job. Job Coordinator Details - Manager-Civil Safety Precautions - All safety rules and regulations must be strictly followed as per the policy of organization. Time Schedule - As per time line & Preferably the jobs to be done in non silent hours only as mentioned in Purchase Order. House keeping - While working and post completion proper housekeeping must be maintained as per the standards of DFPCL. |
| 280 | 4001907 | Hiring 10HP Elect operate dewater pump | 1 | DAY | Scope of work : PROVIDING 10 HP ELECTRICALLY OPERATED DEWATERING PUMP ON 24 HOURS BASIS VENDOR SCOPE: PROVIDING 10 HP ELECTRICALLY OPERATED DEWATERING PUMP ON 24 HOURS BASIS " AS WHEN REQUIRED" OPERATION BASIS ALL CONSULMABLES AND NECESSARY MAINTENANCE INCLUDING OPERATION AS PER THE INSTRUCTIONS OF OUR JOB CO- ORDINATOR WITH DELIVERY HOSE OF 30 METERS LONG, ALL TOOLS, TACKLES, EQUIPMENTS, CONSUMABLES ETC. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 281 | 4001908 | Excavation in all soils from 3m to 4.5m | 1 | M3 | Scope of work : Excavation in all types of soil manualy/mechanically for all types civil works depth 3m to 4.5m from NGL Excavation in ordinary soil including clay black cotton soil, soft and hard murrum, sand, gravel, soil containing sDFPCLl pebbles, rubble, boulders, removable without breaking/blasting, etc. which can be loosened manualy or mechanically operating tackles such as pick shovels, front loader etc for all types of foundations/footings,plinth beams or any other substructure, including shoring, strutting, dewatering using suitable pumping system,backfilling with excavated soil and stacking of surplus earth within plant boundary. The rate shall incl. all tools, tackles, supervision, transport and incidental expense, overheads and profit, etc from 3 M to 4.5M below existing level. The quoted rate shall be inclusive of all the royalties and the contractor has to submit the royalty challans of the material used for construction activities. Mode of Measurement : The length and width of the PCC of ffoting/ beam will be measured for payment. No extra payment for working space will be paid. The quoted rate shall be inclusive of the backfilling with the existing soil. |
| 282 | 4001909 | Shoring supports in excavated pits | 1 | M2 | "Scope of work : Propping, shoring and/or underpinning shall be provided for the safety of the adjoining work or property" Necessary propping, shoring and/or underpinning shall be provided for the safety of the adjoining work or property, which is to be left in tact, before excavation, dismantling and demolishing is taken up and the work shall be carried out in such a way that no damage is caused to the adjoining work or property which is to be left in tact, The contractor would be responsible for the design of shoring for proper retaining of sides of trenches, pits etc. with due consideration to the traffic, superimposed loads etc. Shoring shall be of sufficient strength to resist the pressure and ensure safety from slips and to prevent damage to work/property and injury to persons. It shall be removed as directed after items for which it is required are completed. Should the slips occur, the slipped material shall beremoved and slope dressed to a modified stable slope. Removal of the slipped earth will not be measured for payment. Mode of Measurement : The length and height covered / protected will be measured for payment. No extra payment for working space will be paid. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 283 | 4001910 | Hard barricade around Excavated pit/area | 1 | RM | Scope of work : Barricades to prevent un-authorized entry inside construction area. Barricades used as warning devices, Barricades to prevent un-authorized entry inside construction area. Barricades used as warning devices, alerting people of the hazards in the construction sites. These includes control traffic movement on roads and to protect all from hazard prone area. barricades shall be provided for the areas where excavation, trenching, construction and demolition work are being performed. Barricade with pre-colour coated profile sheets supported on angle, channel, hollow sections or 25mm dia. rebars depending upon site requirement. The height of barricades shall be minimum 1.2 m. or Barricades with scaffolding pipes:- Vertical pipes shall be placed at about 2.0 m centre to centre and firmly grouted.One strand of tape must run continuously from post to post at 1000 mm above ground and another is to run above 300 mm from ground Barricades should be around the excavated pit at minimum 1.5m from the edge of excavation with caution board. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL 2) Issuing the permit after complete preparation by Contractor. |
| 284 | 4000226 | Dewatering using 3 HP TO 5 HP Pumps | 1 | PSH | Contractor's Scope : 1) supply of dewatering pump 3 Hp to 5 HP ele. Pump 2) All nesessary fitting like starter, Min. 10mt. delivary pipe & 5mt suction pipe. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL . |
| 285 | 4001860 | P&F Laminated Solid core flush door 38mm | 1 | M-2 | Scope of Work : 1) Providing and Fixing Laminated Solid core flush door shutter 38mm thk 2)Standard proprietory commercial ply solidcore flush door shutters of approved quality(commercial finish on both faces) including teak wood lipping all around and all anodised brass fittings and fixtures of approved quality and as directed 3) Laminated with Sunmica coating (1 mm thick) of approved shade DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 286 | 4001072 | P/F 20 mm dia CPVC Pipes to conceal work | 1 | RM | Providing & laying in proper position conceal CPVC pipes of Prince / Finolex make,ASTM D1785 of specified schedule / pressure rating with necessary UPVC/CPVC fittings, for water line, sewer line and drain pipes clamping with clamps and testing as per IS 4985 - 1985 and IS 7834 (Part - I).work inc chipping in wall and finishing after pipe fixing. |
| 287 | 4001850 | Providing&Fixing CPVC Pipe 32mm (SDR 11) | 1 | RM | Scope of Work:1) Providing & Fixing 32mm diameter CPVC Pipe of SDR 11 Class, Prince make or equivalent with all fittings 2) Making grooves in wall for conceal work 3) Dismentling of existing damaged pipe line and shifting to scrap yard 4) All necessary tests to be carried out as directed by DFPCL engineer DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 288 | 4001851 | Providing&Fixing CPVC Pipe 38mm(SDR 11) | 1 | RM | Scope of Work:1) Providing & Fixing 38mm diameter CPVC Pipe of SDR 11 Class, Prince make or equivalent with all fittings 2) Making grooves in wall for conceal work 3) Dismentling of existing damaged pipe line and shifting to scrap yard 4) All necessary tests to be carried out as directed by DFPCL engineer DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 289 | 4001852 | Providing & Fixing PVC Pipe 2" (Type B) | 1 | RM | Scope of Work :1) Providing and Fixing 2" diameter PVC Pipe of type B Class, Prince make or equivalent with all fittings 2) Rate includes all necessary fittings such as clamps, hooks etc. 3) Including provision of scaffolding at any height 4) All joints should be water tight 5) Dismentling of existing damaged pipe line and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 290 | 4001853 | Providing & Fixing CPVC Brass Elbow 19mm | 1 | EA | Scope of Work : 1) Providing and Fixing 19mm diameter CPVC Brass Elbow , Prince make or equivalent with all fittings 2) All necessary tests to be carried out as directed by DFPCL engineer 3) All joints should be water tight 4) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 291 | 4001854 | Providing & Fixing CPVC Brass MTA 19mm | 1 | EA | Scope of Work :1) Providing and Fixing 19mm diameter CPVC Brass DFPCLe Threaded Adapter (MTA) , Prince make or equivalent 2) All necessary tests to be carried out as directed by DFPCL engineer 3) All joints should be water tight 4) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 292 | 4001855 | Providing & Fixing CPVC Brass MTA 32mm | 1 | EA | Scope of Work :1) Providing and Fixing 32mm diameter CPVC Brass DFPCLe Threaded Adapter (MTA) , Prince make or equivalent 2) All necessary tests to be carried out as directed by DFPCL engineer 3) All joints should be water tight 4) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 293 | 4001857 | Providing & Fixing CPVC Brass FTA 32mm | 1 | EA | Scope of Work:1) Providing and Fixing 32mm diameter CPVC Brass FeDFPCLe Threaded Adapter (FTA) , Prince make or equivalent 2) All necessary tests to be carried out as directed by DFPCL engineer 3) All joints should be water tight 4) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 294 | 4001856 | Providing & Fixing CPVC Brass MTA 38mm | 1 | EA | Scope of Work :1) Providing and Fixing 38mm diameter CPVC Brass DFPCLe Threaded Adapter (MTA) , Prince make or equivalent 2) All necessary tests to be carried out as directed by DFPCL engineer 3) All joints should be water tight 4) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 295 | 4001859 | Providing & Fixing EWC Flush Valve 32mm | 1 | EA | Scope of Work : 1) Providing and Fixing EWC Flush Valve 32mm of Jaquar make 2) All necessary tests to be carried out as directed by DFPCL engineer 3) All joints should be water tight 4) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 296 | 4001716 | P & f Bottle Trap Jaguar Make | 1 | EA | Contractor's Scope : 1) Prov. & Fix.of Bottle Trap Jaguar Make with all fittings 2) Skilled manpower, tools and tackles 3) Removal of any damaged fitting with existing line. 4 All joints should be water tight. DFPCL/DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL/DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 297 | 4001858 | Providing&Fixing Waste Flexible Pipe32mm | 1 | EA | Scope of Work : 1) Providing and Fixing 32mm dia. Flexible waste pipe, Prince make or equivalent 2) All joints should be water tight 3) Dismentling of existing damaged fittings and shifting to scrap yard DFPCL Scope : 1) Issuing permit after complete preparation by contractor 2) Provision of electricity and water inside DFPCL Premises |
| 298 | 4000876 | P&F TWP WAY BIB COCK | 1 | EA | P&F TWP WAY BIB COCK |
| 299 | 4001960 | P/L SIPOREX WALL of 150mm thickness | 1 | M2 | VENDOR SCOPE OF WORK- Making masonary wall of 150mm thick Siporex Block With proper line and level ready to apply 1 : 4 cement sand plaster. The rate to include RCC stiffner at every 1 metre intervals in 1:2:4 concrete. DFPCL scope --All required drawing and design. |
| 300 | 4001950 | P&F Fibrocast 25T Cap FRP Cover900X600mm | 1 | EA | Scope of work : P&F Fibrocast HD(25T/C250) Composite FRP Chamber Cover with frame Vendor scope: 1) Providing and fixing 900mmX600mm Heavy duty composite FRP Solid top chamber cover with all tools and tackles 2) Load bearing capacity is 25 MT/C250 Make : Fibrocast 3) Fixing the Cover frame in concrete and placing cover after proper curing of frame concrete 4) Levelling the surface where chamber cover to be provided DFPCL Scope: Work permit, free water and electricity. Issuing the necessary work permit after complete preparation and compliance with filled checklist by Contractor. |
| 301 | 4001970 | Provide & Fix MS Insert plate in RCC mem | 1 | KG | Scope of work : Providing and fixing MS Insert plates in RCC members with lugs (as per design and site requirement) Vendor scope: 1) Providing MS Insert plates as mentioned in drawing for fixing civil structural members with lugs/anchors 2) Specification thickness, size of insert plate must be as per drawing / design provided by DFPCL. Full length welding. 3) Fixing in position includes labour and tools tackles required to complete job. fixing to be done with tying with adequate wire quality / welding / bolting etc. as mentioned in drawing. 4) Job to be executed as per EHS and Electrical requirements of DFPCL. DFPCL Scope: 1) Work permit, free water and electricity for work inside DFPCL premises 2) Issuing the necessary work permit after complete preparation and compliance with filled checklist. |
| 302 | 4000647 | Dismantling of Brickwork | 1 | M3 | Dismantling of Brickwork and disposing of the debris outside DFPCL or as per instructions of Engineer-in-charge |
| 303 | 4001569 | Supp. and Instal. of Roller Blind | 1 | SFT | Contractor's Scope : 1)Supply and Installation of Roller Blinds with head channel, traversing cord, and warranty etc as per manufacturer's specifications. Fabric to be as per approved sample. 2) Bottom of the blind shall be provided with aluminium tube powder coated in a colour matching to the fabric. The fabric shall be enclosed in the suitably created pocket along with the tube. 3) The tube shall be closed from sides with end caps to give a neat look. Clutch driven roller mechanism with stopper and load bar in powder-coated aluminium. Make Vista/Marvel 4)Composition : 36% of Glass fibre & 64% of PVC, Fabric : 500 GSM Openess Factor : 5% 5) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Issuing the permit after complete preparation by Contractor. |
| 304 | 4001280 | Manual excavation up to 2 m | 1 | M3 | Contractor's Scope : 1) Manual excavation 2) All tools require for excavation is in contractor's scope 3) water and ele. Arrange by contractor out side premises DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. |
| 305 | 4001776 | Excavation in soil,murum & Back filling | 1 | M3 | Excavation in soil,murum & Back filling Marking of excavation area before start of job Excavation to be started with prior permission from owner's engineer. Excavations is near running chemical/gas pipeline/telecommunications cables/electrical cables etc. hence shall be done with extreme care so as not to disturb the running pipeline or cables in any ways In case during excavation, any concealed/underground electrical conduits/cables are found, Contractor shall immediately stop excavating the area and shall bring to the notice of Owner’s Engineer. No further excavation shall be carried out till further permission is given to do so. All surplus or unusable excavated material carting, spreading and levelling as directed. All required man, machine and tools are to be arranged by contractor along with required Electrical supply by using mobile DG set. |
| 306 | 4001688 | Providing & painting bitumen painting | 1 | M2 | Scope of work : Providing and painting 2 coats of bitumen paint. Vendor scope: Providing and painting 2 coats of bitumen paint. Surface should be cleaned, free from oil, dirt, dust and loose debris. Apply 2 coats of bitumen paint incl. scaffolding if required. On metal surfaces all loose rust should be removed using a wire brush and where advanced signs of corrosion are evident the area must be treated with a rust inhibitor. A minimum of two coats of Black Bituminous, paint should be applied, the first coat being allowed to dry before the second coat is applied. On porous surfaces where the surface incl. all consumables and equipment, machineries at all levels including hoisting and erecting complete as specified and directed. DFPCL/DFPCL Scope: Work permit, free water and electricity. Issuing the necessary work permit after complete preparation and compliance with filled checklist by Contractor. |
| 307 | 4001781 | Filling with bought out soil | 1 | M3 | Backfilling with soil brought from outside in layers of 225mm with watering, ramming, compaction with earth compactors or plate compactor to achieve 95% modified proctor density as required by the engineer in charge, with approved earth as per drawing, specifications and as directed by Engineer in charge. Item rate inclusive of all transport, taxes - royalties, duties, etc as well as loading, un-loading, spreading in layers and compaction cost, tools, plants, consumables and labour costs, etc complete. for lead of up to 1km as directed and approved by Engineer in charge. |
| 308 | 4000452 | Prov.& fix rolling shutter 18 guage | 1 | M2 | Providing and fixing rolling shutter of 18 guage with complete fitting I.e. side guide bracket door suspension shaft, rolling springs, housing box at the top bottom rails locking arrangement with all fittings and fixtures including painting with 2 coats of epoxy paint including mechanical gear with handle. |
| 309 | 1008990 | P&F Galvanized mechanical rolling shuttr | 1 | M2 | Providing & Fixing Galvanized mechanical rolling shutter of 20-gauge G.I-Strips with perforated strip for 2m height and wicket gate of 3 feet x 5 feet size. Specifications as per below: 1) G.I Strip 20-gauge (2) G.I Perforated Strip 20-gauge (For 2-metre height) (3) M.S Guide 12-gauge of 75 mm width 4) M.S Bracket 10-gauge (5) M.S Bottom 14-gauge (6) Pipe 1.5-inch Dia. A-Class (7) G.I Hood (Top Cover) 24-gauge 8) Gear box bearing system ( 9) Single coat of red oxide on M.S parts and Final Epoxy coat Vendor Scope: supply,Instalation,Transportation,Insurance,Test Certificates of material, site visit if any,Tools-Tackles DFPCL/DFPCL Scope: Permit,Power supply,Scaffolding if required |
| 310 | 4001952 | Prov. and Const. RCC chamber 900X600mm | 1 | EA | Scope of work : Providing and Constructing RCC Inspection chamber 900mm X 600mm with FRP Cover EHD(40T/D400) Vendor scope: 1) Construction of RCC Inspection chamber with 900mm X 600mm internal dimensions 2) The internal depth of chamber should be 1.5m. 3) Item is inclusive of excavation, 9"soling, 4" thk. PCC M10, RMC M30, shuttering, reinforcement fixing and FRP cover 4) The Base slab and walls of chamber should be 150 mm thick and watertight 5) Details of Chamber Cover : 6) Providing and fixing 900mmX600mm Extra Heavy duty composite FRP Solid top chamber cover with all tools and tackles 7) Load bearing capacity is EHD(40T/D400) Make : Fibrocast 8) Fixing the Cover frame in concrete and placing cover after proper curing of frame concrete DFPCL Scope: Reinforcement shall be provided by DFPCL Work permit, free water and electricity. Issuing the necessary work permit after complete preparation and compliance with filled checklist by Contractor. |
| 311 | 4001702 | P/L RCC Hume Pipe of 600 dia - NP3 Class | 1 | M | Providing and laying of RCC hume pipe of NP-3 class pipe of 600 dia including excavation backfilling,pipe connections, joint sealing etc complete in all respect as per instruction of EIC. |
| 312 | 4001701 | P/L RCC Hume Pipe of 900 dia - NP3 Class | 1 | M | Providing and laying of RCC hume pipe of NP-3 class pipe of 900 dia including excavation backfilling,pipe connections, joint sealing etc complete in all respect as per instruction of EIC. |
| 313 | 4000645 | Prov and lay 1000 dia NP3 Hume Pipe | 1 | RM | vENDOR SCOPE OF WORK- Making masonary wall of 150mm thick Siporex Block With proper line and level ready to apply 1 : 4 cement sand plaster. The rate to include RCC stiffner at every 1 metre intervals in 1:2:4 concrete. DFPCL scope --All required drawing |
| 314 | 4000646 | Prov and lay 1200 dia NP3 Hume Pipe | 1 | RM | Providing and laying 1200 dia NP3 Hume Pipe. Supply by contractor |
| 315 | 4001911 | Painting wall with Apex Ultima Protek | 1 | M2 | Scope of work : Painting exterior masonry wall/concrete surfaces with Asianpaints Apex Ultima Protek Vendor scope: 1) Cleaning the surface thorougly with wire brush, sand paper or grinding to be done if necessary 2) Surface should be free from any loose paint, loose concrete particles, chalkiness, dust or grease 3) Growths of fungus, algae or moss should be removed by wire brushing and water For surfaces having heavy algal infestation, proper cleaning followed by application of BIO BLOCK 4) For filling cracks upto 3mm use Asian paints Smartcare crack seal 5) Apply First coat of Apex Ultima Protek base coat with 30% water dilution with 4 hours self curing 6) Apply Second coat of Apex Ultima Protek base coat with No dilution with 4-6 hours of self curing 7) Apply 2 coats of Apex ultima protek Top coat with 40% dilution with 4-6 hours of curing 8) Special attention to be paid to the tops and other horizental surfaces where fungus is most likely grow 9) Exterior surface subjected to continous seepage/dampness, use Smartcare damproof before top coat. 10) Item is inclusive of scaffolding and upto 15m Height. For height more than 15m, scaffolding will be paid separately. 11) Item is inclusive of 10 year durability warranty, 5 year waterproofing warranty, 5 year anti-algal warranty by vendor 12) All necessary tools, tackles, Paint, cage, pullyes,wire ropes,scaffolding materials etc.to be arranged by the party DFPCL Scope: 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the necessary permit after complete preparation and compliance with filled checklist by Contractor. |
| 316 | 4000922 | Providing & Doing Floor Marking 4" wide | 1 | M | Providing and doing 4" wide marking with Epoxy paint ( COLOUR SHADE AS PER INSTRUCTIONS) SCOPE OF WORK : CLEANING OF AREA TO BE PAINTED WITH WIRE BRUSH/EMERY CLOTH PAPER / CLOTH. 1. PROVIDING AND APPLYING EPOXY BASED PAINT WITH 2 COATS FOR FLOOR / WALL MARKING AT VARIOUS LOCATIONS FL0OR MARKING WILL BE OF 4 INCH WIDTH. DFPCL'S SCOPE OF SUPPLY :- ELECTRIC POWER & WATER – FREE OF CHARGE. MARKING DETAILS WILL BE PROVIDED BY DFPCL. REQUIRED PERMITS TO CARRYOUT THE JOBS. CONTRACTOR'S SCOPE OF SUPPLY :- 1.SUPPLY/ APPLY OF PAINT OF VARIOUS SHADES AS MENTIONED. 2.ALL TOOLS, TACKLES,CONSUMABLES ETC. 3. COMPETENT MANPOWER FOR CARRYING OUT THE JOB. 4. TO & FRO TRANSPORTATION OF MANPOWER AND MATERIALS. 5. ALL PERSONS WORKING INSIDE THE PREMISES STRICTLY ADHERE TO ALL SAFETY RULES AND REGULATIONS ADOPTED AT DFPCL. TIME SCHEDULE :- JOB IS TO BE STARTED IMMEDIATELY IN CONSULATION WITH OUR JOB CO-ORDINATOR . INVOICING :- ONLY ONE INVOICE TO BE SUBMITTED TO OUR JOB CO-ORDINATOR FOR HIS CERTIFICATION AND FURTHER PROCESSING. |
| 317 | 6000024 | Hiring of Dumper | 1 | HR | Contract for Supplying of Dumper on hire basis "As & where" basis Taloja Works. |
| 318 | 4000920 | Prov. and Fix. 60mm Precast Paver block | 1 | M2 | Base : Interlocking paver block to be fixed on the bed 50 mm or specified otherwise thick of crush sand of approved specification and filling the joints with the sand of approved type and quality or as specified and as directed by Engineer-in-charge.Interlocking Paver Block:Factory made precast paver block of specified grade to be used. Paver blocks to be of approved brand and manufacturer and of approved quality. |
| 319 | 4000704 | P/L 50 mm thk IPS Flooring | 1 | M2 | Providing and laying 50mm thk Ips flooring at any level with 1:1.5:3 using concrete adhesive as directed by EIC |
| 320 | 4001942 | P/L SIPOREX WALL of 230mm thickness | 1 | M2 | VENDOR SCOPE OF WORK- Making masonary wall of 230mm thick Siporex Block With proper line and level ready to apply 1 : 4 cement sand plaster. The rate to include RCC stiffner at every 1 metre intervals in 1:2:4 concrete. DFPCL scope --All required drawing and design. |
| 321 | 4001943 | P/L SIPOREX WALL of 100mm thickness | 1 | M2 | VENDOR SCOPE OF WORK- Making masonary wall of 100mm thick Siporex Block With proper line and level ready to apply 1 : 4 cement sand plaster. The rate to include RCC stiffner at every 1 metre intervals in 1:2:4 concrete. DFPCL scope --All required drawing and design. |
| 322 | 4001913 | P & F granite Window frame | 1 | RM | Providing & Fixing granite Window frame Natural stone, black colour Thickness 12 mm to 188 mm- Standard quality |
| 323 | 4001914 | Main door steps | 1 | RM | Main door granite steps & riser Natural stone, black colour Thickness 12 mm to 188 mm- Standard quality |
| 324 | 4001915 | P & A internal royal paint | 1 | M2 | Wall painting Royal with surface preparation one + two coats of Asaian paints Royal First quality |
| 325 | 4001841 | P&F Chem. Hilti anchor fastner M16X220L | 1 | EA | Vendor Scope of Work : 1) Providing and fixing in position Chemical anchor fastner M16X220L Hilti make with all tools & tackles. 2) Job to be carried out under supervision of competent engineer of contractor 3) Complete housekeeping after completion of Job 4) Complete electrical inspection of electrical equipment by DFPCL/DFPCL electrical shift engineer before starting the job. DFPCL/DFPCL Scope : 1) Issuing permit after complete preparation by contractor. 2) Provision of electricity and water inside DFPCL/DFPCL Premises. |
| 326 | 4001808 | Supply & fixing Frosted film Door | 1 | SFT | Supply & fixing 12mm thik single leaf toughened glass door,border polish with SS handle 300mm long SS patch fitting, floor spring make dorma or Qwell or equivalent,with frosted film and size as directed by EIC. Glass make:Modi guard,Ambika,Saint Gobain Vendor Scope: Instalation,Mobilisation,Food,Accomodation,Transportation,Insurance if any,Tools-Tackles DFPCL/DFPCL Scope: Permit,Power sup |
| 327 | 4001705 | P & f 1/2" Bath Shower Jaguar Make | 1 | EA | Contractor's Scope : 1) Prov. & Fix.of 1/2" Bath Shower Jaguar Make with all fittings 2) Skilled manpower, tools and tackles 3) Removal of any damaged fitting with existing line. 4 All joints should be water tight. DFPCL/DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL/DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 328 | 4001706 | P & f IWC Flush Tank Jaguar Make | 1 | EA | Contractor's Scope : 1) Prov. & Fix. IWC Flush Tank Jaguar Make with all fittings 2) Skilled manpower, tools and tackles 3) Removal of any damaged fitting with existing line. 4 All joints should be water tight. DFPCL/DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL/DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 329 | 4001717 | P & f Soap Dish Jaguar Make | 1 | EA | Contractor's Scope : 1) Prov. & Fix.of Soap Dish Jaguar Make with all fittings 2) Skilled manpower, tools and tackles 3) Removal of any damaged fitting with existing line. 4 All joints should be water tight. DFPCL/DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL/DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 330 | 4001718 | P & f Paper Holder Jaguar Make | 1 | EA | Contractor's Scope : 1) Prov. & Fix.of Paper Holder Jaguar Make with all fittings 2) Skilled manpower, tools and tackles 3) Removal of any damaged fitting with existing line. 4 All joints should be water tight. DFPCL/DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL/DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 331 | 4001699 | Prov. & fixing precast slab (RCC) M-30 | 1 | M3 | Contractor's Scope : Providing precast slabs (RCC) M - 30 as per detailed drawing & the design including shuttering,mechanically mixed concrete,curing etc. including hoisting, fixing, complete of any thickness 50mm to 200mm (reinforcement shall be paid separately). DFPCL/DFPCL SCOPE WATER AND ELE, SUPPLY FREE OF CHARGE Necessary work permit & gate pass. |
| 332 | 4001673 | P&F Pvc 4'' Fittings | 1 | EA | Vendor Scope: Providing and fixing 4'' fittings like Tee/Elbow/Coupling of Astral/Surya make or equivalent heavy duty, exposed, including cutting pipes,making connections and returining of serviceable material to the designated place and makinggood the same etc complete as directed by Engineer-in-charge. All Manower,tools/machine DFPCL Scope: Provides permit and power supply at one point |
| 333 | 4001674 | P&F Pvc 3'' Fittings | 1 | EA | Vendor Scope: Providing and fixing 3" fittings like Tee/Elbow/Coupling of Astral/Surya make or equivalent heavy duty, exposed, including cutting pipes,making connections and returining of serviceable material to the designated place and makinggood the same etc complete as directed by Engineer-in-charge. All Manower,tools/machine DFPCL Scope: Provides permit and power supply at one point |
| 334 | 4001675 | P&F UPVC 50mm Fittings | 1 | EA | Vendor Scope: Providing and fixing 50mm fittings like Tee/Elbow/Coupling of Astral/Surya make or equivalent heavy duty, exposed, including cutting pipes,making connections and returining of serviceable material to the designated place and makinggood the same etc complete as directed by Engineer-in-charge. All Manower,tools/machine. DFPCL Scope: Provides permit and power supply at one point |
| 335 | 4001676 | P&F UPVC 25mm Fittings | 1 | EA | Vendor Scope: Providing and fixing 25mm fittings like Tee/Elbow/Coupling of Astral/Surya make or equivalent heavy duty, exposed, including cutting pipes,making connections and returining of serviceable material to the designated place and makinggood the same etc complete as directed by Engineer-in-charge. All Manower,tools/machine DFPCL Scope: Provides permit and power supply at one point |
| 336 | 4001680 | P and F Backlite Sheet 4mm for door | 1 | M2 | Vendor Scope: 1.Providing and fixing 4mm backlite sheet for modification of doors including cutting and recondition of doors 2.All Manower,tools/machine for the job. DFPCL Scope: Provides permit and power supply at one point |
| 337 | 4001681 | L/C FOR DISMANTLNG Existing Pipelines | 1 | RM | Labour charges for removing of PVC,UPVC,GI pipelines inc excavation,de clamping at any height and stacking material as directed by EIC.Work including wall chasing,Floor chasing Vendor Scope: All Manower,tools/machine DFPCL Scope: Provides permit and power supply at one point |
| 338 | 4001632 | Road Lane Marking by cold plast paint | 1 | M2 | Providing and applying Cold plastic paint two component rolled on surfacing material solvent free, high build two pack seamless, tough, skid resistant, material with has property of attaining 2.00 mm thickness in single coat application white (or as required colour)based on glass and colour retaining acralic crosslink ingres in system for coloured road surfacing including surface cleaning and cost of all material etc. complete.(All inclusive on bitumen/concrete surface) |
| 339 | 4001633 | P/A Zebra Crossing Paint Pattern | 1 | M2 | All Tools /tackles and material is in vendor scope,DFPCL provide Electrical power supply,Water connection at one point P/A OF 2.5mm HOT THERMOPLASTIC PAINT ON ROAD FOR ZEBRA CROSSING Providing and applying 2.5 mm thick & 300mm Wide road marking strips (retroreflective) of specified shade/ colour using hot thermoplastic material of make Oscar/Nirmiti or approved by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, |
| 340 | 4001616 | Prov. & Fix. of Safety Net ( ISI Mark ) | 1 | M2 | Contractor's Scope : 1) Fixing and provision of Safety Net (ISI Mark ) 2) The safety net to be provided and tied to existing scaffolding / exiting structure and shall remain sturdy. 3) All material required for fixing and labour in scope of vendor. 4) Loading , unloading fixing and removal completely in scope vendor. 5) Necessary permits to be taken & safety rules & regulations must be followed. DFPCL Scope : 1) Electricity, water will be provided free of Cost for work inside DFPCL premises. 2) Issuing the permit after complete preparation by Contractor. |
| 341 | 4001620 | Prov. And Fixing GI Road crash barrier | 1 | M | Providing and erection of Metal Beam Crash Barrier Type -A,W:Metal Beam Crash Barrier Contractor's Scope : 1) (Providing and erecting a W metal beam crash barrier comprising of 3mm thick GI corrugated sheet beam rail, 70 cm above road/ground level, fixed on GI ISMC series channel vertical post,150x75x5mm spaced 2m centre to centre,1.8m high,1.1m below ground / road level, all steel parts and fitments to be galvanised by hot dip process, all fittings to conform to IS:1367 and IS:1364, metal beam rail to be fixed on the vertical post with a spacer |
| 342 | 4001581 | P&F Rubber Speed Humps | 1 | RM | Providing and fixing High strength Rubber Speed Humps Of Size 500*400*50mm with necessary fittings etc. Details as (1)Colour- Yellow black(2)Load Capacity - 50Mt(3)With Anchor Bolts and Reflectors All materials for stitching ,tools and tackles with is in vendor scope DFPCL provides Permit, water and power supply at one point |
| 343 | 4001491 | P/F Robe Hook | 1 | EA | Providing and fixing Robe hook Make : JAQUAR, continental series, Cat No. CAN 1191 N |
| 344 | 4001492 | P/F Towel Ring | 1 | EA | Providing and fixing Towel ring Make : JAQUAR, continental series, Cat No. CAN 1121 NR |
| 345 | 4001382 | Prov & Apply 1000micron thk PU floorcoat | 1 | M2 | Prov. And apply 1000 micron PU floor coating. Flow Type - solventless compound containing filler and pigment and the mixture is poured directly on to the surface when the blend will flow and level itselfoften with little assistance to form a smooth continuous coating av. 1mm |
| 346 | 4001383 | Prov & Apply 2000micron thk PU floorcoat | 1 | M2 | Prov. And apply 2000 micron PU floor coating. Flow Type - solventless compound containing filler and pigment and the mixture is poured directly on to the surface when the blend will flow and level itselfoften with little assistance to form a smooth continuous coating av. 2mm |
| 347 | 4001990 | Prov. & Fix. Partition of 12 mm thk Bison Panel | 1 | Sft | Contractor's Scope of Work - P/F Partitions made out of Aluminium cross section of size 50X25mm and 18 gauge. Vertical sections should be at an approximate spacing of 600mm center to center and horizontal sections at an approximate spacing of 600mm center to center. The intersecting frame sections must be fastened firmly with each other. All verticals must be secured to the ceiling with anchor fasteners. |
| 348 | 4001988 | Prov. & Fix. 18 thk Bison Panel | 1 | Sft | Contractor's Scope of Work - Providing & Fixing of 18mm thick bison Board with all labours & material. DFPCL Scope - Provision of required Drawings. Job Coordinator - Civil manager. Safety Measures - PPE to be used and permit system to be followed as per time line. House keeping to be done. |
| 349 | 4001989 | Prov. & Fix. 12 thk Bison Panel | 1 | Sft | Contractor's Scope of Work - Providing & Fixing of 12mm thick bison Board with all labours & material. DFPCL Scope - Provision of required Drawings. Job Coordinator - Civil manager. Safety Measures - PPE to be used and permit system to be followed as per time line. House keeping to be done. |
| 350 | 4000357 | Replace 6 " thk Balco Dead Lock | 1 | Each | Replacement of 6" Balco brand dead lock 4 lever of existing door. |

ANNEXURE IV

Additional Terms and Conditions

GENERAL:

There are to apply as additional specifications and conditions, unless otherwise already provided for contradictorily elsewhere in this contract.

- CONTRACTOR TO STUDY SITE CONDITIONS:

The Contractor shall be deemed to have carefully examined the work and site conditions including labour, the general and the special conditions, specifications, schedules and drawing and shall be deemed to have visited the site of the work and to have fully informed himself regarding local conditions and carried out his own investigations to arrive at rates quoted in the tender.  In this regard, he will be given necessary information to the best of Knowledge of CLIENT but without any guarantee to it.

If he shall have any doubt as to the meaning of any portions of these general conditions, or the scope of the work or the specifications and drawings, or any other matter concerning the contract, he shall in good time, before submitting his tender, set forth the particulars thereof and submit them to the Client / Architect, in writing in order that such doubts may be clarified authoritatively before tendering.  Once a tender is submitted, the matter will be decided according to tender conditions, in the absence of such authentic pre-clarification.

- DECLARATION OF THE CONTRACTOR:

The Contractor should sign the declaration form.

4.	 WORKING METHODS AND PROGRESS SCHEDULE:

4.1	PROGRAM OF WORK:

The work is required to be completed within a period of as specified by Job Coordinator.

4.2 	a)	METHODOLOGY OF CONSTRUCTION AND CONSTRUCTION EQUIPMENT:

Contractor shall furnish at least 7 days in advance his program of commencement of item of work, the details of actual methods that would be adopted by the Contractor for the execution of various items of cast-in-situ, super structure and earth work, supported by necessary detailed drawing and sketches including those of the plant and machinery that would be used, their locations, arrangements for conveying and handling materials etc. and obtain prior approval of Architect well in advance of starting of such item of work. The client's EIC t reserves the right to suggest modifications or make complete changes in the method proposed by the Contractor, whether accepted previously or not at any stage of the work, to obtain the desired accuracy, quantity and progress of the work which shall be binding on the Contractor, and no claim on account of such change in method of execution will be entertained by client's EIC so long as specifications of the item remain unaltered. The sole responsibility for the safety and adequacy of the methods adopted by the Contractor will however rest on the Contractor, irrespective of any approval given by the client's EIC

In case of slippage from the approved work program at any stage, the Contractor shall furnish revised program to make up the slippage within the stipulated time schedule and obtain the approval of the client’s to the revised program.

- CONSTRUCTION EQUIPMENT:

The Contractor shall be required to give a trial run of the equipment’s for establishing their capability to achieve the laid down specifications and tolerance to the satisfaction of the client before commencement of the work.  All equipment provided shall be of proven efficiency and shall be operated and maintained at all times, in a manner acceptable to the client and no equipment or personnel will be removed from the site without permission of Client

Construction equipment used to be kept in healthy condition in all respects with valid documents required for various statutory / government agencies. These are to be verified through our EHS department before taking into use.

(c)	PROGRESS SCHEDULE:

The Contractor shall furnish within the period of one week if the order to start the work, the program of work in CPM/PERT charts in quadruplicate indicating the date of actual start, the monthly progress expected to be achieved and the anticipated completion date of each major item of work to be done by him, also indicating dates of procurement and setting up of materials, plant and machinery.  The schedule is to be such as is practicable of achievement towards the completion of whole work in the time limit, the particular items, if any, on the due dates specified in the contract and shall have the approval of the client  No revised schedule shall be operative without such acceptance in writing.  The client/PMC is further empowered to ask for more detailed schedule or schedules say ; week by week for any item or items, in case of urgency of work as will be directed by him and the Contractor shall supply the same as and when asked for.

The Contractor shall furnish sufficient plant, equipment and labour as may be necessary to maintain the progress of the schedule.  The working and shifts hours restricted to one shift a day for operations. Night work which requests supervision shall not be permitted except when specifically allowed by the Client each time, if requested by the Contractor.  The Contractor shall provide necessary lighting arrangements etc. for night works as directed by the client without extra cost.

Further the Contractor shall submit the progress report of work in prescribed forms and charts etc. at periodical intervals, as may be specified by the client.  Schedule shall be in the form of progress charts, form progress statement and/or reports as may be approved by the client / PMC.

The Contractor shall maintain Proforma, charts, details regarding machinery, equipment, labour, materials, personnel, etc. as may be specified by the client / PMC.

5    AGENT AND WORK ORDER BOOK:

The Contractor shall himself manage the work or engage an authorized all time agent on the work capable of managing and guiding the work and understanding the specifications and contract conditions.  The Contractor shall provide a qualified and experienced Engineer as his agent for technical matter in case the client considers this is essential for the work and so directs Contractors. He will take orders as will be given by the client or his PMC and shall be responsible for carrying them out.  This agent shall not be changed without prior intimation to the client and his representative on the work site.  The Contractor shall supply to the client the details of all supervisory and other staff employed by the Contractor and notify changes when made, and satisfy the client regarding the quantity and sufficiency of the staff, thus employed.  The client will have the unquestionable right to ask for changes in the quality and numbers of contractor’s supervisor staff and to order removal from work of any such staff.  The Contractor shall comply with such orders and effect replacements to the satisfaction of the client/PMC.

A workbook shall be maintained on site and it shall be property of the client and the Contractors shall promptly sign orders given therein by the client and comply with them.  The compliance shall be reported by the Contractor to the client in good time so that it can be checked. The Contractor will be allowed to copy out instructions therein from time to time.

- LEVELING INSTRUMENTS:

If measurements of items of the work are based on volumetric measurements calculated from levels taken before and after the construction of the item, a large number of leveling staves, tapes etc. will have to be kept available by the Contractor at the site of the work for this purpose.  Lack of such leveling staves, tapes, etc. in required numbers may cause delay in measurements and work. The Contractor will therefore have to keep enough of these readily available at site.

- AUTHORITY OF REPRESENTATIVE OF THE CLIENT

The duties of the representative of the Client / Architect are to watch and supervise the work and to test and examine any material to be used or workmanship employed in connection with the works.

The PMC may from time to time, in writing delegate to his representative any powers and authorities vested in the PMC and shall furnish to the Contractor a copy of all such delegations of power and authorities any written instruction of approval given by the representative of the PMC to the Contractor within the terms of such delegations (but not otherwise) shall bind the Contractor and the Council as though it had been given by the PMC, provided always as follows.

Failure of the representative of the PMC to disapprove any work or materials shall not prejudice the power of the PMC thereafter to disapprove such work or materials and so order the putting down, removal or breaking up thereof.

- CO-ORDINATION:

When several agencies for different sub-works of the project are to work simultaneously on the Project site, there must be full co-operation between different contractors to ensure timely completion of the whole project smoothly.  The scheduled dates for completion specified in each contract shall therefore, be strictly adhered to.  Each Contractor may make his own independent arrangement for water, power, housing, etc.  if they so desire.  On the other hand the Contractors are at liberty to mutual agreement in this behalf and make joint arrangements with the approval of the client.  No single Contractor shall take or cause to be taken any steps or action that may cause, disruption discontent, or disturbance of work, labour or arrangements, etc. of other Contractor in the project localities.  Any action by any Contractor which the client's EIC in his unquestioned discretion may consider as infringement of the above code, would be considered as a breach of the Contract conditions and shall be dealt with as such.

In case of any dispute, disagreement between the Contractors, the client’s decision regarding the co-ordination, co-operation and facilities to be provided by any of the Contractors shall be final and binding on the Contractors concerned and such a decision or decision shall not vitiate any Contractor nor absolve the Contractor(s) of his/their obligation under the contract nor considered for the grant for any claim or compensation.

- SITE OFFICE:

9.1   The Contractor shall at his own expense maintain sufficient experienced Engineers and supervisory staff etc. required for the work and shall make his own arrangement, provide portable container as a site office   for them with all necessary arrangements, including fire preventing measures, etc.

10.     SUPERVISION AND INSPECTION OF WORKS AND QUALITY CONTROL:

10.1    SUPERVISION:

The Contractor shall either himself supervise the execution of the works or shall appoint the competent Engineers and Supervisors approved by the Client /Architect, to act on his behalf.  If in the opinion of the Client / Architect, the Contractor has himself no sufficient knowledge and experience of receiving instructions or cannot give his full attention to the works, the Contractor shall at his own expenses employ as his accredited agent a qualified Engineer approved by the Architect.

Contractor should appoint a Qualified Civil Engineer as a Main Civil In charge having more than 10 years of experience for each site. Under this main Civil Engineer, minimum 3 Civil Engineers of minimum 5 year experience should be working under him for each site. Also, a minimum of 5 to 6 Supervisors should be working below these Civil Engineers.

Orders given to the Contractor’s agent shall be considered to have the force as if these had been given to the Contractor himself.  If the Contractor fails to appoint suitable agent as directed by the client, the client shall have full power to suspend the execution of the work until such date a suitable agent is appointed and the Contractor shall be responsible for the delay so caused to the works and the Contractor shall not be entitled for any compensation on this behalf.

10.2     INSPECTION :

The Contractor shall inform the client in writing when any portion of the work is ready for inspection giving him sufficient notice to enable him to inspect the same without affecting the further progress of the work.  The work shall not be considered to have been completed in accordance with the terms of the contract until the client shall have certified in writing to that effect.  Approval of materials or workmanship or approval of part of the work during the progress of execution shall not bind the client or in any way affect him even to reject the work which is alleged to be completed and to suspend the issue of his certificate of completion until such alternation and modifications or reconstruction have been effected at the cost of the Contractor as shall enable him to certify that the work has been completed to his satisfaction.

The Contractor shall provide at his cost necessary ladders and such arrangements as to provide necessary facilities and assistance for proper inspection of all parts of the work at his own cost.

11.      INITIAL MEASUREMENTS FOR RECORD:

Where, for proper measurement of the work, it is necessary to have an initial set of levels or other measurements taken, the same as recorded in the authorized field book or measurement book. by the Engineer or his authorized representative will be signed by the Contractor who will be entitled to have a true copy of the same made at his cost.  Any failure on the part of the Contractor to get such levels. etc. recorded before starting the work will render him liable to accept the decision of the Architect as to the basis of taking measurement. Likewise the Contractor will not cover any work which will render its subsequent measurements difficult or impossible without first getting the same jointly measured by himself and the authorized representative of the client.  The record of such measurements on the Client side will be signed by the Contractor and he will be entitled to have a true copy of the same made at his cost.

12.   SAMPLES AND TESTING OF MATERIALS:

12.1   All materials to be used on work shall be got approved in advance from the Client / Architect and shall pass the test and/or analysis required by him which will be:

a)   As specified in the specification for the items concerned and/or

b)   I.S.I Specification (whichever and wherever applicable) or

c) Such recognized specifications acceptable to Engineer-In-charge as equivalent there to or in absence of such authorized specification.

d) Such requirement test and/or analysis as may be specified by the client in order of precedence given above.

12.2    The Contractor shall at his risk and cost make all arrangements and/or shall provide for all such facilities as the client may require collecting, preparing required number of samples for tests or for analysis at such time and to such place as may be directed by the client and bear all charges and cost of testing.  Such samples shall also be deposited with the client.

12.3	The Contractor shall if & when and if required, submit at his cost the samples of material to be tested and analyzed and if, so directed, shall not make use of or incorporate in the work any material represented by the samples until the required tests or analysis have been made and the materials, finally accepted by the client

12.4   The Contractor shall not be eligible for any claim or compensation either arising out of any delay in the work or due to any corrective measures required to be taken on account of and as a result of testing of the materials.

12.5   The Contractor or his authorized representative will be allowed to remain present in the departmental laboratory while testing sample furnished by him.  However, the results of all the tests carried out in the departmental laboratory in the presence or absence of the Contractor or his authorized representative will be binding on the Contractor.

12.6   The Contractor shall at his own cost set up laboratory to carry out the routine tests of materials which are to be used on the work.  The tests will have to be carried out either in his field laboratory or in an approved laboratory.  In case tests are carried out in field laboratory, at least 50% tests should be carried out nearest quality control laboratory.

13.   HANDING OVER OF WORK:

All the work and materials before finally taken over by the client., will be entire liability of the Contractor for guarding, maintaining and making good any damages of any magnitude.  Interim payments made for such work will not alter this position.  The handling over by the Contractor and taking over by the client will be always in writing of which copies will go to the client or his authorised representative and the Contractor, it is, however understood that before taking over such work the Council will not out it into regular use as distinct from causal or incidental one, except as specifically mentioned elsewhere in this contract, or as mutually agreed to.

14 .     CLAIMS:

Bills for extra work or for any claim shall be paid separately apart from the interim bills for the main work.  The payment of bills for the main work shall not be withheld for want of decision on the extras or claims not covered in the appendices.

Claims for extra work shall be registered within 30 days of occurrence of the event.  However, bills for these claims including supporting data/details may be submitted subsequently.

Contractor should submit the detailed break up of the extra items in the form of Labour + Material + transportation and Profit (10 %) . This is to be submitted to Engineer in Charge  and Purchase Coordinator.

ANNEXURE V

Commercial Terms and Conditions

- Job Controller : Mr. Manish Pandit (K1 Site ) or any other person appointed by the Company at our plant locations, from time to time, shall be the job controller.

- The Vendor / Contractor shall be responsible for providing the requisite and professional manpower for Civil Works.

- The members of the staff provided by the Vendor / Contractor should be employees of the Vendor / Contractor and all / any dispute/s between the Vendor / Contractor  and the staff shall be resolved by the Vendor / Contractor  and shall have no bearing on DFPCL. The Vendor / Contractor should indemnify any claim, title in debt, cost, damage, compensation in respect of its employees posted on DFPCL/DFPCL premises.

- Mobilization: Within 15 days from the date of receipt of PO/ email confirmation the contractor shall mobilize men and materials.

- Taxes and Duties: Taxes will be paid by DFPCL as per government notifications.

- Security Deposit: - 10% of yearly basic order value will be retained by DFPCL or equal amount of Bank Guarantee drawn on nationalized bank or reputed private bank to be submitted by the Contractor/Tenderer or will be deducted from Tenderers From first 6 Monthly Bills from against this contract and NO INTEREST will be payable by DFPCL on the said this amount and it will be refunded to you only after expiry of the contract and warrantee period. subject to deduction if any

- Invoicing & Payment: The Vendor / Contractor shall submit on or before the expiry of the 1st week of the following month proforma running bill of the last month in the format provided by DFPCL/DFPCL, in triplicate, to the Job Coordinator giving abstract and attached with detailed, duly signed, joint measurement or joint report sheet for the various items of work executed during the month. The Vendor / Contractor shall prepare final running account bill based on the certified measurements and summary sheets and submit the same along with the enclosures mentioned herein to the person designated by the owner. Invoice shall be submitted exactly as per the original work order in line with the line items with actual quantity executed. Additional quantity (other than W/O) shall be claimed only after the issue of amendment to the work order.

Also, where the rates are not available, but the jobs are executed as per the instructions of Job co-ordinator, Vendor / Contractor shall submit the invoice only after the issue of amendment to original Work order. Accordingly, payment shall be released in two phases i.e. Based on original WO & based on amendment to original WO.

The Job coordinator shall ensure payment within 45 days from the date of receipt of final running account bill provided the same is complete in all respects & duly certified by the engineer- in - charge.

The vendor / contractor should produce each monthly bill alongwith Annexure A to Annexure E. Formats are attached herewith

The applicable TDS shall be deducted as per the existing provisions of the law in force.

The number of payments to be made to the Vendor / Contractor shall be restricted to one in each month.

The payment shall be released by RTGS or NEFT with nominal charges per transaction, if imposed by the bank.  The Vendor / Contractor  should provide requisite details of their bank, Account No. Branch code, etc.

- Insurances : Vendor / Contractor shall obtain and keep valid, at all times adequate insurance cover for its personnel, material and equipment, against all losses and liabilities whether at common law or under any statute relating to workers Compensation or Employer's Liability in the jurisdiction in which the Services are performed, from any accident or injury to any person employed by it in connection with the Services. The vendor / contractor shall ensure that any of their staff as employed to complete the given scope of works, are similarly insured in respect of their employees including claim against third party liability.

- Validity: This contract is valid for a period of two (2) years w.e.f. the date of the purchase order (renewable after every year subject to satisfactory performance). Further extension of the contract by a suitable period will be at the discretion of DFPCL. During the contract period either party can terminate the contract by given 3 months’ notice to the other party. However, in case of unsatisfactory performance or breach of contract terms on part of the Vendor / Contractor, DFPCL/DFPCL reserves the right to terminate the contract forthwith. DFPCL shall also have right to extend the Contract at its own discretion. During the contractual period, the unit rates should remain unchanged throughout the contract term. During the validity period of the Contract, there shall be no revision of the compensation payable to the Vendor / Contractor. The Vendor / Contractor  shall ensure  payment of minimum wages in force and as prescribed by the competent authorities from time to time. The Vendor / Contractor  is required to maintain all documents and records as required under the statutory laws and rules in force from time to time. The rate of different activities of Civil Works once finalized through ARIBA, will be applicable for any similar scope of works in  K1 plant.

- Notices: Any notice required to be given by either party shall be validly given if it is in writing and sent at the abovementioned address in case of DFPCL and to contractor as provided in the bid document.

- In the event of contract not being considered for extension, DFPCL reserve  the right to extend the expiry date by not more than 3 months for smooth handover. There should not be any breach of any rules and / or regulations or any violation of the terms and conditions during the  tenure of contract. In case any breach / violation / misconduct observed, then DFPCL will impose appropriate penalty on the Vendor / Contractor. The same will be deducted from the monthly bills of the Vendor / Contractor. This will culminate in cancellation of the complete purchase / work order without any further notice, which will be at the risk and cost of the Vendor / Contractor. Any loss and / or damage to the Plant and / or machinery or any property belonging to DFPCL/DFPCL or its Vendor / Contractor due to the negligence / mistake on part of any manpower employed by the Vendor / Contractor will be dealt with seriously and will culminate in recovering from  Contractor’s  monthly bills. It will be the sole discretion of DFPCL/DFPCL to decide on penalty for any misconduct / negligence / violation / breach of the terms, conditions, statutory rules, safety rules as mentioned in the tender / purchase / work order.

- Bill submission :

The billing period applicable for running A/c bill in respect of this contract is every calendar month. The bills shall be submitted to with following billing address -

Deepak Fertilisers & Petrochemicals Corporation Limited

Plot K1 MIDC Taloja,

Dist Raigad – 410208. Maharashtra, India.

The first RA bill shall be released only on submission of a copy of labour license duly attested by DFPCL/DFPCL administration in the prescribed format. If labour license is not applicable, the contractor shall obtain a confirmation to this effect from DFPCL administration.

Please mention vendor code no., PAN no., GST No., HSN / SAC Code and WO no. on invoice/ bills.

Joint measurement sheet (IMS) to be submitted by contractor within 7 days of completion of job or within  7 days of end of the month for previous month job.

12) Correspondence :

For any payment/TDS certificate/Security Deposit, Guarantee money refund/ Accounts related matters, please make correspondence with  the accounts department at  DFPCL Taloja.

Contractor to comply with all statutory obligations prevalent and applicable as per law. For further guideline on statutory related matters, contact  personal department at DFPCL Taloja

For any job related instruction and guidelines, working, turn up of workmen, tools & tackles, contact - engineer-in-charge / representative of plant

For all matters related to entry/movement of persons, material and vehicle within complex, contact the security department at DFPCL Taloja.

Penalty for late submission of bill:

Submission of the bill by the contractor to the concerned dept. For verification and certification of the jobs carried out by him/ them for payment shall be considered as a part of the work. In case bill is not submitted within 14 days time from the date of completion of work mentioned in work order or issue of work order (for post facto cases) or amendment to work order whichever is later.  Penalty at the rate of 1% per week of the invoice value maximum to 5% of the value of invoice shall be levied from contractor's bill. No compromise shall be granted in this regard. Date of bill scrolling shall be the reference date as zero date.

The invoice should be attached joint measurement sheet, failing to so, the invoice will not processed by finance dept.

13)	The Vendor / Contractor  shall be responsible for providing the requisite number of staff for completing Civil Works work.

14) 	Interest free Security Deposit of 5% of basic order value should be deposited with DFPCL within a week from the date of issue of Purchase Order.

15) 	The Vendor / Contractor  and its persons employed by him at DFPCL/DFPCL have no camping right whatsoever in the company's premises.

16) 	The members of the staff provided by the Vendor / Contractor  should be employees of the Vendor / Contractor  and all disputes between the Vendor / Contractor  and the Forklift staff shall be resolved by the Vendor / Contractor  and shall have no bearing on DFPCL. The Vendor / Contractor  should indemnify any claim, title indebt, cost, damage, compensation in respect of its employees posted on DFPCL/DFPCL premises.

17)  	Liquidated Damages : Liquidity damages of 1% per day of the monthly service charges shall be levied, subject to a maximum of 10% of contract for any breach of contractual obligations by the Vendor / Contractor  as stipulated in the terms and conditions in addition to the obligation under any other provisions in the contract and the Law of the land.

18) Force Majeure condition:

The term force Majeure as employed herein shall mean acts of God, War, Revolt, Terrorist Act, Accident, Fire, Flood and Acts and Regulations of respective Governments of the two parties. Upon occurrence of such cause and upon its termination, the party alleging that it has been rendered unable as aforesaid thereby, shall notify the other party in writing within 72 hours, the full particulars and satisfactory evidence support of his claim. Time for purpose of the relative obligations suspended by the force majeure shall then stand extended by the period of delay, which is directly caused by force majeure event.

19) Jurisdiction:

The Court at Pune/Panvel, Maharashtra shall have exclusive Jurisdiction to deal with and decide any legal matter whatsoever arising out of this Tender/ Purchase order or any agreement entered between the Tenderer/ Supplier and Company.

20)Arbitration:

Any dispute, difference, claim or question of interpretation of any nature arising between the parties with regard to this Tender/ Purchase Order/ Work Order/  Agreement regarding the meaning, respective rights, claims, liabilities and obligations under this Tender/ Purchase Order/ Work Order/  Agreement, including any question regarding its existence, validity or termination which is not resolved by amicable settlement shall be settled by arbitration in accordance with the Rules of Arbitration of the Indian Council of Arbitration (ICA) or any enactment or amendment thereof or through online arbitration. Award passed shall be final and binding on both the parties.  The venue of such arbitration proceedings shall be at Pune/Mumbai (India) and for interim relief under the Act, courts at Pune/Panvel shall have the exclusive jurisdiction over this Agreement.

21) Termination:

A. The Contract/ Tender can be terminated by either party i.e. DFPCL or the Contractor/Tenderer/ Tenderer, after giving three (3) months’ notice to the other party. However, DFPCL reserves the right to terminate the contract without giving any notice in case of the Contractor/Tenderer fails to commence the work or commits breach of any of the terms of the contract. DFPCL’s decision in such a situation shall be final and binding on the Contractor/ Tenderer without any objection or resistance.

B. On termination of the contract, the Contractor/ Tenderer will hand over all the equipment’s/ furniture/ article etc. supplied by DFPCL (if any) in good working condition back to DFPCL except normal wear and tear.

C.If the successful bidder/ Contractor withdraws or the services provided by the successful bidder are not found satisfactory (say in a month or so) during the probationary period of three months from the date of taking over charge /Job contract, DFPCL reserves the right to terminate the contract with 15 days notice to improve the services, if the Contractor/Tenderer fails to do so within 15 days then without giving any notice initiate appropriate necessary action in the matter for making alternate arrangements and immediately terminate the contract. The Contractor/Tenderer shall continue till such time DFPCL finds an alternative arrangement.

In case it is found that any information furnished by the Tenderer/ Contractor/ Supplier is false or incorrect, the Company at its sole discretion may terminate the Contract/ Order without giving any notice. The Company shall reserve its right to seek appropriate damages from the Tenderer/ Contractor/ Supplier.Any loss incurred by the Company in this respect will be on Suppliers/ Tenderer's account.

22) The rates quoted by the suppliers shall remain firm till the completion of contract period and also during extended period if any. No escalation on any other ground shall be allowed.

( On Contractor/Tenderer’s letterhead)

DETAILS OF BLACKLISTING / DISQUALIFICATION / FORFEITURE OF B.G. / S.D.

1) Whether your Firm/Company is blacklisted by DFPCL or any other Public Sector / Govt. / Quasi-Govt Organization / any other client: Yes / No. If yes, please mention details.

2) Whether your Contract was terminated before expiry of Contract period or Security Deposit / E.M.D forfeited by our Company or any other Public Sector/Govt./Quasi Govt Organization / Any other client: Yes / No. If yes, please mention details.

3) Whether Proprietor/Partner/Director (as applicable) has been prosecuted by any judicial court for any criminal breach of trust: Yes / No. If yes, please mention details.

(Signature of the Contractor/Tenderer & Seal)

....................................................................................................................

(On Contractor/Tenderer’s letterhead)

INFRASTRUCTURE / RESOURCES:

1. Total number of resources employed: _____________________________

2. No. of branch offices: __________ _________ _________ (details of address, Telephone No.. Fax No. etc.)

3. No. of FMS Contracts engaged in Mumbai with Avg value of Contract:

(Signature of the Contractor/Tenderer & Seal)

....................................................................................................................

(On Contractor/Tenderer’s letterhead)

GENERAL INFORMATION:

1. Name & address of the Tenderers Firm / Company: ______________

2. Office Telephone No.: __________________________

3. Office Fax No.: __________________________

4. Year of Establishment: __________________________

5. Constitution of the Firm: Proprietorship/Partnership/Pvt. Ltd./ Pub Ltd. Co./Co-operative

6. Name, Address of Partner / Directors: __________________________________

7. Name of contact person: _______________________________

8. Telephone no. of contact person: Office _________________________

Residence _______________________

Mobile _________________________

9. Name & Designation of Authorized Signatory: __________________

10. Details of sister concerns

a) Name & Address:

b) Activities engaged in by Sister Concern:

c) Names, Addresses & Telephone Nos. of Proprietors/Directors/Partners of Sister concerns.

(Signature of the Contractor/Tenderer & Seal)